Français

Operating Engineers Act

R.S.O. 1990, CHAPTER O.42

Note:  This Act was repealed on June 27, 2001.  See:  2000, c. 16, ss. 45 (1), 47.

Amended by: 1993, c. 27, Sched.; 1994, c. 27, s. 95; 1996, c. 19, s. 23; 2000, c. 16, s. 45.

(NOTE:  By Order in Council approved March 5, 2001, the powers and duties of the Minister were transferred to the Minister of Consumer and Business Services.)

Note:  Despite the repeal of this Act by the Statutes of Ontario, 2000, chapter 16, subsection 45 (1), the regulations made under this Act continue in effect until they are revoked and replaced by regulations or Minister’s orders made under the Technical Standards and Safety Act, 2000; a designation made under the Ministry of Consumer and Commercial Relations Act and a licence, certificate, approval, identification, registration or permit granted under this Act that are in effect on the day the Technical Standards and Safety Act, 2000 comes into force continue to be in effect until they expire or are earlier revoked; and every director, inspector, chief officer or chief inspector appointed under this Act or section 16 of the Ministry of Consumer and Commercial Relations Act who are in office on the day the Technical Standards and Safety Act, 2000 comes into force continue in office until the appointment expires or is earlier revoked.  See:  2000, c. 16, ss. 45 (3), 47.

Definitions

1.  (1) In this Act,

“boiler” means a pressure vessel that may be used at greater than atmospheric pressure,

(a)	to generate or heat steam, or

(b)	to heat water to a temperature less than its boiling point at the maximum pressure within the vessel,

and includes any pipe, fitting and other equipment attached thereto or used in connection therewith; (“chaudière”)

“brake horsepower” means the effective or useful horsepower developed by a prime mover as measured by a weigh scale and a brake applied to its driving shaft or by other means approved by the chief officer, and one brake horsepower is equivalent to 2,544 British thermal units per hour or to 0.02544 Therm-hours; (“puissance au frein”)

“certificate of qualification” means a subsisting certificate of qualification issued under this Act to an operating engineer or an operator; (“certificat de compétence”)

“certificate of registration” means a subsisting certificate of registration issued under this Act for a plant; (“certificat d’enregistrement”)

“chief officer” means the person appointed as the chief officer for the purposes of this Act; (“agent en chef”)

“chief operating engineer” means an operating engineer who at all times has charge of and the responsibility for the safe operation of a plant, and has such other powers and duties respecting the plant and persons therein as are prescribed in this Act and the regulations; (“mécanicien d’exploitation en chef”)

“chief operator” means an operator or an operating engineer who at all times has charge of and the responsibility for the safe operation of a compressor plant or a refrigeration plant, and has such other powers and duties respecting the plant and persons therein as are prescribed in this Act and the regulations; (“opérateur en chef”)

“compressor plant” means an installation comprised of one or more compressors with prime movers and the equipment used in connection therewith for compressing but not liquefying air or any other gas to a pressure of more than 15 where the total Therm-hour rating of all such prime movers is more than 3.816; (“installation à compression”)

“inspector” means an inspector appointed for the purposes of this Act; (“inspecteur”)

“low-pressure stationary plant” means an installation comprised of one or more boilers,

(a)	containing steam at a pressure of 15 or less, or

(b)	containing water at a temperature at any boiler outlet of more than 212F. and up to and including 250F.,

and in addition a low-pressure stationary plant may have one or more compressors and one or more refrigeration compressors, and the total Therm-hour rating of all such boilers and compressors is more than 50; (“installation fixe à basse pression”)

“Minister” means the Minister of Consumer and Commercial Relations; (“ministre”)

“operating engineer” or “operator” means a person who is the holder of a certificate of qualification; (“mécanicien d’exploitation”, “opérateur”)

“plant” means a stationary power-plant, low-pressure stationary plant, steam-powered plant, compressor-plant, refrigeration plant or any combination thereof, a portable compressor plant or a temporary heating plant; (“installation”)

“pressure” means pressure in pounds per square inch above normal atmospheric pressure; (“pression”)

“pressure vessel” means a vessel that is heated or its contents are heated by,

(a)	a flame or the hot gases of combustion,

(b)	electricity, or

(c)	a liquid; (“appareil sous pression”)

“prime mover” means an initial source of motive power, and includes an electric motor, an internal combustion engine, a steam engine, a steam turbine and a gas turbine; (“appareil moteur”)

“refrigerant” means a substance that may be used to produce refrigeration by its expansion or evaporation; (“substance réfrigérante”)

“refrigeration plant” means an installation comprised of one or more refrigerant compressors with prime movers and the equipment used in connection therewith for compressing, liquefying at a pressure of more than 15 and evaporating a refrigerant where the total Therm-hour rating of all such prime movers is more than 2.544; (“installation frigorifique”)

“regulations” means the regulations made under this Act; (“règlements”)

“shift engineer” means an operating engineer who has charge of and operates a plant under the direction and supervision of a chief operating engineer and who has the authority to perform the powers and duties of the chief operating engineer when the chief operating engineer is absent from the plant; (“mécanicien de poste”)

“shift operator” means an operator or operating engineer who has charge of and operates a compressor or refrigeration plant under the direction and supervision of a chief operator or a chief operating engineer and who has the authority to perform the powers and duties of the chief operator or the chief operating engineer when the chief operator or the chief operating engineer is absent from the plant; (“opérateur de poste”)

“stationary power plant” means an installation comprised of one or more boilers,

(a)	containing steam at a pressure of more than 15, or

(b)	containing water at a temperature at any boiler outlet of more than 250F.,

and in addition a stationary power plant may have,

(c)	one or more boilers containing steam at a pressure of 15 or less or water at a temperature at any boiler outlet of more than 212F. and up to and including 250F., and

(d)	one or more compressors or refrigeration compressors,

and the total Therm-hour rating of all such boilers and compressors is more than 17; (“installation électrique fixe”)

“steam-powered plant” means a turbine or engine having a Therm-hour rating of more than 3.816 driven by steam,

(a)	from a boiler that is not owned by or under the control of the user of the turbine or engine, or

(b)	from another plant of the user of the turbine or engine; (“installation à vapeur”)

“temporary heating plant” means one or more boilers, with or without compressors, that supply heat to a project as defined in the Occupational Health and Safety Act or to a shaft, tunnel, caisson or coffer dam to which the regulations made under that Act apply and that operates at a pressure,

(a)	of not more than 15 and has a total Therm-hour rating of more than 50, or

(b)	of more than 15 and has a total Therm-hour rating of more than 17; (“installation de chauffage temporaire”)

“Therm-hour” means 100,000 British thermal units per hour or 39.3082 brake horsepower; (“therm-heure”)

“Therm-hour rating” means the Therm-hour rating of a plant as determined under this Act or the regulations; (“capacité nominale en therms-heure”)

“user” means the person in control of a plant as owner, lessee or otherwise, but does not include its operating engineer or operator as such. (“utilisateur”)  R.S.O. 1990, c. O.42, s. 1; 1994, c. 27, s. 95 (1).

Application of R.S.O. 1990, c. M.21

(2) Sections 15 to 19 of the Ministry of Consumer and Commercial Relations Act, to the extent that they apply to this Act, are enforceable in the same manner and to the same extent as if they had been enacted as provisions in this Act.  1994, c. 27, s. 95 (2).

Exemptions

2.  This Act does not apply to,

(a)	a person who performs work in connection with a plant other than the actual operation of it;

(b)	a person, other than an operating engineer or operator, engaged in installing, testing or repairing a plant;

(c)	a plant that is subject to inspection by the Canadian Transport Commission or the National Energy Board;

(d)	any boiler used in connection with an open-type hot water heating system where there are no intervening valves between the boiler and any direct vent to the atmosphere;

(e)	a stationary power plant or low-pressure stationary plant while used in connection with any growing operation except a growing operation being carried on in a greenhouse where any person, other than the user of the plant or his or her immediate family, is employed or works in connection with the growing operation;

(f)	a compressor that, in the opinion of the chief officer, is situated in a remote area to which a person does not normally have access, and that is controlled automatically or by remote manual control;

(g)	a compressor of the centrifugal, screw, turbine, rotary vane or rotary lobe type;

(h)	a compressor or refrigeration compressor that operates at a pressure of 15 or less;

(i)	a compressor or an installation comprised of more than one compressor, whether or not connected to a registered plant, where,

(i)	the Therm-hour rating of the prime mover of the compressor is 1.145 or less, or

(ii)	the Therm-hour rating of the prime mover of each compressor of the installation is 1.145 or less and the total Therm-hour rating of the installation is 3.816 or less;

(j)	a refrigerant compressor or an installation comprised of more than one refrigerant compressor, whether or not connected to a registered plant, where,

(i)	the Therm-hour rating of the prime mover of the refrigerant compressor is 0.7632 or less, or

(ii)	the Therm-hour rating of the prime mover of each refrigerant compressor of the installation is 0.7632 or less and the total Therm-hour rating of the installation is 2.544 or less;

(k)	a compressor of a class that is exempted by the regulations;

(l)	a boiler or an installation comprised of more than one boiler, whether or not connected to a registered plant, where,

(i)	the boiler contains steam at a pressure of 15 or less, or water at a temperature at any boiler outlet of 250F. or less, has a Therm-hour rating of 10 or less, and is not connected to another boiler, or

(ii)	each boiler of the installation contains steam at a pressure of 15 or less, or water at a temperature at any boiler outlet of 250F. or less, and each boiler has a Therm-hour rating of 10 or less, and the total Therm-hour rating of the installation is 50 or less;

(m)	a boiler or an installation comprised of more than one boiler, whether or not connected to a registered plant, where,

(i)	the boiler contains steam at a pressure of more than 15 or water at a temperature at any boiler outlet of more than 250F., has a Therm-hour rating of 5 or less and is not connected to another boiler, or

(ii)	each boiler of the installation contains steam at a pressure of more than 15 or water at a temperature at any boiler outlet of more than 250F., and each boiler has a Therm-hour rating of 5 or less, and the total Therm-hour rating of the installation is 17 or less;

(n)	any boiler, compressor or refrigerant compressor that was installed as an unattended plant before the 16th day of June, 1972;

(o)	a coiled tube boiler containing steam at a pressure of 15 or less or water at a temperature at any boiler outlet of 250F. or less and having a water content of 150 Imperial gallons or less;

(p)	a coiled tube boiler containing steam at a pressure of more than 15 or water at a temperature at any boiler outlet of more than 250F. and having a water content of 75 Imperial gallons or less.  R.S.O. 1990, c. O.42, s. 2.

3.  (1) REPEALED:  1994, c. 27, s. 95 (3).

Powers of inspection

(2) The chief officer, an inspector or any person authorized in writing by the Minister may enter and inspect any building or premises where he or she has reason to believe a plant is being installed or operated.  R.S.O. 1990, c. O.42, s. 3 (2).

Information

4.  (1) The chief officer may, for the purposes of this Act, require a user or a manufacturer of a boiler or prime mover,

(a)	to furnish him or her with information; or

(b)	to perform tests to establish the proper Therm-hour rating of a boiler or prime mover.

Rating by actual test

(2) Where a test to establish the Therm-hour rating is performed under clause (1) (b) in a manner satisfactory to the chief officer, the rating as established by the test is the Therm-hour rating, despite sections 10, 11 and 12.  R.S.O. 1990, c. O.42, s. 4.

Registration of plants

5.  (1) Every user of a plant shall, before operating it, register it with the chief officer.

Idem

(2) Where two or more plants of a user are located on the same premises, such plants shall, unless the chief officer determines otherwise, be registered as one plant.  R.S.O. 1990, c. O.42, s. 5.

Certificates of registration

6.  (1) The chief officer, upon receiving an application and payment of the fee, shall issue to the user of a plant a certificate of registration.

Contents of certificates of registration

(2) Every certificate of registration shall show,

(a)	the registration number;

(b)	the name of the user of the plant;

(c)	the Therm-hour rating of the plant;

(d)	the maximum pressures at which the safety valves on boilers, compressors or refrigeration compressors are respectively set to relieve pressure; and

(e)	the classes of operating engineers or operators required for the plant.  R.S.O. 1990, c. O.42, s. 6.

Display of certificate of registration

7.  The user of a plant shall conspicuously display its certificate of registration in the engine room, compressor room or boiler room of the plant.  R.S.O. 1990, c. O.42, s. 7.

Registration

8.  Where the setting of a safety valve or Therm-hour rating of a registered plant is changed, the user of the plant shall notify the chief officer in writing within fifteen days with full particulars of the change and where the change is sufficient to change the classes of operating engineers or operators required for the plant, the user shall return the certificate of registration together with the prescribed plant registration application form and the prescribed fee, whereupon the chief officer shall issue a new certificate of registration for the plant.  R.S.O. 1990, c. O.42, s. 8.

Conversion of existing plants to Therm-hour rating

9. The registered horsepower of every plant or part thereof in use on the 16th day of June, 1969 shall be converted from a horsepower basis to a Therm-hour basis in accordance with the following provisions:

1.	The Therm-hour rating of a boiler, other than an electric boiler, is the horsepower of the boiler shown on the certificate of registration for the plant under the predecessor of this Act multiplied by 2 and divided by 3.

2.	The Therm-hour rating of an electric boiler is the horsepower of the boiler shown on the certificate of registration for the plant under the predecessor of this Act divided by 3.

3.	The Therm-hour rating of the prime mover of any type of compressor is the brake horsepower of the prime mover of the compressor shown on the certificate of registration for the plant under the predecessor of this Act multiplied by 0.02544.

4.	The Therm-hour rating of a plant having boilers only is the total of the Therm-hour ratings of its boilers.

5.	The Therm-hour rating of a plant having any type of compressors but no boilers is the total of the Therm-hour ratings of the prime movers of its compressors.

6.	The Therm-hour rating of a plant having boilers and any type of compressors is the horsepower rating of the plant shown on its certificate of registration under the predecessor of this Act multiplied by 2 and divided by 3.  R.S.O. 1990, c. O.42, s. 9.

Definitions

10.  (1) In this section,

“altered” means that the maximum capacity of the boiler to heat water or to generate or heat steam while in normal continuous operation has been changed; (“modifiée”)

“installed” means that the boiler is so placed and so equipped that in the opinion of the chief officer it is ready for use, and “reinstalled” has a corresponding meaning. (“installée”, “réinstallée”)

Therm-hour rating, boilers

(2) The Therm-hour rating of a boiler, other than an electric boiler, that is installed, reinstalled or altered on or after the 16th day of June, 1969 shall be the maximum number of British thermal units in the total heat content of the water or steam entering its inlet subtracted from the total heat content of the water or steam leaving its outlet per hour, as determined by its manufacturer for its normal, continuous operation, divided by 100,000.

Idem, electric boilers

(3) The Therm-hour rating of an electric boiler that is installed, reinstalled or altered on or after the 16th day of June, 1969 shall be the maximum number of kilowatts supplied to the boiler per hour, as determined by its manufacturer for its normal, continuous operation, multiplied by 3413 and divided by 100,000.  R.S.O. 1990, c. O.42, s. 10.

Therm-hour rating, prime movers

11.  The Therm-hour rating of a prime mover, other than an electric motor or an internal combustion engine, is the maximum brake horsepower, as determined by its manufacturer for its normal, continuous operation, multiplied by 0.02544.  R.S.O. 1990, c. O.42, s. 11.

Therm-hour rating, electric motors

12.  (1) The Therm-hour rating of an electric motor is the lesser of,

(a)	the maximum brake horsepower, as determined by its manufacturer for its normal, continuous operation, multiplied by 0.02544; or

(b)	the maximum kilowatt rating of the motor, as determined by its manufacturer for its normal, continuous operation, modified where necessary for the type of service in which it is used, multiplied by 0.03413.

Idem, internal combustion engines

(2) The Therm-hour rating of an internal combustion engine is,

(a)	the maximum brake horsepower, as determined by the engine manufacturer for its normal, continuous operation, multiplied by 0.02544; or

(b)	where the manufacturer of the engine has not determined its maximum brake horsepower for its normal, continuous operation, the Therm-hour rating is the product of the following formula multiplied by 0.02544:

(diameter of cylinders in inches)2 × number of cylinders1.4

Exception

(3) Where, in the opinion of the chief officer, the Therm-hour rating of an engine cannot be determined under clause (2) (b), the chief officer may establish the Therm-hour rating of the engine.  R.S.O. 1990, c. O.42, s. 12.

Therm-hour rating, plants

13.  (1) The Therm-hour rating,

(a)	of a stationary power plant is the total of the Therm-hour ratings of its boilers and of the prime movers of its compressors;

(b)	of a low-pressure stationary plant is the total of the Therm-hour ratings of its boilers and of the prime movers of its compressors;

(c)	of a compressor plant that has motive power other than steam is the total of the Therm-hour ratings of the prime movers of its compressors;

(d)	of a refrigeration plant that has motive power other than steam is the total of the Therm-hour ratings of the prime movers of its compressors;

(e)	of a steam-powered plant is the total of the Therm-hour ratings of its prime movers.

Exceptional cases

(2) Where a plant does not fall within one of the clauses of subsection (1), its Therm-hour rating shall be determined by the chief officer.

Idem, combination plants

(3) Where two or more plants of a user are located on the same premises and are registered as a plant, its Therm-hour rating is the total of the Therm-hour ratings of such plants.  R.S.O. 1990, c. O.42, s. 13.

Classes of operating engineers

14.  (1) Operating engineers shall be classified as follows:

1.	Stationary engineer (fourth, third, second or first class).

Classes of operators

(2) Operators shall be classified as follows:

1.	Compressor operator.

2.	Refrigeration operator (B or A class).  R.S.O. 1990, c. O.42, s. 14.

Stationary engineers (4th class), what qualified to do

15.  (1) A person holding a stationary engineer’s (fourth class) certificate of qualification is qualified,

(a)	to act as chief operating engineer in charge of,

(i)	any stationary power plant of not more than 50 Therm-hours where the Therm-hour rating of refrigeration compressors is not more than 2.544 and the Therm-hour rating of compressors, including any refrigeration compressors, is not more than 5.088,

(ii)	any low-pressure stationary plant of not more than 134 Therm-hours,

(iii)	any steam-powered plant of not more than 7.632 Therm-hours,

(iv)	any refrigeration plant of not more than 5.088 Therm-hours,

(v)	any compressor plant of not more than 10.176 Therm-hours,

(vi)	any plant referred to in subclause (ii) or (iii) whose total Therm-hour rating includes the Therm-hour rating of refrigeration compressors of not more than 3.816 Therm-hours or the Therm-hour rating of compressors, including any refrigeration compressors, of not more than 7.632 Therm-hours;

(b)	to act as shift engineer in,

(i)	any stationary power plant of not more than 134 Therm-hours where the Therm-hour rating of refrigeration compressors is not more than 5.088 and the Therm-hour rating of compressors, including any refrigeration compressors, is not more than 10.176,

(ii)	any low-pressure stationary plant of not more than 400 Therm-hours,

(iii)	any steam-powered plant,

(iv)	any refrigeration plant of not more than 20.352 Therm-hours,

(v)	any compressor plant,

(vi)	any plant referred to in subclause (ii) or (iii) whose total Therm-hour rating includes the Therm-hour rating of refrigeration compressors of not more than 15.264 or the Therm-hour rating of compressors, including any refrigeration compressors, of not more than 30.528 Therm-hours;

(c)	to act as assistant shift engineer in,

(i)	any stationary power plant of not more than 400 Therm-hours,

(ii)	any low-pressure stationary plant, steam-powered plant, refrigeration plant or compressor plant.

Idem, stationary engineers (3rd class)

(2) A person holding a stationary engineer’s (third class) certificate of qualification is qualified,

(a)	to act as chief operating engineer in charge of,

(i)	any stationary power plant of not more than 134 Therm-hours where the Therm-hour rating of refrigeration compressors is not more than 5.088 and the Therm-hour rating of compressors, including any refrigeration compressors, is not more than 10.176,

(ii)	any low-pressure stationary plant of not more than 400 Therm-hours,

(iii)	any steam-powered plant,

(iv)	any refrigeration plant of not more than 20.352 Therm-hours,

(v)	any compressor plant,

(vi)	any plant referred to in subclause (ii) or (iii) whose total Therm-hour rating includes the Therm-hour rating of refrigeration compressors of not more than 15.264 Therm-hours or the Therm-hour rating of compressors, including any refrigeration compressors, of not more than 30.528 Therm-hours;

(b)	to act as shift engineer in,

(i)	any stationary power plant of not more than 400 Therm-hours that includes the Therm-hour rating of refrigeration compressors of not more than 15.264 Therm-hours or the Therm-hour rating of compressors, including any refrigeration compressors, of not more than 30.528,

(ii)	any low-pressure stationary plant, steam-powered plant, compressor or refrigeration plant;

(c)	to act as assistant shift engineer in any plant.

Idem, stationary engineers (2nd class)

(3) A person holding a stationary engineer’s (second class) certificate of qualification is qualified,

(a)	to act as chief operating engineer in charge of,

(i)	a stationary power plant of not more than 400 Therm-hours that includes the Therm-hour rating of refrigeration compressors of not more than 15.264 Therm-hours or the Therm-hour rating of compressors, including any refrigeration compressors, of not more than 30.528 Therm-hours,

(ii)	any low-pressure stationary plant, steam-powered plant, compressor or refrigeration plant;

(b)	to act as shift engineer in any plant.

Idem, stationary engineers (1st class)

(4) A person holding a stationary engineer’s (first class) certificate of qualification is qualified to act as chief operating engineer in charge of any plant.

Idem, compressor operators

(5) A person holding a compressor operator’s certificate of qualification is qualified to act as a chief or shift operator in any compressor plant whose prime mover is not a steam engine or steam turbine.

Idem, refrigeration operators (class B)

(6) A person holding a refrigeration operator’s (class B) certificate of qualification is qualified,

(a)	to act as chief operator in a refrigeration plant of not more than 20.352 Therm-hours or in any compressor plant whose prime mover is not a steam engine or steam turbine;

(b)	to act as a shift operator in any refrigeration or compressor plant whose prime mover is not a steam engine or steam turbine.

Idem, refrigeration operators (class A)

(7) A person holding a refrigeration operator’s (class A) certificate of qualification is qualified to act as chief or shift operator in any compressor or refrigeration plant whose prime mover is not a steam engine or steam turbine.

Idem, stationary engineers

(8) A person holding a certificate of qualification of any class of stationary engineer is qualified to operate a portable compressor plant, a temporary heating plant or a portable boiler used in connection with any portable machinery or a device for melting ice or snow.

Idem, holders of provisional certificates

(9) A person holding a provisional certificate of qualification under section 22 is qualified to perform the same work and duties as an operating engineer or operator holding a corresponding certificate of qualification.  R.S.O. 1990, c. O.42, s. 15.

Trainees

16.  A person who is obtaining qualifying experience for his or her first certificate of qualification may not perform work in connection with the actual operation of a plant except under the personal direction and supervision of an operating engineer or operator.  R.S.O. 1990, c. O.42, s. 16.

Shift operators for compressors in stationary plants

17.  Where a low-pressure stationary plant or stationary power plant has a compressor or a refrigeration compressor, the user of the plant may employ one or more compressor operators or one or more refrigeration operators, as the case may be, as shift operator or shift operators for the compressor.  R.S.O. 1990, c. O.42, s. 17.

Absence due to sickness or holidays

18.  Where an operating engineer or operator is absent from the plant due to sickness or while on holidays, an operating engineer or operator holding a certificate not more than one class lower than the certificate of the operating engineer or operator who is absent may, during the absence, operate the plant for not more than thirty days per year or such greater number of days per year as the chief officer may authorize in writing in any particular case.  R.S.O. 1990, c. O.42, s. 18.

Temporary absences

19.  While a plant is in operation, an operating engineer or an operator qualified to be in charge of the plant shall be present in its boiler room, compressor room or engine room, as the case may be, or, where the plant is not enclosed, he or she shall be present in its immediate vicinity,

(a)	unless an operating engineer or an operator holding a certificate of qualification that is not more than one class lower is present during his or her absence; or

(b)	unless his or her absence is authorized by the regulations,

and unless, in either case, the operating engineer or operator is satisfied at the time of his or her leaving the plant that it is operating safely.  R.S.O. 1990, c. O.42, s. 19.

Increase in Therm-hour rating

20.  Where a plant has been operated by an operating engineer or operator in compliance with this Act and the regulations and the Therm-hour rating of the plant is increased so that the operating engineer or operator, as the case may be, is no longer qualified to operate the plant and he or she has operated the plant continuously for three consecutive years immediately before the increase, he or she may continue to operate the plant for such period and under such terms and conditions as the regulations prescribe.  R.S.O. 1990, c. O.42, s. 20.

Certificate of qualification

21.  (1) The chief officer shall issue, in accordance with the regulations, a certificate of qualification to any person who,

(a)	shows proof satisfactory to the chief officer of having acquired the qualifying experience required by the regulations;

(b)	passes the examination conducted by the chief officer, or furnishes evidence that he or she has successfully completed a course of training that the Minister has approved for the purpose upon the advice of the board of review; and

(c)	pays the fee prescribed by the regulations.

Term

(2) Every certificate of qualification remains in force as prescribed by the regulations.  R.S.O. 1990, c. O.42, s. 21.

Certificate of qualification

22.  (1) The chief officer shall, upon payment of the fee prescribed by the regulations, issue a certificate of qualification to every person who applies therefor and holds a subsisting certificate issued by another province or territory of Canada that qualifies the person to perform the work or duties of an operating engineer or operator in such province or territory.

Idem

(2) The certificate of qualification issued under subsection (1) shall be of a class that authorizes the holder of the certificate to perform the work and duties that, in the opinion of the chief officer, the holder is qualified to perform in Ontario having regard to the qualifications prescribed by the regulations for applicants for certificates of qualification.  R.S.O. 1990, c. O.42, s. 22.

Cancellation or suspension of certificate of qualification

23.  Subject to section 24, the chief officer may cancel or suspend a certificate of qualification if the operating engineer or operator,

(a)	is habitually intemperate in his or her use of alcoholic beverages or is addicted to the use of drugs;

(b)	operates a plant when his or her ability to do so is impaired by alcohol or a drug;

(c)	is declared to be mentally incompetent or becomes physically incapable of safely performing his or her duties;

(d)	is incompetent or negligent in the discharge of his or her duties as an operating engineer or operator;

(e)	has obtained his or her certificate through misrepresentation or fraud;

(f)	maliciously destroys his or her employer’s property;

(g)	allows another person to operate under his or her certificate;

(h)	attempts to obtain a certificate by false means for another person;

(i)	fails to give the notice required by section 30;

(j)	leaves the employ of his or her employer without having given the employer at least seven days notice in writing of his or her intention to leave;

(k)	furnishes information for the use of the chief officer respecting an applicant for a certificate without knowing that the information is true; or

(l)	contravenes any of the provisions of this Act or the regulations.  R.S.O. 1990, c. O.42, s. 23.

Notice of proposal to suspend, etc., certificate

24.  (1) Where the chief officer proposes to refuse to renew or proposes to suspend or cancel a certificate of qualification, he or she shall serve notice of its proposal, together with written reasons therefor, on the holder of the certificate.

Hearing

(2) A notice under subsection (1) shall inform the holder of the certificate that he or she is entitled to a hearing by a judge if the holder applies therefor to a judge of the Ontario Court (General Division) within fifteen days after the notice under subsection (1) is served on the holder, and he or she may so apply for such a hearing.

Powers of chief officer where no hearing

(3) Where a holder of a certificate does not apply to a judge for a hearing in accordance with subsection (2), the chief officer may carry out the proposal stated in his or her notice under subsection (1).

Powers of chief officer where hearing

(4) Where a holder of a certificate applies to a judge for a hearing in accordance with subsection (2), the judge shall appoint a time for and hold the hearing and, on the application of the chief officer at the hearing, may by order direct the chief officer to carry out his or her proposal or refrain from carrying out his or her proposal and to take such action as the judge considers the chief officer ought to take in accordance with this Act and the regulations, and for such purposes the judge may substitute his or her opinion for that of the chief officer.

Service of notice by chief officer

(5) The chief officer may serve notice under subsection (1) personally or by registered mail addressed to the holder of the certificate at his or her address last known to the chief officer and, where notice is served by registered mail, the notice shall be deemed to have been served on the third day after the day of mailing unless the person to whom notice is being given establishes to the judge to whom he or she applies for a hearing that he or she did not, acting in good faith, through absence, accident, illness or other cause beyond his or her control receive the notice or order until a later date.

Extension of time for application

(6) A judge to whom application is made by a holder of a certificate for a hearing under this section may extend the time for making the application, either before or after expiration of the time fixed therein, where the judge is satisfied that there are apparent grounds for granting relief to the holder of the certificate pursuant to a hearing and that there are reasonable grounds for applying for the extension, and may give such directions as he or she considers proper consequent upon the extension.

Continuation of certificate pending renewal

(7) Where, within the time prescribed therefor or, if no time is prescribed, prior to the expiry of his or her certificate, a holder of a certificate has applied for renewal of his or her certificate and paid the prescribed fee, the certificate shall be deemed to continue,

(a)	until the renewal is granted; or

(b)	where the holder is served with notice that the chief officer proposes to refuse to grant the renewal, until the time for applying for a hearing by a judge has expired and, where a hearing is applied for, until the judge has made his or her decision.  R.S.O. 1990, c. O.42, s. 24.

Parties

25.  (1) The chief officer, the holder of the certificate who has applied for the hearing and such other persons as are specified by the judge are parties to the proceedings before a judge under section 24.

Notice of hearing

(2) Notice of a hearing under section 24 shall afford to the holder of the certificate a reasonable opportunity to show or to achieve compliance before the hearing with all lawful requirements for the retention of the certificate.

Examination of documentary evidence

(3) A holder of a certificate who is a party to proceedings under section 24 shall be afforded an opportunity to examine before the hearing any written or documentary evidence that will be produced or any report the contents of which will be given in evidence at the hearing.

Recording of evidence

(4) The oral evidence taken before the judge at a hearing shall be recorded and, if so required, copies of a transcript thereof shall be furnished upon the same terms as in the Ontario Court (General Division).

Findings of fact

(5) The findings of fact of a judge pursuant to a hearing shall be based exclusively on evidence admissible or matters that may be noticed under sections 15 and 16 of the Statutory Powers Procedure Act.  R.S.O. 1990, c. O.42, s. 25.

Appeal from decision of judge to court

26.  (1) Any party to proceedings before a judge under section 24 may appeal from the decision or order of the judge to the Divisional Court in accordance with the rules of court.

Records to be filed in court

(2) Where notice of an appeal is served under this section, the judge shall forthwith file in the Ontario Court (General Division) the record of the proceedings before him or her in which the decision or order was made, which together with the transcript of the evidence before the judge if it is not part of the record of the judge, shall constitute the record in the appeal.

Minister entitled to be heard

(3) The Minister is entitled to be heard, by counsel or otherwise, upon the argument of an appeal under this section.

Powers of court on appeal

(4) The Divisional Court may, on the appeal, affirm the decision of the judge appealed from or may rescind it and make such new decision as the court considers proper under this Act and the regulations and may order the chief officer to do any act or thing he or she is authorized to do under this Act and as the court considers proper and for such purpose the court may substitute its opinion for that of the chief officer or of the judge, or the court may refer the matter back to the judge for rehearing, in whole or in part, in accordance with such directions as the court considers proper.  R.S.O. 1990, c. O.42, s. 26.

Appeal from decision of chief officer

27.  (1) Any person who deems themself aggrieved by a decision of the chief officer under this Act or the regulations may, within ten days after the decision comes to the person’s attention, appeal to a judge of the Ontario Court (General Division) by notice in writing sent by prepaid mail to the chief officer and the judge.  R.S.O. 1990, c. O.42, s. 27 (1); 1993, c. 27, Sched.

Powers of judge on appeal

(2) Where a person has appealed to a judge under subsection (1), the judge shall appoint a time for a hearing and shall hear the appeal and may affirm, rescind or vary the decision of the chief officer and may direct the chief officer to take any action that he or she is authorized to take under this Act or the regulations and as the judge considers proper, and for such purpose the judge may substitute his or her opinion for that of the chief officer.

Application of s. 24

(3) Subsection 24 (6) applies with necessary modifications to an appeal under this section.

Parties

(4) The chief officer, the appellant and such other persons as the judge may specify are parties to an appeal under this section.

Decision of judge final

(5) A decision of a judge under this section is final.  R.S.O. 1990, c. O.42, s. 27 (2-5).

Effect of decision pending disposal of appeal

28.  The bringing of an appeal under section 26 or 27 does not affect the operation of the decision appealed from pending disposition of the appeal.  R.S.O. 1990, c. O.42, s. 28.

Posting of certificates

29.  Every operating engineer or operator shall display conspicuously his or her certificate of qualification in the engine room, compressor room or boiler room of the plant in which the operating engineer or operator works.  R.S.O. 1990, c. O.42, s. 29.

Duty to notify of absence

30.  Every operating engineer or operator who,

(a)	knows that he or she will be absent from his or her duties; or

(b)	is unable to commence or continue his or her duties,

shall immediately make every reasonable effort in the circumstances to so notify the chief operating engineer or chief operator or shift engineer or shift operator, or, if none, the employer.  R.S.O. 1990, c. O.42, s. 30.

Prohibitions, operation by other than operating engineer or operator

31.  (1) No person other than an operating engineer who holds a certificate of qualification shall perform the work and duties of an operating engineer, and no person other than an operating engineer or operator who holds a certificate of qualification shall perform the work and duties of an operator.

Employment of unqualified persons prohibited

(2) No person shall employ,

(a)	any person who is not an operating engineer to perform the work and duties of an operating engineer or operator, or any person who is not an operator to perform the work and duties of an operator; or

(b)	any operating engineer or operator to operate a plant that he or she is not qualified under this Act to operate.

Work prohibited, unless qualified therefor

(3) No operating engineer or operator shall perform any work or duties of an operating engineer or operator that he or she is not qualified under this Act to perform.  R.S.O. 1990, c. O.42, s. 31.

Operation of plants

32.  No person shall use or operate a plant or cause a plant to be used or operated except in accordance with this Act and the regulations.  R.S.O. 1990, c. O.42, s. 32.

False statements

33.  No person shall knowingly make a false statement or entry in an application, log book or document required by this Act or the regulations to be submitted or kept or knowingly furnish information under this Act or the regulations that is false, or knowingly make use of any such false statement, entry or information.  R.S.O. 1990, c. O.42, s. 33.

Offences

34.  (1) Every person who contravenes or fails to comply with any of the provisions of this Act or the regulations, fails to comply with an order of an inspector or hinders or obstructs any person in the performance of his or her duties under this Act or the regulations is guilty of an offence and on conviction is liable to a fine of not more than $10,000 or to imprisonment for a term of not more than twelve months, or to both.

Continuing offence

(2) Where the circumstances constituting an offence against this Act continue from day to day and a prosecution has been commenced in respect of the offence, the offence shall be deemed to have been repeated on each day the circumstances continue.  R.S.O. 1990, c. O.42, s. 34.

Time limit

(3) No proceeding in respect of an alleged offence under this Act may be commenced after two years following the date on which the facts that gave rise to the alleged offence were discovered.  1996, c. 19, s. 23.

Board of review

35.  (1) The Lieutenant Governor in Council may appoint a board of review consisting of a chair and equal numbers of representatives of plant users and operating engineers,

(a)	to advise the Minister as to the effectiveness of the Act and regulations in ensuring safety in connection with the operation of plants;

(b)	to evaluate and advise the Minister as to equipment and operating procedures in ensuring safety in connection with the operation of plants;

(c)	to advise the Minister, management and labour in connection with the training and employment of operating engineers and operators.

Terms of office and remuneration

(2) The Lieutenant Governor in Council may fix the terms of office and the remuneration of the members of the board of review.

Vacancies

(3) The Lieutenant Governor in Council may fill any vacancy in the membership of the board of review.

Responsible to Minister

(4) The board of review is responsible to the Minister.  R.S.O. 1990, c. O.42, s. 35.

Regulations

36.  The Lieutenant Governor in Council may make regulations,

(a)	prescribing the qualifications of inspectors;

(b)	prescribing the qualifications of applicants for certificates of qualification and the evidence required to be furnished by such applicants as to previous training and experience;

(c)	prescribing courses of training or study for applicants for certificates of qualification;

(d)	prescribing the powers and duties of chief operating engineers, chief operators, shift engineers and shift operators;

(e)	prescribing the conditions of re-examination of applicants for certificates of qualification who have failed to pass the examinations required by the chief officer;

(f)	providing for the issue, renewal and reinstatement of certificates of qualification;

(g)	prescribing the method of establishing the Therm-hour ratings of internal combustion engines, or any class thereof, not specified in this Act;

(h)	classifying plants and exempting any class from any provision of this Act or the regulations;

(i)	respecting the operation of plants or any class of plants;

(j)	providing for the isolation of boilers and compressors by means of seals or otherwise;

(k)	authorizing and prescribing the circumstances and periods of absence for the purposes of section 19;

(l)	prescribing the periods during which and the terms and conditions upon which operating engineers and operators may continue to operate plants whose Therm-hour rating has been increased;

(m)	Repealed:  1994, c. 27, s. 95 (4).

(n)	providing for and prescribing fees.  R.S.O. 1990, c. O.42, s. 36; 1994, c. 27, s. 95 (4).

______________

Français

Back to top