Safe Drinking Water Act, 2002

ONTARIO REGULATION 169/03

ONTARIO drinking water quality standards

Historical version for the period December 1, 2015 to December 31, 2015.

Last amendment:  O. Reg. 373/15.

This is the English version of a bilingual regulation.

Standards

1.  The standards set out in Schedules 1, 2 and 3 are prescribed as drinking water quality standards for the purposes of the Act.  O. Reg. 169/03, s. 1.

Deemed compliance

2.  (1)  A person who, pursuant to section 10 of the Act or otherwise, has an obligation to ensure that water meets a standard set out in Schedule 1, 2 or 3 shall be deemed not to have contravened the obligation if, in circumstances where the water does not meet the standard, the person immediately contacts the medical officer of health and takes such other steps as are directed by the medical officer of health.  O. Reg. 169/03, s. 2 (1).

(2)  Despite subsection (1), the owner or operating authority of a drinking water system that provides water that does not meet a standard set out in Schedule 1, 2 or 3 shall be deemed not to have contravened paragraph 1 of subsection 11 (1) of the Act only if the owner or operating authority ensures that the appropriate corrective action is taken under Schedule 17 or 18 to Ontario Regulation 170/03 (Drinking Water Systems).  O. Reg. 169/03, s. 2 (2); O. Reg. 255/05, s. 1; O. Reg. 327/08, s. 1.

3.  Omitted (provides for coming into force of provisions of the English version of this Regulation).  O. Reg. 169/03, s. 3.

SCHEDULE 1
MICROBIOLOGICAL STANDARDS

| Item | Microbiological Parameter | Standard (expressed as a maximum) |
| --- | --- | --- |
| 1. | Escherichia coli (E. coli) | Not detectable |
| 2. | Revoked: O. Reg. 248/06, s. 1. |  |
| 3. | Total coliforms | Not detectable |
| 4. | Revoked: O. Reg. 248/06, s. 1. |  |
| 5. | Revoked: O. Reg. 248/06, s. 1. |  |

O. Reg. 169/03, Sched. 1; O. Reg. 248/06, s. 1.

SCHEDULE 2
CHEMICAL STANDARDS

| Item | Chemical Parameter | Standard (expressed as a maximum concentration in milligrams per litre) |
| --- | --- | --- |
| 1. | Alachlor | 0.005 |
| 2. | Aldicarb | 0.009 |
| 3. | Aldrin + Dieldrin | 0.0007 |
| 4. | Antimony | 0.006 |
| 5. | Arsenic | 0.025 |
| 6. | Atrazine + N-dealkylated metabolites | 0.005 |
| 7. | Azinphos-methyl | 0.02 |
| 8. | Barium | 1.0 |
| 9. | Bendiocarb | 0.04 |
| 10. | Benzene | 0.005 |
| 11. | Benzo(a)pyrene | 0.00001 |
| 12. | Boron | 5.0 |
| 13. | Bromate | 0.01 |
| 14. | Bromoxynil | 0.005 |
| 15. | Cadmium | 0.005 |
| 16. | Carbaryl | 0.09 |
| 17. | Carbofuran | 0.09 |
| 18. | Carbon Tetrachloride | 0.005 |
| 19. | Chloramines | 3.0 |
| 20. | Chlordane (Total) | 0.007 |
| 21. | Chlorpyrifos | 0.09 |
| 22. | Chromium | 0.05 |
| 23. | Cyanazine | 0.01 |
| 24. | Cyanide | 0.2 |
| 25. | Diazinon | 0.02 |
| 26. | Dicamba | 0.12 |
| 27. | 1,2-Dichlorobenzene | 0.2 |
| 28. | 1,4-Dichlorobenzene | 0.005 |
| 29. | Dichlorodiphenyltrichloroethane (DDT) + metabolites | 0.03 |
| 30. | 1,2-dichloroethane | 0.005 |
| 31. | 1,1-Dichloroethylene (vinylidene chloride) | 0.014 |
| 32. | Dichloromethane | 0.05 |
| 33. | 2,4-Dichlorophenol | 0.9 |
| 34. | 2,4-Dichlorophenoxy acetic acid (2,4-D) | 0.1 |
| 35. | Diclofop-methyl | 0.009 |
| 36. | Dimethoate | 0.02 |
| 37. | Dinoseb | 0.01 |
| 38. | Dioxin and Furan | 0.000000015 a |
| 39. | Diquat | 0.07 |
| 40. | Diuron | 0.15 |
| 41. | Fluoride | 1.5 |
| 42. | Glyphosate | 0.28 |
| 43. | Heptachlor + Heptachlor Epoxide | 0.003 |
| 44. | Lead | 0.010 |
| 45. | Lindane (Total) | 0.004 |
| 46. | Malathion | 0.19 |
| 47. | Mercury | 0.001 |
| 48. | Methoxychlor | 0.9 |
| 49. | Metolachlor | 0.05 |
| 50. | Metribuzin | 0.08 |
| 51. | Microcystin LR | 0.0015 |
| 52. | Monochlorobenzene | 0.08 |
| 53. | Nitrate (as nitrogen) | 10.0 |
| 54. | Nitrite (as nitrogen) | 1.0 |
| 55. | Nitrate + Nitrite (as nitrogen) | 10.0 |
| 56. | Nitrilotriacetic Acid (NTA) | 0.4 |
| 57. | N-Nitrosodimethylamine (NDMA) | 0.000009 |
| 58. | Paraquat | 0.01 |
| 59. | Parathion | 0.05 |
| 60. | Pentachlorophenol | 0.06 |
| 61. | Phorate | 0.002 |
| 62. | Picloram | 0.19 |
| 63. | Polychlorinated Biphenyls (PCB) | 0.003 |
| 64. | Prometryne | 0.001 |
| 65. | Selenium | 0.01 |
| 66. | Simazine | 0.01 |
| 67. | Temephos | 0.28 |
| 68. | Terbufos | 0.001 |
| 69. | Tetrachloroethylene (perchloroethylene) | 0.03 |
| 70. | 2,3,4,6-Tetrachlorophenol | 0.1 |
| 71. | Triallate | 0.23 |
| 72. | Trichloroethylene | 0.005 |
| 73. | 2,4,6-Trichlorophenol | 0.005 |
| 74. | 2,4,5-Trichlorophenoxy acetic acid (2,4,5-T) | 0.28 |
| 75. | Trifluralin | 0.045 |
| 76. | Trihalomethanes | 0.100 b |
| 77. | Uranium | 0.02 |
| 78. | Vinyl Chloride | 0.002 |

Footnotes:

a		Total toxic equivalents when compared with 2,3,7,8-TCDD (tetrachlorodibenzo-p-dioxin).

b		This standard is expressed as a running annual average.

O. Reg. 169/03, Sched. 2; O. Reg. 268/03, s. 1; O. Reg. 248/06, s. 2; O. Reg. 242/07, s. 1.

Note: On January 1, 2016, Schedule 2 to the Regulation is revoked and the following substituted: (See: O. Reg. 373/15, s. 1 (1))

Schedule 2
CHEMICAL STANDARDS

| Item | Chemical Parameter | Standard (expressed as a maximum concentration in milligrams per litre) |
| --- | --- | --- |
| 1. | Alachlor | 0.005 |
| 2. | Antimony | 0.006 |
| 3. | Arsenic | 0.025 |
| 4. | Atrazine + N-dealkylated metabolites | 0.005 |
| 5. | Azinphos-methyl | 0.02 |
| 6. | Barium | 1.0 |
| 7. | Benzene | 0.005 |
| 8. | Benzo(a)pyrene | 0.00001 |
| 9. | Boron | 5.0 |
| 10. | Bromate | 0.01 |
| 11. | Bromoxynil | 0.005 |
| 12. | Cadmium | 0.005 |
| 13. | Carbaryl | 0.09 |
| 14. | Carbofuran | 0.09 |
| 15. | Carbon Tetrachloride | 0.005 |
| 16. | Chloramines | 3.0 |
| 17. | Chlorpyrifos | 0.09 |
| 18. | Chromium | 0.05 |
| 19. | Cyanide | 0.2 |
| 20. | Diazinon | 0.02 |
| 21. | Dicamba | 0.12 |
| 22. | 1,2-Dichlorobenzene | 0.2 |
| 23. | 1,4-Dichlorobenzene | 0.005 |
| 24. | 1,2-Dichloroethane | 0.005 |
| 25. | 1,1-Dichloroethylene (vinylidene chloride) | 0.014 |
| 26. | Dichloromethane | 0.05 |
| 27. | 2,4-Dichlorophenol | 0.9 |
| 28. | 2,4-Dichlorophenoxy acetic acid (2,4-D) | 0.1 |
| 29. | Diclofop-methyl | 0.009 |
| 30. | Dimethoate | 0.02 |
| 31. | Dioxin and Furan | 0.000000015 a |
| 32. | Diquat | 0.07 |
| 33. | Diuron | 0.15 |
| 34. | Fluoride | 1.5 |
| 35. | Glyphosate | 0.28 |
| 36. | Lead | 0.010 |
| 37. | Malathion | 0.19 |
| 38. | Mercury | 0.001 |
| 39. | Metolachlor | 0.05 |
| 40. | Metribuzin | 0.08 |
| 41. | Microcystin LR | 0.0015 |
| 42. | Monochlorobenzene | 0.08 |
| 43. | Nitrate (as nitrogen) | 10.0 |
| 44. | Nitrite (as nitrogen) | 1.0 |
| 45. | Nitrate + Nitrite (as nitrogen) | 10.0 |
| 46. | Nitrilotriacetic Acid (NTA) | 0.4 |
| 47. | N-Nitrosodimethylamine (NDMA) | 0.000009 |
| 48. | Paraquat | 0.01 |
| 49. | Pentachlorophenol | 0.06 |
| 50. | Phorate | 0.002 |
| 51. | Picloram | 0.19 |
| 52. | Polychlorinated Biphenyls (PCB) | 0.003 |
| 53. | Prometryne | 0.001 |
| 54. | Selenium | 0.01 |
| 55. | Simazine | 0.01 |
| 56. | Terbufos | 0.001 |
| 57. | Tetrachloroethylene (perchloroethylene) | 0.03 |
| 58. | 2,3,4,6-Tetrachlorophenol | 0.1 |
| 59. | Triallate | 0.23 |
| 60. | Trichloroethylene | 0.005 |
| 61. | 2,4,6-Trichlorophenol | 0.005 |
| 62. | Trifluralin | 0.045 |
| 63. | Trihalomethanes | 0.100 b |
| 64. | Uranium | 0.02 |
| 65. | Vinyl Chloride | 0.002 |

Footnotes:

a		Total toxic equivalents when compared with 2,3,7,8-TCDD (tetrachlorodibenzo-p-dioxin).

b		This standard is expressed as a running annual average of quarterly results.

O. Reg. 373/15, s. 1 (1).

Note: On January 1, 2017, Item 7 of Schedule 2 to the Regulation is amended by striking out “0.005” in Column 3 and substituting “0.001”. (See: O. Reg. 373/15, s. 1 (3))

Note: On January 1, 2017, Item 15 of Schedule 2 to the Regulation is amended by striking out “0.005” in Column 3 and substituting “0.002”. (See: O. Reg. 373/15, s. 1 (4))

Note: On January 1, 2017, Item 65 of Schedule 2 to the Regulation is amended by striking out “0.002” in Column 3 and substituting “0.001”. (See: O. Reg. 373/15, s. 1 (8))

Note: On January 1, 2018, Item 3 of Schedule 2 to the Regulation is amended by striking out “0.025” in Column 3 and substituting “0.01”. (See: O. Reg. 373/15, s. 1 (2))

Note: On January 1, 2017, Schedule 2 to the Regulation is amended by adding the following items: (See: O. Reg. 373/15, s. 1 (5))

| 16.1 | Chlorate | 1.0 |
| --- | --- | --- |
| 16.2 | Chlorite | 1.0 |

Note: On January 1, 2017, Schedule 2 to the Regulation is amended by adding the following item: (See: O. Reg. 373/15, s. 1 (7))

| 38.1 | 2-Methyl-4-chlorophenoxyacetic acid | 0.1 |
| --- | --- | --- |

Note: On January 1, 2020, Schedule 2 to the Regulation is amended by adding the following item: (See: O. Reg. 373/15, s. 1 (6))

| 35.1 | Haloacetic acids | 0.08 b |
| --- | --- | --- |

SCHEDULE 3
RADIOLOGICAL STANDARDS

| Item | Radiological Parameter | Standard (expressed as a maximum in becquerels per litre) |
| --- | --- | --- |
| Natural Radionuclides |  |  |
| 1. | Beryllium-7 | 4000.0 |
| 2. | Bismuth -210 | 70.0 |
| 3. | Lead-210 | 0.1 |
| 4. | Polonium-210 | 0.2 |
| 5. | Radium-224 | 2.0 |
| 6. | Radium-226 | 0.6 |
| 7. | Radium-228 | 0.5 |
| 8. | Thorium-228 | 2.0 |
| 9. | Thorium-230 | 0.4 |
| 10. | Thorium-232 | 0.1 |
| 11. | Thorium-234 | 20.0 |
| 12. | Uranium-234 | 4.0 |
| 13. | Uranium-235 | 4.0 |
| 14. | Uranium-238 | 4.0 |
| Artificial Radionuclides |  |  |
| 15. | Americium-241 | 0.2 |
| 16. | Antimony-122 | 50.0 |
| 17. | Antimony-124 | 40.0 |
| 18. | Antimony-125 | 100.0 |
| 19. | Barium-140 | 40.0 |
| 20. | Bromine-82 | 300.0 |
| 21. | Calcium-45 | 200.0 |
| 22. | Calcium-47 | 60.0 |
| 23. | Carbon-14 | 200.0 |
| 24. | Cerium-141 | 100.0 |
| 25. | Cerium-144 | 20.0 |
| 26. | Cesium-131 | 2000.0 |
| 27. | Cesium-134 | 7.0 |
| 28. | Cesium-136 | 50.0 |
| 29. | Cesium-137 | 10.0 |
| 30. | Chromium-51 | 3000.0 |
| 31. | Cobalt-57 | 40.0 |
| 32. | Cobalt-58 | 20.0 |
| 33. | Cobalt-60 | 2.0 |
| 34. | Gallium-67 | 500.0 |
| 35. | Gold-198 | 90.0 |
| 36. | Indium-111 | 400.0 |
| 37. | Iodine-125 | 10.0 |
| 38. | Iodine-129 | 1.0 |
| 39. | Iodine-131 | 6.0 |
| 40. | Iron-55 | 300.0 |
| 41. | Iron-59 | 40.0 |
| 42. | Manganese-54 | 200.0 |
| 43. | Mercury-197 | 400.0 |
| 44. | Mercury-203 | 80.0 |
| 45. | Molybdenum-99 | 70.0 |
| 46. | Neptunium-239 | 100.0 |
| 47. | Niobium-95 | 200.0 |
| 48. | Phosphorus-32 | 50.0 |
| 49. | Plutonium-238 | 0.3 |
| 50. | Plutonium-239 | 0.2 |
| 51. | Plutonium-240 | 0.2 |
| 52. | Plutonium-241 | 10.0 |
| 53. | Rhodium-105 | 300.0 |
| 54. | Rubidium-81 | 3000.0 |
| 55. | Rubidium-86 | 50.0 |
| 56. | Ruthenium-103 | 100.0 |
| 57. | Ruthenium-106 | 10.0 |
| 58. | Selenium-75 | 70.0 |
| 59. | Silver-108m | 70.0 |
| 60. | Silver-110m | 50.0 |
| 61. | Silver-111 | 70.0 |
| 62. | Sodium-22 | 50.0 |
| 63. | Strontium-85 | 300.0 |
| 64. | Strontium-89 | 40.0 |
| 65. | Strontium-90 | 5.0 |
| 66. | Sulphur-35 | 500.0 |
| 67. | Technetium-99 | 200.0 |
| 68. | Technetium-99m | 7000.0 |
| 69. | Tellurium-129m | 40.0 |
| 70. | Tellurium-131m | 40.0 |
| 71. | Tellurium-132 | 40.0 |
| 72. | Thallium-201 | 2000.0 |
| 73. | Tritium | 7000.0 |
| 74. | Ytterbium-169 | 100.0 |
| 75. | Yttrium-90 | 30.0 |
| 76. | Yttrium-91 | 30.0 |
| 77. | Zinc-65 | 40.0 |
| 78. | Zirconium-95 | 100.0 |

Notes:

Radionuclide concentrations that exceed the standard may be tolerated for a short period, as long as the annual average concentrations remain below the standard and the restriction (see immediately below) for multiple radionuclides is met.

Restrictions for multiple radionuclides:  If two or more radionuclides are present, the following relationship, based on International Commission on Radiological Protection (ICRP) Publication 26, must be satisfied and, if not satisfied, the standard shall be considered to have been exceeded:

c1C1 + c2C2 + . . . . . . . . . . . . . . . . . . . . ciCi ≤ 1

where

c1, c2 and ci are the observed concentrations, and C1, C2 and Ci are the maximum acceptable concentrations for each contributing radionuclide.

O. Reg. 169/03, Sched. 3.