Electricity Act, 1998
Loi de 1998 sur l’électricité

ONTARIO REGULATION 425/06

Criteria and requirements for Meters and Metering Equipment, Systems and Technology

Historical version for the period August 1, 2007 to February 7, 2017.

Last amendment: O. Reg. 440/07.

This Regulation is made in English only.

Definition

1.  In this Regulation,

“Functional Specifications” means the document entitled “Functional Specification for Advanced Metering Infrastructure – Version 2” dated July 5, 2007 and available at the Ministry of Energy, 4th Floor, Hearst Block, 900 Bay Street, Toronto, Ontario or on the Internet through the website of the Ministry.  O. Reg. 440/07, s. 1.

Adoption of criteria and requirements

2.  For residential and small general service consumers, the prescribed criteria and requirements for meters, metering equipment, systems and technology and any associated equipment, systems and technologies are the criteria and requirements specified in the Functional Specifications.  O. Reg. 440/07, s. 1.