Ontario regulation 172/03

made under the

safe drinking water act, 2002

Made: May 2, 2003
Filed: May 2, 2003
Printed in The Ontario Gazette: May 17, 2003

definitions of “Deficiency” and 
“Municipal drinking-water system”

“Deficiency”

1.  A violation of any of the following provisions is prescribed as a deficiency for the purposes of the Act, including the definition of “deficiency” in subsection 2 (1) of the Act, if, in the opinion of the Director, the violation poses a drinking-water health hazard:

1.	Subsection 18 (1) of the Act.

2.	Schedules 1, 2 and 6 to 18 to Ontario Regulation 170/03 (Drinking-Water Systems).

“Municipal Drinking-Water System”

2.  The following class is prescribed for the purposes of clause (d) of the definition of “municipal drinking-water system” in subsection 2 (1) of the Act:

1.	A drinking-water system or part of a drinking-water system that serves a major residential development and is established after this Regulation comes into force under an agreement with a municipality pursuant to Part VI of the Planning Act, if the agreement provides that ownership of the system may be transferred to the municipality, a municipal service board established under section 195 of the Municipal Act, 2001 or a corporation established under section 203 of the Municipal Act, 2001.

Commencement

3.  This Regulation comes into force on the day subsection 2 (1) of the Safe Drinking Water Act, 2002 comes into force.

Chris Stockwell

Minister of the Environment

Dated on May 2, 2003.

Back to top