Français

ontario regulation 408/04

made under the

safe drinking water Act, 2002

Made: December 15, 2004
Filed: December 16, 2004
Printed in The Ontario Gazette: January 1, 2005

Amending O. Reg. 170/03

(Drinking-Water Systems)

1.  Subsection 8 (4.2) of Ontario Regulation 170/03 is revoked and the following substituted:

(4.2)  Subsection (4.1) does not apply to a small municipal non-residential system after December 31, 2005.

2.  (1)  Subsections 2-9 (1) and (2) of Schedule 2 to the Regulation are revoked and the following substituted:

(1)  Subject to section 2-8, if a large municipal non-residential system, a non-municipal year-round residential system or a large non-municipal non-residential system does not serve a designated facility, the system commenced operation before June 1, 2003 and, immediately before that day, the system was not in compliance with sections 2-2 to 2-6, those sections do not apply until July 1, 2006.

(2)  Subject to section 2-8, if a small municipal non-residential system, a non-municipal seasonal residential system or a small non-municipal non-residential system does not serve a designated facility, the system commenced operation before June 1, 2003 and, immediately before that day, the system was not in compliance with sections 2-2 to 2-6, those sections do not apply until December 31, 2006.

(2)  Subsection 2-10 (1) of Schedule 2 to the Regulation is revoked and the following substituted:

(1)  The owner of a drinking-water system shall give a notice to the Director in accordance with subsection (2) not later than,

(a)	December 31, 2005, if subsection 2-9 (1) applies to the drinking-water system; or

(b)	July 1, 2006, if subsection 2-9 (2) applies to the drinking-water system.

Français

Back to top