Français

ontario regulation 320/08

made under the

provincial offences act

Made: September 10, 2008
Filed: September 16, 2008
Published on e-Laws: September 18, 2008
Printed in The Ontario Gazette: October 4, 2008

Amending Reg. 950 of R.R.O. 1990

(Proceedings Commenced by Certificate of Offence)

1.  Regulation 950 of the Revised Regulations of Ontario, 1990 is amended by adding the following Schedules:

Schedule 41.1

Ontario Regulation 318/08 under the Health Protection and Promotion Act

| Item | Column 1 | Column 2 |
| --- | --- | --- |
| 1. | Owner fail to display warning notice at tap | subsection 7 (4) |
| 2. | Owner fail to ensure weekly inspection of warning notices | subsection 7 (5) |
| 3. | Owner fail to ensure check done at appropriate interval | subsection 7 (6) |
| 4. | Owner fail to ensure record made of weekly inspection of warning notices | clause 7 (7) (a) |
| 5. | Owner fail to ensure weekly inspection records are retained for five years at appropriate location | clause 7 (7) (b) |
| 6. | Owner fail to ensure water provided by the system meets Ont. Drinking Water Quality Standards | paragraph 1 of subsection 8 (1) |
| 7. | Operator fail to ensure water provided by the system meets Ont. Drinking Water Quality Standards | paragraph 1 of subsection 8 (1) |
| 8. | Owner fail to ensure the small drinking water system is operated in accordance with requirements under regulation | subparagraph 2 i of subsection 8 (1) |
| 9. | Operator fail to ensure the small drinking water system is operated in accordance with requirements under regulation | subparagraph 2 i of subsection 8 (1) |
| 10. | Owner fail to ensure system is maintained in a fit state of repair | subparagraph 2 ii of subsection 8 (1) |
| 11. | Operator fail to ensure system is maintained in a fit state of repair | subparagraph 2 ii of subsection 8 (1) |
| 12. | Owner fail to ensure sampling requirements are complied with | paragraph 3 of subsection 8 (1) |
| 13. | Owner fail to ensure testing requirements are complied with | paragraph 3 of subsection 8 (1) |
| 14. | Owner fail to ensure monitoring requirements are complied with | paragraph 3 of subsection 8 (1) |
| 15. | Operator fail to ensure sampling requirements are complied with | paragraph 3 of subsection 8 (1) |
| 16. | Operator fail to ensure testing requirements are complied with | paragraph 3 of subsection 8 (1) |
| 17. | Operator fail to ensure monitoring requirements are complied with | paragraph 3 of subsection 8 (1) |
| 18. | Owner fail to designate operator — sampling | subsection 8 (2) |
| 19. | Owner fail to designate operator — submission of report | subsection 8 (2) |
| 20. | Owner fail to designate operator — receipt of report | subsection 8 (2) |
| 21 | Owner fail to ensure workers hold a limited subsystem operators’ certificate | clause 8 (3) (a) |
| 22. | Owner fail to ensure workers hold a conditional operators’ certificate | clause 8 (3) (b) |
| 23. | Operator fail to obtain drinking water testing services from licensed provider | subsection 9 (1) |
| 24. | Owner fail to comply with direction of M.O.H. relating to the use of laboratories located outside of Ontario | subsection 9 (4) |
| 25. | Operator fail to advise the M.O.H. of alternative laboratory which they will be using | subsection 9 (4) |
| 26. | Operator fail to immediately report adverse test result to M.O.H. | subsection 10 (1) |
| 27. | Operator fail to immediately report adverse test result to owner | subsection 10 (2) |
| 28. | Operator fail to ensure provision of water treatment equipment | section 11 |
| 29. | Owner fail to ensure the proper construction and maintenance of well | section 12 |
| 30. | Operator fail to ensure the proper construction and maintenance of well | section 12 |
| 31. | Owner fail to notify M.O.H. — building permit number issued in relation to the construction or alteration of small drinking water system | clause 13 (1) (a) |
| 32. | Owner fail to notify M.O.H. — preparations complete | clause 13 (1) (b) |
| 33. | Owner fail to notify M.O.H. — proposed supply date | clause 13 (1) (c) |
| 34. | Owner fail to notify M.O.H. — operator name or address | clause 13 (1) (d) |
| 35. | Owner fail to notify M.O.H. — owner name or address | clause 13 (1) (d) |
| 36. | Owner fail to notify M.O.H. — system name or address | clause 13 (1) (e) |
| 37. | Owner fail to ensure information is made available for public inspection | section 14 |
| 38. | Operator fail to ensure information is made available for public inspection | section 14 |
| 39. | Operator fail to ensure retention of documents and records for at least five years | subsection 15 (1) |
| 40. | Operator fail to ensure document, record or other information is provided within specified period | subsection 15 (2) |
| 41. | Fail to provide written notice in form provided or approved by the Ministry | subsection 16 (1) |
| 42. | Fail to provide report in form provided or approved by the Ministry | subsection 16 (1) |
| 43. | Fail to post warning notice in form provided or approved by the Ministry | subsection 16 (1) |
| 44. | Owner fail to ensure sampling and testing of water samples in accordance with assigned frequency | Schedule 1, section 1-2 |
| 45. | Operator fail to ensure sampling and testing of water samples in accordance with assigned frequency | Schedule 1, section 1-2 |
| 46. | Owner fail to ensure second water sample taken and immediately tested for chlorine residual | Schedule 1, subsection 1-3 (1) |
| 47. | Operator fail to ensure second water sample taken and immediately tested for chlorine residual | Schedule 1, subsection 1-3 (1) |
| 48. | Samples — fail to take in form of grab samples | Schedule 1, section 1-4 |
| 49. | Chlorine residual — fail to ensure testing of water samples using direct electronic direct readout colourimetric or amperometric chlorine analyzer | Schedule 1, section 1-5 |
| 50. | Chlorine residual — failure to ensure testing of water samples using other appropriate device | Schedule 1, section 1-5 |
| 51. | Owner fail to ensure water sample taken and handled in accordance with laboratory directions — collection procedures | Schedule 1, clause 1-6 (a) |
| 52. | Operator fail to ensure water sample taken and handled in accordance with laboratory directions — collection procedures | Schedule 1, clause 1-6 (a) |
| 53. | Owner fail to ensure water sample taken and handled in accordance with laboratory directions — use of containers | Schedule 1, clause 1-6 (b) |
| 54. | Operator fail to ensure water sample taken and handled in accordance with laboratory directions — use of containers | Schedule 1, clause 1-6 (b) |
| 55. | Owner fail to ensure water sample taken and handled in accordance with laboratory directions — labeling of samples | Schedule 1, clause 1-6 (c) |
| 56. | Operator fail to ensure water sample taken and handled in accordance with laboratory directions — labeling of samples | Schedule 1, clause 1-6 (c) |
| 57. | Owner fail to ensure water sample taken and handled in accordance with laboratory directions — completion and submission of forms | Schedule 1, clause 1-6 (d) |
| 58. | Operator fail to ensure water sample taken and handled in accordance with laboratory directions — completion and submission of forms | Schedule 1, clause 1-6 (d) |
| 59. | Owner fail to ensure water sample taken and handled in accordance with laboratory directions — methods of transporting samples | Schedule 1, clause 1-6 (e) |
| 60. | Operator fail to ensure water sample taken and handled in accordance with laboratory directions — methods of transporting samples | Schedule 1, clause 1-6 (e) |
| 61. | Owner fail to ensure water sample taken and handled in accordance with laboratory directions — time periods for delivery of samples | Schedule 1, clause 1-6 (f) |
| 62. | Operator fail to ensure water sample taken and handled in accordance with laboratory directions — time periods for delivery of samples | Schedule 1, clause 1-6 (f) |
| 63. | Owner fail to ensure written notice provided to M.O.H. to identify laboratory testing sample | Schedule 1, section 1-7 |
| 64. | Operator fail to ensure written notice provided to M.O.H. to identify laboratory testing sample | Schedule 1, section 1-7 |
| 65. | Owner fail to ensure appropriate recording of sample | Schedule 1, section 1-8 |
| 66. | Operator fail to ensure appropriate recording of sample | Schedule 1, section 1-8 |
| 67. | Large municipal non-residential system and large non-municipal non-residential system — owner fail to ensure weekly distribution sample taken | Schedule 2, subsection 2-2 (1) |
| 68. | Large municipal non-residential system and large non-municipal non-residential system — operator fail to ensure weekly distribution sample taken | Schedule 2, subsection 2-2 (1) |
| 69. | Large municipal non-residential system and large non-municipal non-residential system — owner fail to ensure weekly sample tested for E. coli | Schedule 2, clause 2-2 (2) (a) |
| 70. | Large municipal non-residential system and large non-municipal non-residential system — operator fail to ensure weekly sample tested for E. coli | Schedule 2, clause 2-2 (2) (a) |
| 71. | Large municipal non-residential system and large non-municipal non-residential system — owner fail to ensure weekly sample tested for total coliforms | Schedule 2, clause 2-2 (2) (b) |
| 72. | Large municipal non-residential system and large non-municipal non-residential system — operator fail to ensure weekly sample tested for total coliforms | Schedule 2, clause 2-2 (2) (b) |
| 73. | Large municipal non-residential system and large non-municipal non-residential system — shutdowns of at least seven days — owner fail to ensure no drinking water supplied until samples taken and tested | Schedule 2, subsection 2-3 (2) |
| 74. | Large municipal non-residential system and large non-municipal non-residential system — shutdowns of at least seven days — operator fail to ensure no drinking water supplied until samples taken and tested | Schedule 2, subsection 2-3 (2) |
| 75. | Small municipal non-residential system and non-municipal seasonal residential system — owner fail to ensure distribution sample taken at least once every two weeks | Schedule 3, subsection 3-2 (1) |
| 76. | Small municipal non-residential system and non-municipal seasonal residential system — operator fail to ensure distribution sample taken at least once every two weeks | Schedule 3, subsection 3-2 (1) |
| 77. | Owner of non-municipal seasonal residential system fail to ensure minimum distribution sample taken per 100 service connectors | Schedule 3, subsection 3-2 (2) |
| 78. | Operator of non-municipal seasonal residential system fail to ensure minimum distribution sample taken per 100 service connectors | Schedule 3, subsection 3-2 (2) |
| 79. | Owner of small non-municipal non-residential system fail to ensure monthly distribution sample taken | Schedule 3, subsection 3-2 (3) |
| 80. | Operator of small non-municipal non-residential system fail to ensure monthly distribution sample taken | Schedule 3, subsection 3-2 (3) |
| 81. | Owner of small non-municipal non-residential system serving a food service establishment fail to ensure distribution sample taken as directed by the M.O.H. | Schedule 3, subsection 3-2 (3) |
| 82. | Operator of small non-municipal non-residential system serving a food service establishment fail to ensure distribution sample taken as directed by the M.O.H. | Schedule 3, subsection 3-2 (3) |
| 83. | Owner of small municipal non-residential system, non-municipal seasonal residential system or non-municipal non-residential system fail to ensure samples collected are tested for E. coli | Schedule 3, clause 3-2 (4) (a) |
| 84. | Operator of small municipal non-residential system, non-municipal seasonal residential system or non-municipal non-residential system fail to ensure samples collected are tested for E. coli | Schedule 3, clause 3-2 (4) (a) |
| 85. | Owner of small municipal non-residential system, non-municipal seasonal residential system or non-municipal non-residential system fail to ensure samples collected are tested for total coliforms | Schedule 3, clause 3-2 (4) (b) |
| 86. | Operator of small municipal non-residential system, non-municipal seasonal residential system or non-municipal non-residential system fail to ensure samples collected are tested for total coliforms | Schedule 3, clause 3-2 (4) (b) |
| 87. | Small municipal non-residential system, non-municipal seasonal residential system and non-municipal non-residential system — shutdowns of at least seven days — owner fail to ensure no drinking water supplied until samples taken and tested | Schedule 3, subsection 3-3 (3) |
| 88. | Small municipal non-residential system, non-municipal seasonal residential system and non-municipal non-residential system — shutdowns of at least seven days — operator fail to ensure no drinking water supplied until samples taken and tested | Schedule 3, subsection 3-3 (3) |
| 89. | Operator fail to immediately report in prescribed manner | Schedule 4, subsection 4-4 (1) |
| 90. | Operator fail to immediately report by speaking in person or by telephone to M.O.H. | Schedule 4, subsection 4-4 (2) |
| 91. | Operator fail to immediately report by speaking to person designated by owner | Schedule 4, subsection 4-4 (4) |
| 92. | Operator fail to provide written notice | Schedule 4, subsection 4-5 (1) |
| 93. | Operator fail to provide written notice within 24 hours of immediate report | Schedule 4, subsection 4-5 (2) |
| 94. | Operator fail to properly deliver written notice to medial officer of health | Schedule 4, subsection 4-5 (3) |
| 95. | Operator fail to specify adverse test result | Schedule 4, subsection 4-6 (1) |
| 96. | Operator fail to indicate actions taken in response to adverse test result | Schedule 4, clause 4-6 (3) (a) |
| 97. | Operator fail to indicate whether corrective action taken in respect of adverse test result | Schedule 4, clause 4-6 (3) (b) |
| 98. | Operator fail to provide written notice of resolution of issue to the M.O.H. | Schedule 4, section 4-7 |
| 99. | Operator fail to immediately report adverse observation in prescribed manner | Schedule 4, section 4-8 |
| 100. | Corrective action — E. coli — owner fail to immediately take all reasonable steps to notify users | Schedule 5, paragraph 1 of section 5-2 |
| 101. | Corrective action — E. coli — operator fail to immediately take all reasonable steps to notify users | Schedule 5, paragraph 1 of section 5-2 |
| 102. | Corrective action — E. coli — owner fail to immediately resample and test | Schedule 5, paragraph 2 of section 5-2 |
| 103. | Corrective action — E. coli — operator fail to immediately resample and test | Schedule 5, paragraph 2 of section 5-2 |
| 104. | Corrective action — E. coli — system uses chlorine — owner fail to appropriately flush the distribution system | Schedule 5, subparagraph 3 i of section 5-2 |
| 105. | Corrective action — E. coli — system uses chlorine — owner fail to appropriately flush plumbing | Schedule 5, subparagraph 3 i section 5-2 |
| 106. | Corrective action — E. coli — system uses chlorine — operator fail to appropriately flush the distribution system | Schedule 5, subparagraph 3 i of section 5-2 |
| 107. | Corrective action — E. coli — system uses chlorine — operator fail to appropriately flush plumbing | Schedule 5, subparagraph 3 i of section 5-2 |
| 108. | Corrective action — E. coli — system uses chlorine — owner fail to maintain chlorine residual in affected parts of distribution system and plumbing | Schedule 5, subparagraph 3 ii of section 5-2 |
| 109. | Corrective action — E. coli — system uses chlorine — operator fail to maintain chlorine residual in affected parts of distribution system and plumbing | Schedule 5, subparagraph 3 ii of section 5-2 |
| 110. | Corrective action — E. coli — system does not use chlorine — owner fail to ensure corrective action is taken in accordance with the Ministry’s Procedure for Corrective Action for Small Drinking Water Systems that are Not Currently Using Chlorine | Schedule 5, paragraph 4 of section 5-2 |
| 111. | Corrective action —E. coli — system does not use chlorine — operator fail to ensure corrective action is taken in accordance with the Ministry’s Procedure for Corrective Action for Small Drinking Water Systems that are Not Currently Using Chlorine | Schedule 5, paragraph 4 of section 5-2 |
| 112. | Corrective action — E. coli — owner fail to ensure corrective action taken as instructed by the M.O.H. | Schedule 5, paragraph 5 of section 5-2 |
| 113. | Corrective action — E. coli — operator fail to ensure corrective action taken as instructed by the M.O.H. | Schedule 5, paragraph 5 of section 5-2 |
| 114. | Corrective action — total coliforms — owner fail to resample and test | Schedule 5, paragraph 1 of section 5-3 |
| 115. | Corrective action — total coliforms — operator fail to resample and test | Schedule 5, paragraph 1 of section 5-3 |
| 116. | Corrective action — total coliforms — system uses chlorine — owner fail to appropriately flush the distribution system | Schedule 5, subparagraph 2 i of section 5-3 |
| 117. | Corrective action — total coliforms — system uses chlorine — owner fail to appropriately flush plumbing | Schedule 5, subparagraph 2 i of section 5-3 |
| 118. | Corrective action — total coliforms — system uses chlorine — operator fail to appropriately flush the distribution system | Schedule 5, subparagraph 2 i of section 5-3 |
| 119. | Corrective action — total coliforms — system uses chlorine — operator fail to appropriately flush plumbing | Schedule 5, subparagraph 2 i of section 5-3 |
| 120. | Corrective action — total coliforms — system uses chlorine — owner fail to maintain chlorine residual in affected parts of distribution system and plumbing | Schedule 5, subparagraph 2 ii of section 5-3 |
| 121. | Corrective action — total coliforms — system uses chlorine — operator fail to maintain chlorine residual in affected parts of distribution system and plumbing | Schedule 5, subparagraph 2 ii of section 5-3 |
| 122. | Corrective action — total coliforms — system does not use chlorine — owner fail to ensure corrective action is taken in accordance with the Ministry’s Procedure for Corrective Action for Small Drinking Water Systems that are Not Currently Using Chlorine | Schedule 5, paragraph 3 of section 5-3 |
| 123. | Corrective action — total coliforms — system does not use chlorine — operator fail to ensure corrective action is taken in accordance with the Ministry’s Procedure for Corrective Action for Small Drinking Water Systems that are Not Currently Using Chlorine | Schedule 5, paragraph 3 of section 5-3 |
| 124. | Corrective action — total coliforms — owner fail to ensure corrective action taken as instructed by the M.O.H. | Schedule 5, paragraph 4 of section 5-3 |
| 125. | Corrective action — total coliforms — operator fail to ensure corrective action taken as instructed by the M.O.H. | Schedule 5, paragraph 4 of section 5-3 |
| 126. | Corrective action — Aeromonas spp., Pseudomonas aeruginosa, Staphylococcus aureus, Clostridium spp. or fecal streptococci (Group D streptococci) — owner fail to resample and test | Schedule 5, paragraph 1 of section 5-4 |
| 127. | Corrective action — Aeromonas spp., Pseudomonas aeruginosa, Staphylococcus aureus, Clostridium spp. or fecal streptococci (Group D streptococci) — operator fail to resample and test | Schedule 5, paragraph 1 of section 5-4 |
| 128. | Corrective action — Aeromonas spp., Pseudomonas aeruginosa, Staphylococcus aureus, Clostridium spp. or fecal streptococci (Group D streptococci) — system uses chlorine — owner fail to appropriately flush the distribution system | Schedule 5, subparagraph 2 i of section 5-4 |
| 129. | Corrective action — Aeromonas spp., Pseudomonas aeruginosa, Staphylococcus aureus, Clostridium spp. or fecal streptococci (Group D streptococci) — system uses chlorine — operator fail to appropriately flush the distribution system | Schedule 5, subparagraph 2 i of section 5-4 |
| 130. | Corrective action — Aeromonas spp., Pseudomonas aeruginosa, Staphylococcus aureus, Clostridium spp. or fecal streptococci (Group D streptococci) — system uses chlorine — owner fail to appropriately flush plumbing | Schedule 5, subparagraph 2 i of section 5-4 |
| 131. | Corrective action — Aeromonas spp., Pseudomonas aeruginosa, Staphylococcus aureus, Clostridium spp. or fecal streptococci (Group D streptococci) — system uses chlorine — operator fail to appropriately flush plumbing | Schedule 5, subparagraph 2 i of section 5-4 |
| 132. | Corrective action — Aeromonas spp., Pseudomonas aeruginosa, Staphylococcus aureus, Clostridium spp. or fecal streptococci (Group D streptococci) — system uses chlorine — owner fail to maintain chlorine residual in affected parts of distribution system and plumbing | Schedule 5, subparagraph 2 ii of section 5-4 |
| 133. | Corrective action — Aeromonas spp., Pseudomonas aeruginosa, Staphylococcus aureus, Clostridium spp. or fecal streptococci (Group D streptococci) — system uses chlorine — operator fail to maintain chlorine residual in affected parts of distribution system and plumbing | Schedule 5, subparagraph 2 ii of section 5-4 |
| 134. | Corrective action — Aeromonas spp., Pseudomonas aeruginosa, Staphylococcus aureus, Clostridium spp. or fecal streptococci (Group D streptococci) — system does not use chlorine - owner fail to ensure corrective action is taken in accordance with the Ministry’s Procedure for Corrective Action for Small Drinking Water Systems that are Not Currently Using Chlorine | Schedule 5, paragraph 3 of section 5-4 |
| 135. | Corrective action — Aeromonas spp., Pseudomonas aeruginosa, Staphylococcus aureus, Clostridium spp. or fecal streptococci (Group D streptococci) — system does not use chlorine — operator fail to ensure corrective action is taken in accordance with the Ministry’s Procedure for Corrective Action for Small Drinking Water Systems that are Not Currently Using Chlorine | Schedule 5, paragraph 3 of section 5-4 |
| 136. | Corrective action — Aeromonas spp., Pseudomonas aeruginosa, Staphylococcus aureus, Clostridium spp. or fecal streptococci (Group D streptococci) — owner fail to ensure corrective action taken as instructed by the M.O.H. | Schedule 5, paragraph 4 of section 5-4 |
| 137. | Corrective action — Aeromonas spp., Pseudomonas aeruginosa, Staphylococcus aureus, Clostridium spp. or fecal streptococci (Group D streptococci) — operator fail to ensure corrective action taken as instructed by M.O.H. | Schedule 5, paragraph 4 of section 5-4 |
| 138. | Corrective action — chemical and radiological parameters — Ont. Drinking Water Quality Standards — owner fail to resample and test | Schedule 5, paragraph 1 of section 5-5 |
| 139. | Corrective action — chemical and radiological parameters — Ont. Drinking Water Quality Standards — operator fail to resample and test | Schedule 5, paragraph 1 of section 5-5 |
| 140. | Corrective action — chemical and radiological parameters — Ont. Drinking Water Quality Standards — owner fail to take steps as required by M.O.H. | Schedule 5, paragraph 2 of section 5-5 |
| 141. | Corrective action — chemical and radiological parameters — Ont. Drinking Water Quality Standards — operator fail to take steps as required by M.O.H. | Schedule 5, paragraph 2 of section 5-5 |
| 142. | Corrective action — pesticide not listed in Schedule 2 — Ont. Drinking Water Quality Standards — owner fail to resample and test | Schedule 5, paragraph 1 of section 5-6 |
| 143. | Corrective action — pesticide not listed in Schedule 2 — Ont. Drinking Water Quality Standards — operator fail to resample and test | Schedule 5, paragraph 1 of section 5-6 |
| 144. | Corrective action — pesticide not listed in Schedule 2 — Ont. Drinking Water Quality Standards — owner fail to take steps as required by M.O.H. | Schedule 5, paragraph 2 of section 5-6 |
| 145. | Corrective action — pesticide not listed in Schedule 2 — Ont. Drinking Water Quality Standards — operator fail to take steps as required by M.O.H. | Schedule 5, paragraph 2 of section 5-6 |
| 146. | Corrective action — sodium — owner fail to resample and test | Schedule 5, paragraph 1 of section 5-7 |
| 147. | Corrective action — sodium — operator fail to resample and test | Schedule 5, paragraph 1 of section 5-7 |
| 148. | Corrective action — sodium — owner fail to take steps as required by M.O.H. | Schedule 5, paragraph 2 of section 5-7 |
| 149. | Corrective action — sodium — operator fail to take steps as required by M.O.H. | Schedule 5, paragraph 2 of section 5-7 |
| 150. | Corrective action — report required — owner fail to ensure remaining components of corrective action completed | Schedule 5, section 5-8 |
| 151. | Corrective action — report required — operator fail to ensure remaining components of corrective action completed | Schedule 5, section 5-8 |
| 152. | Owner fail to ensure warning notices are posted | Schedule 6, subsection 6-2 (1) |
| 153. | Operator fail to ensure warning notices are posted | Schedule 6, subsection 6-2 (1) |
| 154. | Owner fail to post warning notice in prominent location | Schedule 6, subsection 6-2 (2) |
| 155. | Operator fail to post warning notice in prominent location | Schedule 6, subsection 6-2 (2) |
| 156. | Owner fail to ensure that warning notices contain the appropriate statement | Schedule 6, subsection 6-2 (2) |
| 157. | Operator fail to ensure that warning notices contain the appropriate statement | Schedule 6, subsection 6-2 (2) |

Schedule 41.2

Regulation 319/08 under the Health Protection and Promotion Act

| Item | Column 1 | Column 2 |
| --- | --- | --- |
| 1. | Owner fail to notify M.O.H. — building permit number for construction or alteration of system | clause 5 (1) (a) |
| 2. | Owner fail to notify M.O.H. — preparations complete | clause 5 (1) (b) |
| 3. | Owner fail to notify M.O.H. — directive complied with | clause 5 (1) (b) |
| 4. | Owner fail to notify M.O.H. — proposed supply date | clause 5 (1) (c) |
| 5. | Owner fail to notify M.O.H. — operator name or address | clause 5 (1) (d) |
| 6. | Owner fail to notify M.O.H. — owner name or address | clause 5 (1) (d) |
| 7. | Owner fail to notify M.O.H. — system name or address | clause 5 (1) (e) |
| 8. | Owner fail to obtain permission in writing to supply water | subsection 5 (2) |
| 9. | Owner fail to comply with written permission | subsection 5 (3) |
| 10. | Operator fail to comply with written permission | subsection 5 (3) |
| 11. | Owner fail to notify M.O.H. — preparations complete | clause 5 (5) (a) |
| 12. | Owner fail to notify M.O.H. — operator name or address | clause 5 (5) (b) |
| 13. | Owner fail to notify M.O.H. — owner name or address | clause 5 (5) (b) |
| 14. | Owner fail to notify M.O.H. — system name or address | clause 5 (5) (c) |
| 15. | Owner fail to test water sample for E. coli — resume supply to users | clause 5 (6) (a) |
| 16. | Owner fail to test water sample for total coliforms — resume supply to users | clause 5 (6) (a) |
| 17. | Operator fail to test water sample for E. coli — resume supply to users | clause 5 (6) (a) |
| 18. | Operator fail to test water sample for total coliforms — resume supply to users | clause 5 (6) (a) |
| 19. | Owner fail to obtain water sample tests — resume supply to users | clause 5 (6) (b) |
| 20. | Operator fail to obtain water sample tests — resume supply to users | clause 5 (6) (b) |
| 21 | Owner fail to notify M.O.H. of proposed date — resume supply to users | subclause 5 (6) (c) (i) |
| 22. | Operator fail to notify M.O.H. of proposed date — resume supply to users | subclause 5 (6) (c) (i) |
| 23. | Owner fail to notify M.O.H. — operator name or address — resume supply to users | subclause 5 (6) (c) (ii) |
| 24. | Operator fail to notify M.O.H. — operator name or address — resume supply to users | subclause 5 (6) (c) (ii) |
| 25. | Owner fail to notify M.O.H. — owner name or address — resume supply to users | subclause 5 (6) (c) (ii) |
| 26. | Operator fail to notify M.O.H. — owner name or address — resume supply to users | subclause 5 (6) (c) (ii) |
| 27. | Owner fail to notify M.O.H. of name or address of system resumed supply to users | subclause 5 (6) (c) (iii) |
| 28. | Operator fail to notify M.O.H. of name or address of system resumed supply to users | subclause 5 (6) (c) (iii) |
| 29. | Owner fail to notify M.O.H. of test results — resume supply to users | subclause 5 (6) (c) (iv) |
| 30. | Operator fail to notify M.O.H. of test results — resume supply to users | subclause (6) (c) (iv) |
| 31. | Owner fail to notify M.O.H. prior to supplying water — resume supply to users | subsection 5 (7) |
| 32. | Operator fail to notify M.O.H. prior to supplying water — resume supply to users | subsection 5 (7) |
| 33. | Owner fail to designate operator — sampling | clause 6 (1) (a) |
| 34. | Owner fail to designate operator — testing | clause 6 (1) (a) |
| 35. | Owner fail to designate operator — receipt of report | clause 6 (1) (a) |
| 36. | Owner fail to designate operator — submission of report | clause 6 (1) (a) |
| 37. | Owner fail to notify M.O.H. name and address of designated operator | clause 6 (1) (b) |
| 38. | Owner fail to notify M.O.H. — change in operator | clause 6 (1) (c) |
| 39. | Owner fail to notify M.O.H. — change in operator information | clause 6 (1) (c) |
| 40. | Owner fail to maintain system and equipment in safe and sanitary condition | clause 6 (2) (a) |
| 41. | Operator fail to maintain system and equipment in safe and sanitary condition | clause 6 (2) (a) |
| 42. | Owner fail to ensure water provided meets requirements of the Regulation | clause 6 (2) (b) |
| 43. | Owner fail to ensure water provided meets requirements of Ont. Drinking Water Quality Standards | clause 6 (2) (b) |
| 44. | Operator fail to ensure water provided meets requirements of the Regulation | clause 6 (2) (b) |
| 45. | Operator fail to ensure water provided meets requirements of Ont. Drinking Water Quality Standards | clause 6 (2) (b) |
| 46. | Owner fail to ensure system is operated in accordance with requirements under the Regulation | subclause 6 (2) (c) (i) |
| 47. | Operator fail to ensure system is operated in accordance with requirements under the Regulation | subclause 6 (2) (c) (i) |
| 48. | Owner fail to ensure system is maintained in fit state of repair | subclause 6 (2) (c) (ii) |
| 49. | Operator fail to ensure system is maintained in fit state of repair | subclause 6 (2) (c) (ii) |
| 50. | Owner fail to ensure sampling requirements are complied with | clause 6 (2) (d) |
| 51. | Operator fail to ensure sampling requirements are complied with | clause 6 (2) (d) |
| 52. | Owner fail to ensure testing requirements are complied with | clause 6 (2) (d) |
| 53. | Operator fail to ensure testing requirements are complied with | clause 6 (2) (d) |
| 54. | Owner fail to ensure monitoring requirements are complied with | clause 6 (2) (d) |
| 55. | Operator fail to ensure monitoring requirements are complied with | clause 6 (2) (d) |
| 56. | Owner fail to ensure reporting requirements are complied with | clause 6 (2) (d) |
| 57. | Operator fail to ensure reporting requirements are complied with | clause 6 (2) (d) |
| 58. | Owner fail to ensure operator trained in operation procedures | subsection 6 (3) |
| 59. | Owner fail to ensure operator trained in maintenance procedures | subsection 6 (3) |
| 60. | Owner fail to ensure operator trained in safety procedures | subsection 6 (3) |
| 61. | Owner fail to ensure operator trained in emergency procedures | subsection 6 (3) |
| 62. | Owner fail to obtain drinking water testing service from licensed provider | subsection 8 (1) |
| 63. | Operator fail to obtain drinking water testing service from licensed provider | subsection 8 (1) |
| 64. | Owner fail to obtain drinking water testing service from otherwise authorized service provider | subsection 8 (1) |
| 65. | Operator fail to obtain drinking water testing service from otherwise authorized service provider | subsection 8 (1) |
| 66. | Owner fail to advise the M.O.H. of alternative laboratory which they will be using | subsection 8 (3) |
| 67. | Operator fail to advise the M.O.H. of alternative laboratory which they will be using | subsection 8 (3) |
| 68. | Owner failure to comply with instructions of M.O.H. — laboratory located outside Ontario | subsection 8 (3) |
| 69. | Operator failure to comply with instructions of M.O.H. — laboratory located outside Ontario | subsection 8 (3) |
| 70. | Owner fail to notify M.O.H. — identity of laboratory to test sample | subsection 8 (5) |
| 71. | Operator fail to notify M.O.H. — identity of laboratory to test sample | subsection 8 (5) |
| 72. | Operator fail to immediately report adverse observation to M.O.H. | subsection 9 (1) |
| 73. | Operator fail to immediately report adverse test result to M.O.H. | subsection 9 (1) |
| 74. | Operator fail to immediately report adverse test result to owner | subsection 9 (2) |
| 75. | Operator fail to immediately report adverse observation to owner | subsection 9 (2) |
| 76. | Operator fail to give M.O.H. a written notice within 24 hours | subsection 9 (4) |
| 77. | Operator fail to specify the adverse test result in immediate report | subsection 9 (5) |
| 78. | Operator fail to specify the adverse observation | subsection 9 (5) |
| 79. | Operator fail to specify actions taken in response to adverse test result | subsection 9 (5) |
| 80. | Operator fail to specify actions taken in response to adverse observation | subsection 9 (5) |
| 81. | Operator fail to specify whether corrective action taken in respect of adverse test result | subsection 9 (5) |
| 82. | Operator fail to specify whether corrective action taken in respect of adverse observation | subsection 9 (5) |
| 83. | Owner fail to give written notice within seven days to M.O.H. of resolution of issue | subsection 9 (6) |
| 84. | Owner fail to ensure retention of documents or records for five years | subsection 10 (1) |
| 85. | Operator fail to ensure retention of documents or records for five years | subsection 10 (1) |
| 86. | Operator fail to ensure document, record or other information is provided within specified period | subsection 10 (2) |
| 87. | Owner fail to ensure document, record or other information is provided within specified period | subsection 10 (2) |
| 88. | Owner fail to ensure information is made available for public inspection | subsection 11 (1) |
| 89. | Operator fail to ensure information is made available for public inspection | subsection 11 (1) |
| 90. | Fail to provide written notice in form provided or a approved by the Ministry | subsection 12 (1) |
| 91. | Fail to provide report in form provided or a approved by the Ministry | subsection 12 (1) |
| 92. | Fail to post warning sign in form provided or a approved by the Ministry | subsection 12 (1) |
| 93. | Owner fail to ensure the proper construction and maintenance of well | section 13 |
| 94. | Operator fail to ensure the proper construction and maintenance of well | section 13 |
| 95. | System providing treatment — owner fail to ensure the operation of water treatment equipment when water supplied | paragraph 1 of subsection 14 (1) |
| 96. | System providing treatment — operator fail to ensure the operation of water treatment equipment when water supplied | paragraph 1 of subsection 14 (1) |
| 97. | System providing treatment — owner fail to ensure water treatment equipment operated according to manufacturer instructions | paragraph 2 of subsection 14 (1) |
| 98. | System providing treatment — operator fail to ensure water treatment equipment operated according to manufacturer instructions | paragraph 2 of subsection 14 (1) |
| 99. | System providing treatment — owner fail to ensure water treatment equipment operated so as to achieve design capabilities | paragraph 3 of subsection 14 (1) |
| 100. | System providing treatment — operator fail to ensure water treatment equipment operated so as to achieve design capabilities | paragraph 3 of subsection 14 (1) |
| 101. | System providing treatment — owner fail to ensure treatment equipment operated so free chlorine residual never less than 0.05 milligrams per litre | subparagraph 4 i of subsection 14 (1) |
| 102. | System providing treatment — operator fail to ensure treatment equipment operated so free chlorine residual never less than 0.05 milligrams per litre | subparagraph 4 i of subsection 14 (1) |
| 103. | System providing treatment — owner fail to ensure treatment equipment operated so combined chlorine residual never less than 0.25 milligrams per litre | subparagraph 4 ii of subsection 14 (1) |
| 104. | System providing treatment — operator fail to ensure treatment equipment operated so combined chlorine residual never less than 0.25 milligrams per litre | subparagraph 4 ii of subsection 14 (1) |
| 105. | System providing treatment — owner fail to ensure proper maintenance of water treatment equipment | paragraph 5 of subsection 14 (1) |
| 106. | System providing treatment — operator fail to ensure proper maintenance of water treatment equipment | paragraph 5 of subsection 14 (1) |
| 107. | System providing treatment — owner fail to ensure written operating instructions kept near water treatment equipment | paragraph 6 of subsection 14 (1) |
| 108. | System providing treatment — operator fail to ensure written operating instructions kept near water treatment equipment | paragraph 6 of subsection 14 (1) |
| 109. | System providing treatment — owner fail to ensure supplies of chemicals or other necessary materials are kept in safe and secure manner | paragraph 7 of subsection 14 (1) |
| 110. | System providing treatment — owner fail to ensure supplies of chemicals or other necessary materials are kept separate from other chemicals/materials | paragraph 7 of subsection 14 (1) |
| 111. | System providing treatment — operator fail to ensure supplies of chemicals or other necessary materials are kept in safe and secure manner | paragraph 7 of subsection 14 (1) |
| 112. | System providing treatment — operator fail to ensure supplies of chemicals or other necessary materials are kept separate from other chemicals/materials | paragraph 7 of subsection 14 (1) |
| 113. | System providing treatment — owner fail to ensure replacement parts are stored nearby | paragraph 8 of subsection 14 (1) |
| 114. | System providing treatment — operator fail to ensure replacement parts are stored nearby | paragraph 8 of subsection 14 (1) |
| 115. | System providing treatment — owner fail to ensure water treatment equipment maintenance records are kept for required period | paragraph 9 of subsection 14 (1) |
| 116. | System providing treatment — operator fail to ensure water treatment equipment maintenance records are kept for required period | paragraph 9 of subsection 14 (1) |
| 117. | System providing treatment — owner fail to ensure written manufacturer operating manuals are kept for required period | paragraph 10 of subsection 14 (1) |
| 118. | System providing treatment — operator fail to ensure written manufacturer operating manuals are kept for required period | paragraph 10 of subsection 14 (1) |
| 119. | System providing treatment — primary equipment no chlorination or chloramination — owner fail to ensure disinfection equipment designed and operated with required feature | clause 14 (2) (a) |
| 120. | System providing treatment — primary equipment no chlorination or chloramination — operator fail to ensure disinfection equipment designed and operated with required feature | clause 14 (2) (a) |
| 121. | System providing treatment — primary disinfection equipment no chlorination or chloramination — owner fail to ensure system designed and operated with required alarm | clause 14 (2) (b) |
| 122. | System providing treatment — primary equipment no chlorination or chloramination — operator fail to ensure system designed and operated with required alarm | clause 14 (2) (b) |
| 123. | System providing treatment — ultra violet light disinfection equipment — owner fail to ensure sensors are checked | subsection 14 (3) |
| 124. | System providing treatment — ultra violet light disinfection equipment — owner fail to ensure sensors are calibrated | subsection 14 (3) |
| 125. | System providing treatment — ultra violet light disinfection equipment — operator fail to ensure sensors are checked | subsection 14 (3) |
| 126. | System providing treatment — ultra violet light disinfection equipment — operator fail to ensure sensors are calibrated | subsection 14 (3) |
| 127. | System using continuous monitoring equipment — owner fail to ensure continuous monitoring equipment operated according to manufacturer instructions | paragraph 1 of subsection 15 (1) |
| 128. | System using continuous monitoring equipment — operator fail to ensure continuous monitoring equipment operated according to manufacturer instructions | paragraph 1 of subsection 15 (1) |
| 129. | System using continuous monitoring equipment — owner fail to ensure proper maintenance of continuous monitoring equipment | paragraph 2 of subsection 15 (1) |
| 130. | System using continuous monitoring equipment — operator fail to ensure proper maintenance of continuous monitoring equipment | paragraph 2 of subsection 15 (1) |
| 131. | System using continuous monitoring equipment — owner fail to ensure continuous monitoring equipment maintenance records are kept for required period | paragraph 3 of subsection 15 (1) |
| 132. | System using continuous monitoring equipment — owner fail to ensure continuous monitoring equipment maintenance records are kept for required period | paragraph 3 of subsection 15 (1) |
| 133. | Surface water source — owner fail to ensure provision of water treatment equipment capable of achieving primary disinfection at required levels | clause 16 (a) |
| 134. | Surface water source — operator fail to ensure provision of water treatment equipment capable of achieving primary disinfection at required levels | clause 16 (a) |
| 135. | Surface water source — owner fail to ensure provision of other water treatment equipment | clause 16 (b) |
| 136. | Surface water source — operator fail to ensure provision of other water treatment equipment | clause 16 (b) |
| 137. | Samples — fail to ensure collection from point where water enters the distribution system | clause 17 (a) |
| 138. | Samples — fail to ensure collection from point where water enters plumbing | clause 17 (a) |
| 139. | Samples — fail to ensure collection from other appropriate location | clause 17 (b) |
| 140. | Samples — microbiological parameter — fail to ensure collection of a second water sample where required | section 18 |
| 141. | Samples — microbiological parameter — fail to ensure second water sample is tested immediately for free chlorine residual | clause 18 (a) |
| 142. | Samples — microbiological parameter — fail to ensure second water sample is tested immediately for combined chlorine residual | clause 18 (b) |
| 143. | Samples — fail to take in form of grab samples | subsection 19 (1) |
| 144. | Samples — fail to ensure sampling and testing of water samples in accordance with assigned frequency | section 20 |
| 145. | Samples — fail to ensure equipment checks in accordance with assigned frequency | section 20 |
| 146. | Turbidity — fail to ensure testing of water samples with an appropriate turbidity meter | section 21 |
| 147. | Chlorine residual — fail to ensure testing of water samples using electronic direct readout colourimetric or amperometric chlorine analyzer | section 22 |
| 148. | Owner fail to take or handle sample in accordance with laboratory instruction — collection procedures | clause 23 (a) |
| 149. | Operator fail to take or handle sample in accordance with laboratory instruction — collection procedures | clause 23 (a) |
| 150. | Owner fail to take or handle sample in accordance with laboratory instruction — use of specified containers | clause 23 (b) |
| 151. | Operator fail to take or handle sample in accordance with laboratory instruction — use of specified containers | clause 23 (b) |
| 152. | Owner fail to take or handle sample in accordance with laboratory instruction — labelling | clause 23 (c) |
| 153. | Operator fail to take or handle sample in accordance with laboratory instruction — labelling | clause 23 (c) |
| 154. | Owner fail to take or handle sample in accordance with laboratory instruction — completion and submission of forms | clause 23 (d) |
| 155. | Operator fail to take or handle sample in accordance with laboratory instruction — completion and submission of forms | clause 23 (d) |
| 156. | Owner fail to take or handle sample in accordance with laboratory instruction — methods of transporting samples | clause 23 (e) |
| 157. | Operator fail to take or handle sample in accordance with laboratory instruction — methods of transporting samples | clause 23 (e) |
| 158. | Owner fail to take or handle sample in accordance with laboratory instruction — time periods for delivery | clause 23 (f) |
| 159. | Operator fail to take or handle sample in accordance with laboratory instruction — time periods for delivery | clause 23 (f) |
| 160. | Owner fail to ensure appropriate recording of sample | subsection 24 (1) |
| 161. | Operator fail to ensure appropriate recording of sample | subsection 24 (1) |
| 162. | Microbiology sampling — owner fail to ensure at least one distribution sample taken every three months | subsection 25 (1) |
| 163. | Microbiology sampling — non-year round system — fail to ensure at least one distribution sample is taken every three months during which system is operating | subsection 25 (2) |
| 164. | Microbiology sampling — fail to ensure samples tested for E. coli | clause 25 (3) (a) |
| 165. | Microbiology sampling — fail to ensure samples tested for total coliforms | clause 25 (3) (b) |
| 166. | Microbiology sampling — fail to take water samples from locations downstream of point of entry to treatment unit | clause 25 (4) (a) |
| 167. | Microbiology sampling — fail to take water samples on a rotational basis | clause 25 (4) (b) |
| 168. | Corrective action — improper disinfection — owner failure to immediately restore the disinfection | paragraph 1 of subsection 26 (1) |
| 169. | Corrective action — improper disinfection — operator fail to immediately restore the disinfection | paragraph 1 of subsection 26 (1) |
| 170. | Corrective action — improper disinfection — owner fail to immediately take all reasonable steps to notify users | paragraph 2 of subsection 26 (1) |
| 171. | Corrective action — improper disinfection — operator fail to immediately take all reasonable steps to notify users | paragraph 2 of subsection 26 (1) |
| 172. | Corrective action — improper disinfection — owner fail to immediately notify M.O.H. | paragraph 3 of subsection 26 (1) |
| 173. | Corrective action — improper disinfection — operator fail to immediately notify M.O.H. | paragraph 3 of subsection 26 (1) |
| 174. | Corrective action — improper disinfection — owner fail to ensure corrective action taken as instructed by the M.O.H. | subsection 26 (2) |
| 175. | Corrective action — improper disinfection — operator fail to ensure corrective action taken as instructed by the M.O.H. | subsection 26 (2) |
| 176. | Corrective action — turbidity — owner fail to ensure drinking water system’s turbidity monitoring system is immediately checked | paragraph 1 of subsection 27 (1) |
| 177. | Corrective action — turbidity — operator fail to ensure drinking water system’s turbidity monitoring system is immediately checked | paragraph 1 of subsection 27 (1) |
| 178. | Corrective action — turbidity — owner fail to immediately backwash filter or replace the filter cartridges or filter elements | subparagraph 2 i of subsection 27 (1) |
| 179. | Corrective action — turbidity — operator fail to immediately backwash filter or replace the filter cartridges or filter elements | subparagraph 2 i of subsection 27 (1) |
| 180. | Corrective action — turbidity — owner fail to immediately correct faulty process | subparagraph 2 ii of subsection 27 (1) |
| 181. | Corrective action — turbidity — operator fail to immediately correct faulty process | subparagraph 2 ii of subsection 27 (1) |
| 182. | Corrective action — turbidity — owner fail to resample and retest | paragraph 3 of subsection 27 (1) |
| 183. | Corrective action — turbidity — operator fail to resample and retest | paragraph 3 of subsection 27 (1) |
| 184. | Corrective action — turbidity — owner fail to immediately take all reasonable steps to notify users | subparagraph 4 i of subsection 27 (1) |
| 185. | Corrective action — turbidity — operator fail to immediately take all reasonable steps to notify users | subparagraph 4 i of subsection 27 (1) |
| 186. | Corrective action — turbidity — owner fail to immediately notify M.O.H. | subparagraph 4 ii of subsection 27 (1) |
| 187. | Corrective action — turbidity — operator fail to immediately notify M.O.H. | subparagraph 4 ii of subsection 27 (1) |
| 188. | Corrective action — turbidity — owner fail to follow manufacturer’s recommendations | subparagraph 4 iii of subsection 27 (1) |
| 189. | Corrective action — turbidity — operator fail to follow manufacturer’s recommendations | subparagraph 4 iii of subsection 27 (1) |
| 190. | Corrective action — turbidity — owner fail to flush the distribution system | subparagraph 4 iv of subsection 27 (1) |
| 191. | Corrective action — turbidity — owner fail to flush plumbing | subparagraph 4 iv of subsection 27 (1) |
| 192. | Corrective action — turbidity — operator fail to flush the distribution system | subparagraph 4 iv of subsection 27 (1) |
| 193. | Corrective action — turbidity — operator fail to flush plumbing | subparagraph 4 iv of subsection 27 (1) |
| 194. | Corrective action — turbidity — owner fail to ensure corrective action taken as instructed by the M.O.H. | subsection 27 (2) |
| 195. | Corrective action — turbidity — operator fail to ensure corrective action taken as instructed by the M.O.H. | subsection 27 (2) |
| 196. | Corrective action — chlorine residual — owner fail to flush the distribution system | subsection 28 (1) |
| 197. | Corrective action — chlorine residual — owner fail to flush plumbing | subsection 28 (1) |
| 198. | Corrective action — chlorine residual — operator fail to flush the distribution system | subsection 28 (1) |
| 199. | Corrective action — chlorine residual — operator fail to flush plumbing | subsection 28 (1) |
| 200. | Corrective action — chlorine residual — owner fail to restore appropriate secondary disinfection | subsection 28 (1) |
| 201. | Corrective action — chlorine residual — operator fail to restore appropriate secondary disinfection | subsection 28 (1) |
| 202. | Corrective action — chlorine residual — owner fail to immediately take all reasonable steps to notify users — system provides chlorination but not chloramination | paragraph 2 of subsection 28 (1) |
| 203. | Corrective action — chlorine residual — operator fail to immediately take all reasonable steps to notify users — system provides chlorination but not chloramination | paragraph 2 of subsection 28 (1) |
| 204. | Corrective action — chlorine residual — owner fail to immediately take all reasonable steps to notify users — system provides chloramination | paragraph 3 of subsection 28 (1) |
| 205. | Corrective action — chlorine residual — owner fail to immediately take all reasonable steps to notify users — system provides chloramination | paragraph 3 of subsection 28 (1) |
| 206. | Corrective action — chlorine residual — owner fail to ensure corrective action taken as instructed by the M.O.H. | subsection 28 (2) |
| 207. | Corrective action — chlorine residual — operator fail to ensure corrective action taken as instructed by the M.O.H. | subsection 28 (2) |
| 208. | Corrective action — E. coli and Pathogens — owner fail to immediately take all reasonable steps to notify users | paragraph 1 of subsection 29 (1) |
| 209. | Corrective action — E. coli and Pathogens — operator fail to immediately take all reasonable steps to notify users | paragraph 1 of subsection 29 (1) |
| 210. | Corrective action — E. coli and Pathogens — owner fail to immediately resample and test | paragraph 2 of subsection 29 (1) |
| 211. | Corrective action — E. coli and Pathogens — operator fail to immediately resample and test | paragraph 2 of subsection 29 (1) |
| 212. | Corrective action — E. coli and Pathogens — system uses chlorine — owner fail to appropriately increase the chlorine dose | paragraph 3 of subsection 29 (1) |
| 213. | Corrective action — E. coli and Pathogens — system uses chlorine — owner fail to appropriately flush the distribution system | paragraph 3 of subsection 29 (1) |
| 214. | Corrective action — E. coli and Pathogens — system uses chlorine — owner fail to appropriately flush plumbing | paragraph 3 of subsection 29 (1) |
| 215. | Corrective action — E. coli and Pathogens — system uses chlorine — operator fail to appropriately increase the chlorine dose | paragraph 3 of subsection 29 (1) |
| 216. | Corrective action — E. coli and Pathogens — system uses chlorine — operator fail to appropriately flush the distribution system | paragraph 3 of subsection 29 (1) |
| 217. | Corrective action — E. coli and Pathogens — system uses chlorine — operator fail to appropriately flush plumbing | paragraph 3 of subsection 29 (1) |
| 218. | Corrective action — E. coli and Pathogens — system provides chlorination — owner fail to maintain free chlorine residual of at least 0.2 milligrams per litre. | paragraph 4 of subsection 29 (1) |
| 219. | Corrective action — E. coli and Pathogens — system provides chlorination — operator fail to maintain free chlorine residual of at least 0.2 milligrams per litre | paragraph 4 of subsection 29 (1) |
| 220. | Corrective action — E. coli and Pathogens — system provides chloramination — owner fail to maintain combined chlorine residual of at least 1.0 milligrams per litre | paragraph 4 of subsection 29 (1) |
| 221. | Corrective action — E. coli — system provides chloramination — operator fail to maintain combined chlorine residual of at least 1.0 milligrams per litre | paragraph 4 of subsection 29 (1) |
| 222. | Corrective action — E. coli and Pathogens — system provides chlorination or chloramination — owner fail to resample and test | paragraph 4 of subsection 29 (1) |
| 223. | Corrective action — E. coli and Pathogens — system provides chlorination or chloramination — operator fail to resample and test | paragraph 4 of subsection 29 (1) |
| 224. | Corrective action — E. coli and Pathogens — owner fail to ensure corrective action taken as instructed by the M.O.H. | subsection 29 (2) |
| 225. | Corrective action — E. coli and Pathogens — operator fail to ensure corrective action taken as instructed by the M.O.H. | subsection 29 (2) |
| 226. | Corrective action — total coliforms — owner fail to resample and test | paragraph 1 of subsection 30 (1) |
| 227. | Corrective action — total coliforms — operator fail to resample and test | paragraph 1 of subsection 30 (1) |
| 228. | Corrective action — total coliforms — system uses chlorine — owner fail to appropriately increase the chlorine dose | paragraph 2 of subsection 30 (1) |
| 229. | Corrective action — total coliforms — system uses chlorine — owner fail to appropriately flush the distribution system | paragraph 2 of subsection 30 (1) |
| 230. | Corrective action — total coliforms — system uses chlorine — owner fail to appropriately flush plumbing | paragraph 2 of subsection 30 (1) |
| 231. | Corrective action — total coliforms — system uses chlorine — operator fail to appropriately increase the chlorine dose | paragraph 2 of subsection 30 (1) |
| 232. | Corrective action — total coliforms — system uses chlorine — operator fail to appropriately flush the distribution system | paragraph 2 of subsection 30 (1) |
| 233. | Corrective action — total coliforms — system uses chlorine — operator fail to appropriately flush plumbing | paragraph 2 of subsection 30 (1) |
| 234. | Corrective action — total coliforms — system provides chlorination — owner fail to maintain free chlorine residual of at least 0.2 milligrams per litre | paragraph 3 of subsection 30 (1) |
| 235. | Corrective action total coliforms — system provides chlorination — operator fail to maintain free chlorine residual of at least 0.2 milligrams per litre | paragraph 3 of subsection 30 (1) |
| 236. | Corrective action total coliforms — system provides chloramination — owner fail to maintain combined chlorine residual of at least 1.0 milligrams per litre | paragraph 3 of subsection 30 (1) |
| 237. | Corrective action — total coliforms — system provides chloramination — operator fail to maintain combined chlorine residual of at least 1.0 milligrams per litre | paragraph 3 of subsection 30 (1) |
| 238. | Corrective action — total coliforms — system provides chlorination or chloramination — owner fail to resample and test | paragraph 3 of subsection 30 (1) |
| 239. | Corrective action — total coliforms — system provides chlorination or chloramination — operator fail to resample and test | paragraph 3 of subsection 30 (1) |
| 240. | Corrective action — total coliforms — owner fail to ensure corrective action taken as instructed by the M.O.H. | subsection 30 (2) |
| 241. | Corrective action — total coliforms — operator fail to ensure corrective action taken as instructed by the M.O.H. | subsection 30 (2) |
| 242. | Corrective action — sodium — owner fail to resample and test | subsection 31 (1) |
| 243. | Corrective action — sodium — operator fail to resample and test | subsection 31 (1) |
| 244. | Corrective action — sodium — owner fail to take steps as required by M.O.H. | subsection 31 (2) |
| 245. | Corrective action — sodium — operator fail to take steps as required by M.O.H. | subsection 31 (2) |
| 246. | Corrective action — chemical and radiological parameters — Ont. Drinking Water Quality Standards — owner fail to resample and test | subsection 32 (1) |
| 247. | Corrective action — chemical and radiological parameters — Ont. Drinking Water Quality Standards — operator fail to resample and test | subsection 32 (1) |
| 248. | Corrective action — chemical and radiological parameters — Ont. Drinking Water Quality Standards — owner fail to take steps as required by M.O.H. | subsection 32 (2) |
| 249. | Corrective action — chemical and radiological parameters — Ont. Drinking Water Quality Standards — operator fail to take steps as required by M.O.H. | subsection 32 (2) |
| 250. | Corrective action — pesticide not listed in Sched. 2 — Ont. Drinking Water Quality Standards — owner fail to resample and test | subsection 33 (1) |
| 251. | Corrective action — pesticide not listed in Sched. 2 — Ont. Drinking Water Quality Standards — operator fail to resample and test | subsection 33 (1) |
| 252. | Corrective action — pesticide not listed in Sched. 2 — Ont. Drinking Water Quality Standards — owner fail to take steps as required by M.O.H. | subsection 33 (2) |
| 253. | Corrective action — pesticide not listed in Sched. 2 — Ont. Drinking Water Quality Standards — operator fail to take steps as required by M.O.H. | subsection 33 (2) |
| 254. | Corrective action — other parameter — owner fail to resample and test | subsection 34 (1) |
| 255. | Corrective action — other parameter — operator fail to resample and test | subsection 34 (1) |
| 256. | Corrective action — other parameter — owner fail to take steps as required by M.O.H. | subsection 34 (2) |
| 257. | Corrective action — other parameter — operator fail to take steps as required by M.O.H. | subsection 34 (2) |
| 258. | Corrective action — adverse observation — owner fail to take steps as required by M.O.H. | section 35 |
| 259. | Corrective action — adverse observation — operator fail to take steps as required by M.O.H. | section 35 |
| 260. | Corrective action — report required — owner fail to ensure remaining components of corrective action completed | section 36 |
| 261. | Corrective action — report required — operator fail to ensure remaining components of corrective action completed | section 36 |

2.  This Regulation comes into force on the day that subsection 1 (8) of Schedule D to the Health System Improvements Act, 2007 comes into force.

Français

Back to top