English

RÈGLEMENT DE L’ONTARIO 320/08

pris en application de la

loi sur les infractions provinciales

pris le 10 septembre 2008
déposé le 16 septembre 2008
publié sur le site Lois-en-ligne le 18 septembre 2008
imprimé dans la Gazette de l’Ontario le 4 octobre 2008

modifiant le Règl. 950 des R.R.O. de 1990

(Instances introduites au moyen du dépôt d’un procès-verbal d’infraction)

1.  Le Règlement 950 des Règlements refondus de l’Ontario de 1990 est modifié par adjonction des annexes suivantes :

Schedule 41.1

Ontario Regulation 318/08 under the Health Protection and Promotion Act

| Item | Column 1 | Column 2 |
| --- | --- | --- |
| 1. | Owner fail to display warning notice at tap | subsection 7 (4) |
| 2. | Owner fail to ensure weekly inspection of warning notices | subsection 7 (5) |
| 3. | Owner fail to ensure check done at appropriate interval | subsection 7 (6) |
| 4. | Owner fail to ensure record made of weekly inspection of warning notices | clause 7 (7) (a) |
| 5. | Owner fail to ensure weekly inspection records are retained for five years at appropriate location | clause 7 (7) (b) |
| 6. | Owner fail to ensure water provided by the system meets Ont. Drinking Water Quality Standards | paragraph 1 of subsection 8 (1) |
| 7. | Operator fail to ensure water provided by the system meets Ont. Drinking Water Quality Standards | paragraph 1 of subsection 8 (1) |
| 8. | Owner fail to ensure the small drinking water system is operated in accordance with requirements under regulation | subparagraph 2 i of subsection 8 (1) |
| 9. | Operator fail to ensure the small drinking water system is operated in accordance with requirements under regulation | subparagraph 2 i of subsection 8 (1) |
| 10. | Owner fail to ensure system is maintained in a fit state of repair | subparagraph 2 ii of subsection 8 (1) |
| 11. | Operator fail to ensure system is maintained in a fit state of repair | subparagraph 2 ii of subsection 8 (1) |
| 12. | Owner fail to ensure sampling requirements are complied with | paragraph 3 of subsection 8 (1) |
| 13. | Owner fail to ensure testing requirements are complied with | paragraph 3 of subsection 8 (1) |
| 14. | Owner fail to ensure monitoring requirements are complied with | paragraph 3 of subsection 8 (1) |
| 15. | Operator fail to ensure sampling requirements are complied with | paragraph 3 of subsection 8 (1) |
| 16. | Operator fail to ensure testing requirements are complied with | paragraph 3 of subsection 8 (1) |
| 17. | Operator fail to ensure monitoring requirements are complied with | paragraph 3 of subsection 8 (1) |
| 18. | Owner fail to designate operator — sampling | subsection 8 (2) |
| 19. | Owner fail to designate operator — submission of report | subsection 8 (2) |
| 20. | Owner fail to designate operator — receipt of report | subsection 8 (2) |
| 21 | Owner fail to ensure workers hold a limited subsystem operators’ certificate | clause 8 (3) (a) |
| 22. | Owner fail to ensure workers hold a conditional operators’ certificate | clause 8 (3) (b) |
| 23. | Operator fail to obtain drinking water testing services from licensed provider | subsection 9 (1) |
| 24. | Owner fail to comply with direction of M.O.H. relating to the use of laboratories located outside of Ontario | subsection 9 (4) |
| 25. | Operator fail to advise the M.O.H. of alternative laboratory which they will be using | subsection 9 (4) |
| 26. | Operator fail to immediately report adverse test result to M.O.H. | subsection 10 (1) |
| 27. | Operator fail to immediately report adverse test result to owner | subsection 10 (2) |
| 28. | Operator fail to ensure provision of water treatment equipment | section 11 |
| 29. | Owner fail to ensure the proper construction and maintenance of well | section 12 |
| 30. | Operator fail to ensure the proper construction and maintenance of well | section 12 |
| 31. | Owner fail to notify M.O.H. — building permit number issued in relation to the construction or alteration of small drinking water system | clause 13 (1) (a) |
| 32. | Owner fail to notify M.O.H. — preparations complete | clause 13 (1) (b) |
| 33. | Owner fail to notify M.O.H. — proposed supply date | clause 13 (1) (c) |
| 34. | Owner fail to notify M.O.H. — operator name or address | clause 13 (1) (d) |
| 35. | Owner fail to notify M.O.H. — owner name or address | clause 13 (1) (d) |
| 36. | Owner fail to notify M.O.H. — system name or address | clause 13 (1) (e) |
| 37. | Owner fail to ensure information is made available for public inspection | section 14 |
| 38. | Operator fail to ensure information is made available for public inspection | section 14 |
| 39. | Operator fail to ensure retention of documents and records for at least five years | subsection 15 (1) |
| 40. | Operator fail to ensure document, record or other information is provided within specified period | subsection 15 (2) |
| 41. | Fail to provide written notice in form provided or approved by the Ministry | subsection 16 (1) |
| 42. | Fail to provide report in form provided or approved by the Ministry | subsection 16 (1) |
| 43. | Fail to post warning notice in form provided or approved by the Ministry | subsection 16 (1) |
| 44. | Owner fail to ensure sampling and testing of water samples in accordance with assigned frequency | Schedule 1, section 1-2 |
| 45. | Operator fail to ensure sampling and testing of water samples in accordance with assigned frequency | Schedule 1, section 1-2 |
| 46. | Owner fail to ensure second water sample taken and immediately tested for chlorine residual | Schedule 1, subsection 1-3 (1) |
| 47. | Operator fail to ensure second water sample taken and immediately tested for chlorine residual | Schedule 1, subsection 1-3 (1) |
| 48. | Samples — fail to take in form of grab samples | Schedule 1, section 1-4 |
| 49. | Chlorine residual — fail to ensure testing of water samples using direct electronic direct readout colourimetric or amperometric chlorine analyzer | Schedule 1, section 1-5 |
| 50. | Chlorine residual — failure to ensure testing of water samples using other appropriate device | Schedule 1, section 1-5 |
| 51. | Owner fail to ensure water sample taken and handled in accordance with laboratory directions — collection procedures | Schedule 1, clause 1-6 (a) |
| 52. | Operator fail to ensure water sample taken and handled in accordance with laboratory directions — collection procedures | Schedule 1, clause 1-6 (a) |
| 53. | Owner fail to ensure water sample taken and handled in accordance with laboratory directions — use of containers | Schedule 1, clause 1-6 (b) |
| 54. | Operator fail to ensure water sample taken and handled in accordance with laboratory directions — use of containers | Schedule 1, clause 1-6 (b) |
| 55. | Owner fail to ensure water sample taken and handled in accordance with laboratory directions — labeling of samples | Schedule 1, clause 1-6 (c) |
| 56. | Operator fail to ensure water sample taken and handled in accordance with laboratory directions — labeling of samples | Schedule 1, clause 1-6 (c) |
| 57. | Owner fail to ensure water sample taken and handled in accordance with laboratory directions — completion and submission of forms | Schedule 1, clause 1-6 (d) |
| 58. | Operator fail to ensure water sample taken and handled in accordance with laboratory directions — completion and submission of forms | Schedule 1, clause 1-6 (d) |
| 59. | Owner fail to ensure water sample taken and handled in accordance with laboratory directions — methods of transporting samples | Schedule 1, clause 1-6 (e) |
| 60. | Operator fail to ensure water sample taken and handled in accordance with laboratory directions — methods of transporting samples | Schedule 1, clause 1-6 (e) |
| 61. | Owner fail to ensure water sample taken and handled in accordance with laboratory directions — time periods for delivery of samples | Schedule 1, clause 1-6 (f) |
| 62. | Operator fail to ensure water sample taken and handled in accordance with laboratory directions — time periods for delivery of samples | Schedule 1, clause 1-6 (f) |
| 63. | Owner fail to ensure written notice provided to M.O.H. to identify laboratory testing sample | Schedule 1, section 1-7 |
| 64. | Operator fail to ensure written notice provided to M.O.H. to identify laboratory testing sample | Schedule 1, section 1-7 |
| 65. | Owner fail to ensure appropriate recording of sample | Schedule 1, section 1-8 |
| 66. | Operator fail to ensure appropriate recording of sample | Schedule 1, section 1-8 |
| 67. | Large municipal non-residential system and large non-municipal non-residential system — owner fail to ensure weekly distribution sample taken | Schedule 2, subsection 2-2 (1) |
| 68. | Large municipal non-residential system and large non-municipal non-residential system — operator fail to ensure weekly distribution sample taken | Schedule 2, subsection 2-2 (1) |
| 69. | Large municipal non-residential system and large non-municipal non-residential system — owner fail to ensure weekly sample tested for E. coli | Schedule 2, clause 2-2 (2) (a) |
| 70. | Large municipal non-residential system and large non-municipal non-residential system — operator fail to ensure weekly sample tested for E. coli | Schedule 2, clause 2-2 (2) (a) |
| 71. | Large municipal non-residential system and large non-municipal non-residential system — owner fail to ensure weekly sample tested for total coliforms | Schedule 2, clause 2-2 (2) (b) |
| 72. | Large municipal non-residential system and large non-municipal non-residential system — operator fail to ensure weekly sample tested for total coliforms | Schedule 2, clause 2-2 (2) (b) |
| 73. | Large municipal non-residential system and large non-municipal non-residential system — shutdowns of at least seven days — owner fail to ensure no drinking water supplied until samples taken and tested | Schedule 2, subsection 2-3 (2) |
| 74. | Large municipal non-residential system and large non-municipal non-residential system — shutdowns of at least seven days — operator fail to ensure no drinking water supplied until samples taken and tested | Schedule 2, subsection 2-3 (2) |
| 75. | Small municipal non-residential system and non-municipal seasonal residential system — owner fail to ensure distribution sample taken at least once every two weeks | Schedule 3, subsection 3-2 (1) |
| 76. | Small municipal non-residential system and non-municipal seasonal residential system — operator fail to ensure distribution sample taken at least once every two weeks | Schedule 3, subsection 3-2 (1) |
| 77. | Owner of non-municipal seasonal residential system fail to ensure minimum distribution sample taken per 100 service connectors | Schedule 3, subsection 3-2 (2) |
| 78. | Operator of non-municipal seasonal residential system fail to ensure minimum distribution sample taken per 100 service connectors | Schedule 3, subsection 3-2 (2) |
| 79. | Owner of small non-municipal non-residential system fail to ensure monthly distribution sample taken | Schedule 3, subsection 3-2 (3) |
| 80. | Operator of small non-municipal non-residential system fail to ensure monthly distribution sample taken | Schedule 3, subsection 3-2 (3) |
| 81. | Owner of small non-municipal non-residential system serving a food service establishment fail to ensure distribution sample taken as directed by the M.O.H. | Schedule 3, subsection 3-2 (3) |
| 82. | Operator of small non-municipal non-residential system serving a food service establishment fail to ensure distribution sample taken as directed by the M.O.H. | Schedule 3, subsection 3-2 (3) |
| 83. | Owner of small municipal non-residential system, non-municipal seasonal residential system or non-municipal non-residential system fail to ensure samples collected are tested for E. coli | Schedule 3, clause 3-2 (4) (a) |
| 84. | Operator of small municipal non-residential system, non-municipal seasonal residential system or non-municipal non-residential system fail to ensure samples collected are tested for E. coli | Schedule 3, clause 3-2 (4) (a) |
| 85. | Owner of small municipal non-residential system, non-municipal seasonal residential system or non-municipal non-residential system fail to ensure samples collected are tested for total coliforms | Schedule 3, clause 3-2 (4) (b) |
| 86. | Operator of small municipal non-residential system, non-municipal seasonal residential system or non-municipal non-residential system fail to ensure samples collected are tested for total coliforms | Schedule 3, clause 3-2 (4) (b) |
| 87. | Small municipal non-residential system, non-municipal seasonal residential system and non-municipal non-residential system — shutdowns of at least seven days — owner fail to ensure no drinking water supplied until samples taken and tested | Schedule 3, subsection 3-3 (3) |
| 88. | Small municipal non-residential system, non-municipal seasonal residential system and non-municipal non-residential system — shutdowns of at least seven days — operator fail to ensure no drinking water supplied until samples taken and tested | Schedule 3, subsection 3-3 (3) |
| 89. | Operator fail to immediately report in prescribed manner | Schedule 4, subsection 4-4 (1) |
| 90. | Operator fail to immediately report by speaking in person or by telephone to M.O.H. | Schedule 4, subsection 4-4 (2) |
| 91. | Operator fail to immediately report by speaking to person designated by owner | Schedule 4, subsection 4-4 (4) |
| 92. | Operator fail to provide written notice | Schedule 4, subsection 4-5 (1) |
| 93. | Operator fail to provide written notice within 24 hours of immediate report | Schedule 4, subsection 4-5 (2) |
| 94. | Operator fail to properly deliver written notice to medial officer of health | Schedule 4, subsection 4-5 (3) |
| 95. | Operator fail to specify adverse test result | Schedule 4, subsection 4-6 (1) |
| 96. | Operator fail to indicate actions taken in response to adverse test result | Schedule 4, clause 4-6 (3) (a) |
| 97. | Operator fail to indicate whether corrective action taken in respect of adverse test result | Schedule 4, clause 4-6 (3) (b) |
| 98. | Operator fail to provide written notice of resolution of issue to the M.O.H. | Schedule 4, section 4-7 |
| 99. | Operator fail to immediately report adverse observation in prescribed manner | Schedule 4, section 4-8 |
| 100. | Corrective action — E. coli — owner fail to immediately take all reasonable steps to notify users | Schedule 5, paragraph 1 of section 5-2 |
| 101. | Corrective action — E. coli — operator fail to immediately take all reasonable steps to notify users | Schedule 5, paragraph 1 of section 5-2 |
| 102. | Corrective action — E. coli — owner fail to immediately resample and test | Schedule 5, paragraph 2 of section 5-2 |
| 103. | Corrective action — E. coli — operator fail to immediately resample and test | Schedule 5, paragraph 2 of section 5-2 |
| 104. | Corrective action — E. coli — system uses chlorine — owner fail to appropriately flush the distribution system | Schedule 5, subparagraph 3 i of section 5-2 |
| 105. | Corrective action — E. coli — system uses chlorine — owner fail to appropriately flush plumbing | Schedule 5, subparagraph 3 i section 5-2 |
| 106. | Corrective action — E. coli — system uses chlorine — operator fail to appropriately flush the distribution system | Schedule 5, subparagraph 3 i of section 5-2 |
| 107. | Corrective action — E. coli — system uses chlorine — operator fail to appropriately flush plumbing | Schedule 5, subparagraph 3 i of section 5-2 |
| 108. | Corrective action — E. coli — system uses chlorine — owner fail to maintain chlorine residual in affected parts of distribution system and plumbing | Schedule 5, subparagraph 3 ii of section 5-2 |
| 109. | Corrective action — E. coli — system uses chlorine — operator fail to maintain chlorine residual in affected parts of distribution system and plumbing | Schedule 5, subparagraph 3 ii of section 5-2 |
| 110. | Corrective action — E. coli — system does not use chlorine — owner fail to ensure corrective action is taken in accordance with the Ministry’s Procedure for Corrective Action for Small Drinking Water Systems that are Not Currently Using Chlorine | Schedule 5, paragraph 4 of section 5-2 |
| 111. | Corrective action —E. coli — system does not use chlorine — operator fail to ensure corrective action is taken in accordance with the Ministry’s Procedure for Corrective Action for Small Drinking Water Systems that are Not Currently Using Chlorine | Schedule 5, paragraph 4 of section 5-2 |
| 112. | Corrective action — E. coli — owner fail to ensure corrective action taken as instructed by the M.O.H. | Schedule 5, paragraph 5 of section 5-2 |
| 113. | Corrective action — E. coli — operator fail to ensure corrective action taken as instructed by the M.O.H. | Schedule 5, paragraph 5 of section 5-2 |
| 114. | Corrective action — total coliforms — owner fail to resample and test | Schedule 5, paragraph 1 of section 5-3 |
| 115. | Corrective action — total coliforms — operator fail to resample and test | Schedule 5, paragraph 1 of section 5-3 |
| 116. | Corrective action — total coliforms — system uses chlorine — owner fail to appropriately flush the distribution system | Schedule 5, subparagraph 2 i of section 5-3 |
| 117. | Corrective action — total coliforms — system uses chlorine — owner fail to appropriately flush plumbing | Schedule 5, subparagraph 2 i of section 5-3 |
| 118. | Corrective action — total coliforms — system uses chlorine — operator fail to appropriately flush the distribution system | Schedule 5, subparagraph 2 i of section 5-3 |
| 119. | Corrective action — total coliforms — system uses chlorine — operator fail to appropriately flush plumbing | Schedule 5, subparagraph 2 i of section 5-3 |
| 120. | Corrective action — total coliforms — system uses chlorine — owner fail to maintain chlorine residual in affected parts of distribution system and plumbing | Schedule 5, subparagraph 2 ii of section 5-3 |
| 121. | Corrective action — total coliforms — system uses chlorine — operator fail to maintain chlorine residual in affected parts of distribution system and plumbing | Schedule 5, subparagraph 2 ii of section 5-3 |
| 122. | Corrective action — total coliforms — system does not use chlorine — owner fail to ensure corrective action is taken in accordance with the Ministry’s Procedure for Corrective Action for Small Drinking Water Systems that are Not Currently Using Chlorine | Schedule 5, paragraph 3 of section 5-3 |
| 123. | Corrective action — total coliforms — system does not use chlorine — operator fail to ensure corrective action is taken in accordance with the Ministry’s Procedure for Corrective Action for Small Drinking Water Systems that are Not Currently Using Chlorine | Schedule 5, paragraph 3 of section 5-3 |
| 124. | Corrective action — total coliforms — owner fail to ensure corrective action taken as instructed by the M.O.H. | Schedule 5, paragraph 4 of section 5-3 |
| 125. | Corrective action — total coliforms — operator fail to ensure corrective action taken as instructed by the M.O.H. | Schedule 5, paragraph 4 of section 5-3 |
| 126. | Corrective action — Aeromonas spp., Pseudomonas aeruginosa, Staphylococcus aureus, Clostridium spp. or fecal streptococci (Group D streptococci) — owner fail to resample and test | Schedule 5, paragraph 1 of section 5-4 |
| 127. | Corrective action — Aeromonas spp., Pseudomonas aeruginosa, Staphylococcus aureus, Clostridium spp. or fecal streptococci (Group D streptococci) — operator fail to resample and test | Schedule 5, paragraph 1 of section 5-4 |
| 128. | Corrective action — Aeromonas spp., Pseudomonas aeruginosa, Staphylococcus aureus, Clostridium spp. or fecal streptococci (Group D streptococci) — system uses chlorine — owner fail to appropriately flush the distribution system | Schedule 5, subparagraph 2 i of section 5-4 |
| 129. | Corrective action — Aeromonas spp., Pseudomonas aeruginosa, Staphylococcus aureus, Clostridium spp. or fecal streptococci (Group D streptococci) — system uses chlorine — operator fail to appropriately flush the distribution system | Schedule 5, subparagraph 2 i of section 5-4 |
| 130. | Corrective action — Aeromonas spp., Pseudomonas aeruginosa, Staphylococcus aureus, Clostridium spp. or fecal streptococci (Group D streptococci) — system uses chlorine — owner fail to appropriately flush plumbing | Schedule 5, subparagraph 2 i of section 5-4 |
| 131. | Corrective action — Aeromonas spp., Pseudomonas aeruginosa, Staphylococcus aureus, Clostridium spp. or fecal streptococci (Group D streptococci) — system uses chlorine — operator fail to appropriately flush plumbing | Schedule 5, subparagraph 2 i of section 5-4 |
| 132. | Corrective action — Aeromonas spp., Pseudomonas aeruginosa, Staphylococcus aureus, Clostridium spp. or fecal streptococci (Group D streptococci) — system uses chlorine — owner fail to maintain chlorine residual in affected parts of distribution system and plumbing | Schedule 5, subparagraph 2 ii of section 5-4 |
| 133. | Corrective action — Aeromonas spp., Pseudomonas aeruginosa, Staphylococcus aureus, Clostridium spp. or fecal streptococci (Group D streptococci) — system uses chlorine — operator fail to maintain chlorine residual in affected parts of distribution system and plumbing | Schedule 5, subparagraph 2 ii of section 5-4 |
| 134. | Corrective action — Aeromonas spp., Pseudomonas aeruginosa, Staphylococcus aureus, Clostridium spp. or fecal streptococci (Group D streptococci) — system does not use chlorine - owner fail to ensure corrective action is taken in accordance with the Ministry’s Procedure for Corrective Action for Small Drinking Water Systems that are Not Currently Using Chlorine | Schedule 5, paragraph 3 of section 5-4 |
| 135. | Corrective action — Aeromonas spp., Pseudomonas aeruginosa, Staphylococcus aureus, Clostridium spp. or fecal streptococci (Group D streptococci) — system does not use chlorine — operator fail to ensure corrective action is taken in accordance with the Ministry’s Procedure for Corrective Action for Small Drinking Water Systems that are Not Currently Using Chlorine | Schedule 5, paragraph 3 of section 5-4 |
| 136. | Corrective action — Aeromonas spp., Pseudomonas aeruginosa, Staphylococcus aureus, Clostridium spp. or fecal streptococci (Group D streptococci) — owner fail to ensure corrective action taken as instructed by the M.O.H. | Schedule 5, paragraph 4 of section 5-4 |
| 137. | Corrective action — Aeromonas spp., Pseudomonas aeruginosa, Staphylococcus aureus, Clostridium spp. or fecal streptococci (Group D streptococci) — operator fail to ensure corrective action taken as instructed by M.O.H. | Schedule 5, paragraph 4 of section 5-4 |
| 138. | Corrective action — chemical and radiological parameters — Ont. Drinking Water Quality Standards — owner fail to resample and test | Schedule 5, paragraph 1 of section 5-5 |
| 139. | Corrective action — chemical and radiological parameters — Ont. Drinking Water Quality Standards — operator fail to resample and test | Schedule 5, paragraph 1 of section 5-5 |
| 140. | Corrective action — chemical and radiological parameters — Ont. Drinking Water Quality Standards — owner fail to take steps as required by M.O.H. | Schedule 5, paragraph 2 of section 5-5 |
| 141. | Corrective action — chemical and radiological parameters — Ont. Drinking Water Quality Standards — operator fail to take steps as required by M.O.H. | Schedule 5, paragraph 2 of section 5-5 |
| 142. | Corrective action — pesticide not listed in Schedule 2 — Ont. Drinking Water Quality Standards — owner fail to resample and test | Schedule 5, paragraph 1 of section 5-6 |
| 143. | Corrective action — pesticide not listed in Schedule 2 — Ont. Drinking Water Quality Standards — operator fail to resample and test | Schedule 5, paragraph 1 of section 5-6 |
| 144. | Corrective action — pesticide not listed in Schedule 2 — Ont. Drinking Water Quality Standards — owner fail to take steps as required by M.O.H. | Schedule 5, paragraph 2 of section 5-6 |
| 145. | Corrective action — pesticide not listed in Schedule 2 — Ont. Drinking Water Quality Standards — operator fail to take steps as required by M.O.H. | Schedule 5, paragraph 2 of section 5-6 |
| 146. | Corrective action — sodium — owner fail to resample and test | Schedule 5, paragraph 1 of section 5-7 |
| 147. | Corrective action — sodium — operator fail to resample and test | Schedule 5, paragraph 1 of section 5-7 |
| 148. | Corrective action — sodium — owner fail to take steps as required by M.O.H. | Schedule 5, paragraph 2 of section 5-7 |
| 149. | Corrective action — sodium — operator fail to take steps as required by M.O.H. | Schedule 5, paragraph 2 of section 5-7 |
| 150. | Corrective action — report required — owner fail to ensure remaining components of corrective action completed | Schedule 5, section 5-8 |
| 151. | Corrective action — report required — operator fail to ensure remaining components of corrective action completed | Schedule 5, section 5-8 |
| 152. | Owner fail to ensure warning notices are posted | Schedule 6, subsection 6-2 (1) |
| 153. | Operator fail to ensure warning notices are posted | Schedule 6, subsection 6-2 (1) |
| 154. | Owner fail to post warning notice in prominent location | Schedule 6, subsection 6-2 (2) |
| 155. | Operator fail to post warning notice in prominent location | Schedule 6, subsection 6-2 (2) |
| 156. | Owner fail to ensure that warning notices contain the appropriate statement | Schedule 6, subsection 6-2 (2) |
| 157. | Operator fail to ensure that warning notices contain the appropriate statement | Schedule 6, subsection 6-2 (2) |

Schedule 41.2

Regulation 319/08 under the Health Protection and Promotion Act

| Item | Column 1 | Column 2 |
| --- | --- | --- |
| 1. | Owner fail to notify M.O.H. — building permit number for construction or alteration of system | clause 5 (1) (a) |
| 2. | Owner fail to notify M.O.H. — preparations complete | clause 5 (1) (b) |
| 3. | Owner fail to notify M.O.H. — directive complied with | clause 5 (1) (b) |
| 4. | Owner fail to notify M.O.H. — proposed supply date | clause 5 (1) (c) |
| 5. | Owner fail to notify M.O.H. — operator name or address | clause 5 (1) (d) |
| 6. | Owner fail to notify M.O.H. — owner name or address | clause 5 (1) (d) |
| 7. | Owner fail to notify M.O.H. — system name or address | clause 5 (1) (e) |
| 8. | Owner fail to obtain permission in writing to supply water | subsection 5 (2) |
| 9. | Owner fail to comply with written permission | subsection 5 (3) |
| 10. | Operator fail to comply with written permission | subsection 5 (3) |
| 11. | Owner fail to notify M.O.H. — preparations complete | clause 5 (5) (a) |
| 12. | Owner fail to notify M.O.H. — operator name or address | clause 5 (5) (b) |
| 13. | Owner fail to notify M.O.H. — owner name or address | clause 5 (5) (b) |
| 14. | Owner fail to notify M.O.H. — system name or address | clause 5 (5) (c) |
| 15. | Owner fail to test water sample for E. coli — resume supply to users | clause 5 (6) (a) |
| 16. | Owner fail to test water sample for total coliforms — resume supply to users | clause 5 (6) (a) |
| 17. | Operator fail to test water sample for E. coli — resume supply to users | clause 5 (6) (a) |
| 18. | Operator fail to test water sample for total coliforms — resume supply to users | clause 5 (6) (a) |
| 19. | Owner fail to obtain water sample tests — resume supply to users | clause 5 (6) (b) |
| 20. | Operator fail to obtain water sample tests — resume supply to users | clause 5 (6) (b) |
| 21 | Owner fail to notify M.O.H. of proposed date — resume supply to users | subclause 5 (6) (c) (i) |
| 22. | Operator fail to notify M.O.H. of proposed date — resume supply to users | subclause 5 (6) (c) (i) |
| 23. | Owner fail to notify M.O.H. — operator name or address — resume supply to users | subclause 5 (6) (c) (ii) |
| 24. | Operator fail to notify M.O.H. — operator name or address — resume supply to users | subclause 5 (6) (c) (ii) |
| 25. | Owner fail to notify M.O.H. — owner name or address — resume supply to users | subclause 5 (6) (c) (ii) |
| 26. | Operator fail to notify M.O.H. — owner name or address — resume supply to users | subclause 5 (6) (c) (ii) |
| 27. | Owner fail to notify M.O.H. of name or address of system resumed supply to users | subclause 5 (6) (c) (iii) |
| 28. | Operator fail to notify M.O.H. of name or address of system resumed supply to users | subclause 5 (6) (c) (iii) |
| 29. | Owner fail to notify M.O.H. of test results — resume supply to users | subclause 5 (6) (c) (iv) |
| 30. | Operator fail to notify M.O.H. of test results — resume supply to users | subclause (6) (c) (iv) |
| 31. | Owner fail to notify M.O.H. prior to supplying water — resume supply to users | subsection 5 (7) |
| 32. | Operator fail to notify M.O.H. prior to supplying water — resume supply to users | subsection 5 (7) |
| 33. | Owner fail to designate operator — sampling | clause 6 (1) (a) |
| 34. | Owner fail to designate operator — testing | clause 6 (1) (a) |
| 35. | Owner fail to designate operator — receipt of report | clause 6 (1) (a) |
| 36. | Owner fail to designate operator — submission of report | clause 6 (1) (a) |
| 37. | Owner fail to notify M.O.H. name and address of designated operator | clause 6 (1) (b) |
| 38. | Owner fail to notify M.O.H. — change in operator | clause 6 (1) (c) |
| 39. | Owner fail to notify M.O.H. — change in operator information | clause 6 (1) (c) |
| 40. | Owner fail to maintain system and equipment in safe and sanitary condition | clause 6 (2) (a) |
| 41. | Operator fail to maintain system and equipment in safe and sanitary condition | clause 6 (2) (a) |
| 42. | Owner fail to ensure water provided meets requirements of the Regulation | clause 6 (2) (b) |
| 43. | Owner fail to ensure water provided meets requirements of Ont. Drinking Water Quality Standards | clause 6 (2) (b) |
| 44. | Operator fail to ensure water provided meets requirements of the Regulation | clause 6 (2) (b) |
| 45. | Operator fail to ensure water provided meets requirements of Ont. Drinking Water Quality Standards | clause 6 (2) (b) |
| 46. | Owner fail to ensure system is operated in accordance with requirements under the Regulation | subclause 6 (2) (c) (i) |
| 47. | Operator fail to ensure system is operated in accordance with requirements under the Regulation | subclause 6 (2) (c) (i) |
| 48. | Owner fail to ensure system is maintained in fit state of repair | subclause 6 (2) (c) (ii) |
| 49. | Operator fail to ensure system is maintained in fit state of repair | subclause 6 (2) (c) (ii) |
| 50. | Owner fail to ensure sampling requirements are complied with | clause 6 (2) (d) |
| 51. | Operator fail to ensure sampling requirements are complied with | clause 6 (2) (d) |
| 52. | Owner fail to ensure testing requirements are complied with | clause 6 (2) (d) |
| 53. | Operator fail to ensure testing requirements are complied with | clause 6 (2) (d) |
| 54. | Owner fail to ensure monitoring requirements are complied with | clause 6 (2) (d) |
| 55. | Operator fail to ensure monitoring requirements are complied with | clause 6 (2) (d) |
| 56. | Owner fail to ensure reporting requirements are complied with | clause 6 (2) (d) |
| 57. | Operator fail to ensure reporting requirements are complied with | clause 6 (2) (d) |
| 58. | Owner fail to ensure operator trained in operation procedures | subsection 6 (3) |
| 59. | Owner fail to ensure operator trained in maintenance procedures | subsection 6 (3) |
| 60. | Owner fail to ensure operator trained in safety procedures | subsection 6 (3) |
| 61. | Owner fail to ensure operator trained in emergency procedures | subsection 6 (3) |
| 62. | Owner fail to obtain drinking water testing service from licensed provider | subsection 8 (1) |
| 63. | Operator fail to obtain drinking water testing service from licensed provider | subsection 8 (1) |
| 64. | Owner fail to obtain drinking water testing service from otherwise authorized service provider | subsection 8 (1) |
| 65. | Operator fail to obtain drinking water testing service from otherwise authorized service provider | subsection 8 (1) |
| 66. | Owner fail to advise the M.O.H. of alternative laboratory which they will be using | subsection 8 (3) |
| 67. | Operator fail to advise the M.O.H. of alternative laboratory which they will be using | subsection 8 (3) |
| 68. | Owner failure to comply with instructions of M.O.H. — laboratory located outside Ontario | subsection 8 (3) |
| 69. | Operator failure to comply with instructions of M.O.H. — laboratory located outside Ontario | subsection 8 (3) |
| 70. | Owner fail to notify M.O.H. — identity of laboratory to test sample | subsection 8 (5) |
| 71. | Operator fail to notify M.O.H. — identity of laboratory to test sample | subsection 8 (5) |
| 72. | Operator fail to immediately report adverse observation to M.O.H. | subsection 9 (1) |
| 73. | Operator fail to immediately report adverse test result to M.O.H. | subsection 9 (1) |
| 74. | Operator fail to immediately report adverse test result to owner | subsection 9 (2) |
| 75. | Operator fail to immediately report adverse observation to owner | subsection 9 (2) |
| 76. | Operator fail to give M.O.H. a written notice within 24 hours | subsection 9 (4) |
| 77. | Operator fail to specify the adverse test result in immediate report | subsection 9 (5) |
| 78. | Operator fail to specify the adverse observation | subsection 9 (5) |
| 79. | Operator fail to specify actions taken in response to adverse test result | subsection 9 (5) |
| 80. | Operator fail to specify actions taken in response to adverse observation | subsection 9 (5) |
| 81. | Operator fail to specify whether corrective action taken in respect of adverse test result | subsection 9 (5) |
| 82. | Operator fail to specify whether corrective action taken in respect of adverse observation | subsection 9 (5) |
| 83. | Owner fail to give written notice within seven days to M.O.H. of resolution of issue | subsection 9 (6) |
| 84. | Owner fail to ensure retention of documents or records for five years | subsection 10 (1) |
| 85. | Operator fail to ensure retention of documents or records for five years | subsection 10 (1) |
| 86. | Operator fail to ensure document, record or other information is provided within specified period | subsection 10 (2) |
| 87. | Owner fail to ensure document, record or other information is provided within specified period | subsection 10 (2) |
| 88. | Owner fail to ensure information is made available for public inspection | subsection 11 (1) |
| 89. | Operator fail to ensure information is made available for public inspection | subsection 11 (1) |
| 90. | Fail to provide written notice in form provided or a approved by the Ministry | subsection 12 (1) |
| 91. | Fail to provide report in form provided or a approved by the Ministry | subsection 12 (1) |
| 92. | Fail to post warning sign in form provided or a approved by the Ministry | subsection 12 (1) |
| 93. | Owner fail to ensure the proper construction and maintenance of well | section 13 |
| 94. | Operator fail to ensure the proper construction and maintenance of well | section 13 |
| 95. | System providing treatment — owner fail to ensure the operation of water treatment equipment when water supplied | paragraph 1 of subsection 14 (1) |
| 96. | System providing treatment — operator fail to ensure the operation of water treatment equipment when water supplied | paragraph 1 of subsection 14 (1) |
| 97. | System providing treatment — owner fail to ensure water treatment equipment operated according to manufacturer instructions | paragraph 2 of subsection 14 (1) |
| 98. | System providing treatment — operator fail to ensure water treatment equipment operated according to manufacturer instructions | paragraph 2 of subsection 14 (1) |
| 99. | System providing treatment — owner fail to ensure water treatment equipment operated so as to achieve design capabilities | paragraph 3 of subsection 14 (1) |
| 100. | System providing treatment — operator fail to ensure water treatment equipment operated so as to achieve design capabilities | paragraph 3 of subsection 14 (1) |
| 101. | System providing treatment — owner fail to ensure treatment equipment operated so free chlorine residual never less than 0.05 milligrams per litre | subparagraph 4 i of subsection 14 (1) |
| 102. | System providing treatment — operator fail to ensure treatment equipment operated so free chlorine residual never less than 0.05 milligrams per litre | subparagraph 4 i of subsection 14 (1) |
| 103. | System providing treatment — owner fail to ensure treatment equipment operated so combined chlorine residual never less than 0.25 milligrams per litre | subparagraph 4 ii of subsection 14 (1) |
| 104. | System providing treatment — operator fail to ensure treatment equipment operated so combined chlorine residual never less than 0.25 milligrams per litre | subparagraph 4 ii of subsection 14 (1) |
| 105. | System providing treatment — owner fail to ensure proper maintenance of water treatment equipment | paragraph 5 of subsection 14 (1) |
| 106. | System providing treatment — operator fail to ensure proper maintenance of water treatment equipment | paragraph 5 of subsection 14 (1) |
| 107. | System providing treatment — owner fail to ensure written operating instructions kept near water treatment equipment | paragraph 6 of subsection 14 (1) |
| 108. | System providing treatment — operator fail to ensure written operating instructions kept near water treatment equipment | paragraph 6 of subsection 14 (1) |
| 109. | System providing treatment — owner fail to ensure supplies of chemicals or other necessary materials are kept in safe and secure manner | paragraph 7 of subsection 14 (1) |
| 110. | System providing treatment — owner fail to ensure supplies of chemicals or other necessary materials are kept separate from other chemicals/materials | paragraph 7 of subsection 14 (1) |
| 111. | System providing treatment — operator fail to ensure supplies of chemicals or other necessary materials are kept in safe and secure manner | paragraph 7 of subsection 14 (1) |
| 112. | System providing treatment — operator fail to ensure supplies of chemicals or other necessary materials are kept separate from other chemicals/materials | paragraph 7 of subsection 14 (1) |
| 113. | System providing treatment — owner fail to ensure replacement parts are stored nearby | paragraph 8 of subsection 14 (1) |
| 114. | System providing treatment — operator fail to ensure replacement parts are stored nearby | paragraph 8 of subsection 14 (1) |
| 115. | System providing treatment — owner fail to ensure water treatment equipment maintenance records are kept for required period | paragraph 9 of subsection 14 (1) |
| 116. | System providing treatment — operator fail to ensure water treatment equipment maintenance records are kept for required period | paragraph 9 of subsection 14 (1) |
| 117. | System providing treatment — owner fail to ensure written manufacturer operating manuals are kept for required period | paragraph 10 of subsection 14 (1) |
| 118. | System providing treatment — operator fail to ensure written manufacturer operating manuals are kept for required period | paragraph 10 of subsection 14 (1) |
| 119. | System providing treatment — primary equipment no chlorination or chloramination — owner fail to ensure disinfection equipment designed and operated with required feature | clause 14 (2) (a) |
| 120. | System providing treatment — primary equipment no chlorination or chloramination — operator fail to ensure disinfection equipment designed and operated with required feature | clause 14 (2) (a) |
| 121. | System providing treatment — primary disinfection equipment no chlorination or chloramination — owner fail to ensure system designed and operated with required alarm | clause 14 (2) (b) |
| 122. | System providing treatment — primary equipment no chlorination or chloramination — operator fail to ensure system designed and operated with required alarm | clause 14 (2) (b) |
| 123. | System providing treatment — ultra violet light disinfection equipment — owner fail to ensure sensors are checked | subsection 14 (3) |
| 124. | System providing treatment — ultra violet light disinfection equipment — owner fail to ensure sensors are calibrated | subsection 14 (3) |
| 125. | System providing treatment — ultra violet light disinfection equipment — operator fail to ensure sensors are checked | subsection 14 (3) |
| 126. | System providing treatment — ultra violet light disinfection equipment — operator fail to ensure sensors are calibrated | subsection 14 (3) |
| 127. | System using continuous monitoring equipment — owner fail to ensure continuous monitoring equipment operated according to manufacturer instructions | paragraph 1 of subsection 15 (1) |
| 128. | System using continuous monitoring equipment — operator fail to ensure continuous monitoring equipment operated according to manufacturer instructions | paragraph 1 of subsection 15 (1) |
| 129. | System using continuous monitoring equipment — owner fail to ensure proper maintenance of continuous monitoring equipment | paragraph 2 of subsection 15 (1) |
| 130. | System using continuous monitoring equipment — operator fail to ensure proper maintenance of continuous monitoring equipment | paragraph 2 of subsection 15 (1) |
| 131. | System using continuous monitoring equipment — owner fail to ensure continuous monitoring equipment maintenance records are kept for required period | paragraph 3 of subsection 15 (1) |
| 132. | System using continuous monitoring equipment — owner fail to ensure continuous monitoring equipment maintenance records are kept for required period | paragraph 3 of subsection 15 (1) |
| 133. | Surface water source — owner fail to ensure provision of water treatment equipment capable of achieving primary disinfection at required levels | clause 16 (a) |
| 134. | Surface water source — operator fail to ensure provision of water treatment equipment capable of achieving primary disinfection at required levels | clause 16 (a) |
| 135. | Surface water source — owner fail to ensure provision of other water treatment equipment | clause 16 (b) |
| 136. | Surface water source — operator fail to ensure provision of other water treatment equipment | clause 16 (b) |
| 137. | Samples — fail to ensure collection from point where water enters the distribution system | clause 17 (a) |
| 138. | Samples — fail to ensure collection from point where water enters plumbing | clause 17 (a) |
| 139. | Samples — fail to ensure collection from other appropriate location | clause 17 (b) |
| 140. | Samples — microbiological parameter — fail to ensure collection of a second water sample where required | section 18 |
| 141. | Samples — microbiological parameter — fail to ensure second water sample is tested immediately for free chlorine residual | clause 18 (a) |
| 142. | Samples — microbiological parameter — fail to ensure second water sample is tested immediately for combined chlorine residual | clause 18 (b) |
| 143. | Samples — fail to take in form of grab samples | subsection 19 (1) |
| 144. | Samples — fail to ensure sampling and testing of water samples in accordance with assigned frequency | section 20 |
| 145. | Samples — fail to ensure equipment checks in accordance with assigned frequency | section 20 |
| 146. | Turbidity — fail to ensure testing of water samples with an appropriate turbidity meter | section 21 |
| 147. | Chlorine residual — fail to ensure testing of water samples using electronic direct readout colourimetric or amperometric chlorine analyzer | section 22 |
| 148. | Owner fail to take or handle sample in accordance with laboratory instruction — collection procedures | clause 23 (a) |
| 149. | Operator fail to take or handle sample in accordance with laboratory instruction — collection procedures | clause 23 (a) |
| 150. | Owner fail to take or handle sample in accordance with laboratory instruction — use of specified containers | clause 23 (b) |
| 151. | Operator fail to take or handle sample in accordance with laboratory instruction — use of specified containers | clause 23 (b) |
| 152. | Owner fail to take or handle sample in accordance with laboratory instruction — labelling | clause 23 (c) |
| 153. | Operator fail to take or handle sample in accordance with laboratory instruction — labelling | clause 23 (c) |
| 154. | Owner fail to take or handle sample in accordance with laboratory instruction — completion and submission of forms | clause 23 (d) |
| 155. | Operator fail to take or handle sample in accordance with laboratory instruction — completion and submission of forms | clause 23 (d) |
| 156. | Owner fail to take or handle sample in accordance with laboratory instruction — methods of transporting samples | clause 23 (e) |
| 157. | Operator fail to take or handle sample in accordance with laboratory instruction — methods of transporting samples | clause 23 (e) |
| 158. | Owner fail to take or handle sample in accordance with laboratory instruction — time periods for delivery | clause 23 (f) |
| 159. | Operator fail to take or handle sample in accordance with laboratory instruction — time periods for delivery | clause 23 (f) |
| 160. | Owner fail to ensure appropriate recording of sample | subsection 24 (1) |
| 161. | Operator fail to ensure appropriate recording of sample | subsection 24 (1) |
| 162. | Microbiology sampling — owner fail to ensure at least one distribution sample taken every three months | subsection 25 (1) |
| 163. | Microbiology sampling — non-year round system — fail to ensure at least one distribution sample is taken every three months during which system is operating | subsection 25 (2) |
| 164. | Microbiology sampling — fail to ensure samples tested for E. coli | clause 25 (3) (a) |
| 165. | Microbiology sampling — fail to ensure samples tested for total coliforms | clause 25 (3) (b) |
| 166. | Microbiology sampling — fail to take water samples from locations downstream of point of entry to treatment unit | clause 25 (4) (a) |
| 167. | Microbiology sampling — fail to take water samples on a rotational basis | clause 25 (4) (b) |
| 168. | Corrective action — improper disinfection — owner failure to immediately restore the disinfection | paragraph 1 of subsection 26 (1) |
| 169. | Corrective action — improper disinfection — operator fail to immediately restore the disinfection | paragraph 1 of subsection 26 (1) |
| 170. | Corrective action — improper disinfection — owner fail to immediately take all reasonable steps to notify users | paragraph 2 of subsection 26 (1) |
| 171. | Corrective action — improper disinfection — operator fail to immediately take all reasonable steps to notify users | paragraph 2 of subsection 26 (1) |
| 172. | Corrective action — improper disinfection — owner fail to immediately notify M.O.H. | paragraph 3 of subsection 26 (1) |
| 173. | Corrective action — improper disinfection — operator fail to immediately notify M.O.H. | paragraph 3 of subsection 26 (1) |
| 174. | Corrective action — improper disinfection — owner fail to ensure corrective action taken as instructed by the M.O.H. | subsection 26 (2) |
| 175. | Corrective action — improper disinfection — operator fail to ensure corrective action taken as instructed by the M.O.H. | subsection 26 (2) |
| 176. | Corrective action — turbidity — owner fail to ensure drinking water system’s turbidity monitoring system is immediately checked | paragraph 1 of subsection 27 (1) |
| 177. | Corrective action — turbidity — operator fail to ensure drinking water system’s turbidity monitoring system is immediately checked | paragraph 1 of subsection 27 (1) |
| 178. | Corrective action — turbidity — owner fail to immediately backwash filter or replace the filter cartridges or filter elements | subparagraph 2 i of subsection 27 (1) |
| 179. | Corrective action — turbidity — operator fail to immediately backwash filter or replace the filter cartridges or filter elements | subparagraph 2 i of subsection 27 (1) |
| 180. | Corrective action — turbidity — owner fail to immediately correct faulty process | subparagraph 2 ii of subsection 27 (1) |
| 181. | Corrective action — turbidity — operator fail to immediately correct faulty process | subparagraph 2 ii of subsection 27 (1) |
| 182. | Corrective action — turbidity — owner fail to resample and retest | paragraph 3 of subsection 27 (1) |
| 183. | Corrective action — turbidity — operator fail to resample and retest | paragraph 3 of subsection 27 (1) |
| 184. | Corrective action — turbidity — owner fail to immediately take all reasonable steps to notify users | subparagraph 4 i of subsection 27 (1) |
| 185. | Corrective action — turbidity — operator fail to immediately take all reasonable steps to notify users | subparagraph 4 i of subsection 27 (1) |
| 186. | Corrective action — turbidity — owner fail to immediately notify M.O.H. | subparagraph 4 ii of subsection 27 (1) |
| 187. | Corrective action — turbidity — operator fail to immediately notify M.O.H. | subparagraph 4 ii of subsection 27 (1) |
| 188. | Corrective action — turbidity — owner fail to follow manufacturer’s recommendations | subparagraph 4 iii of subsection 27 (1) |
| 189. | Corrective action — turbidity — operator fail to follow manufacturer’s recommendations | subparagraph 4 iii of subsection 27 (1) |
| 190. | Corrective action — turbidity — owner fail to flush the distribution system | subparagraph 4 iv of subsection 27 (1) |
| 191. | Corrective action — turbidity — owner fail to flush plumbing | subparagraph 4 iv of subsection 27 (1) |
| 192. | Corrective action — turbidity — operator fail to flush the distribution system | subparagraph 4 iv of subsection 27 (1) |
| 193. | Corrective action — turbidity — operator fail to flush plumbing | subparagraph 4 iv of subsection 27 (1) |
| 194. | Corrective action — turbidity — owner fail to ensure corrective action taken as instructed by the M.O.H. | subsection 27 (2) |
| 195. | Corrective action — turbidity — operator fail to ensure corrective action taken as instructed by the M.O.H. | subsection 27 (2) |
| 196. | Corrective action — chlorine residual — owner fail to flush the distribution system | subsection 28 (1) |
| 197. | Corrective action — chlorine residual — owner fail to flush plumbing | subsection 28 (1) |
| 198. | Corrective action — chlorine residual — operator fail to flush the distribution system | subsection 28 (1) |
| 199. | Corrective action — chlorine residual — operator fail to flush plumbing | subsection 28 (1) |
| 200. | Corrective action — chlorine residual — owner fail to restore appropriate secondary disinfection | subsection 28 (1) |
| 201. | Corrective action — chlorine residual — operator fail to restore appropriate secondary disinfection | subsection 28 (1) |
| 202. | Corrective action — chlorine residual — owner fail to immediately take all reasonable steps to notify users — system provides chlorination but not chloramination | paragraph 2 of subsection 28 (1) |
| 203. | Corrective action — chlorine residual — operator fail to immediately take all reasonable steps to notify users — system provides chlorination but not chloramination | paragraph 2 of subsection 28 (1) |
| 204. | Corrective action — chlorine residual — owner fail to immediately take all reasonable steps to notify users — system provides chloramination | paragraph 3 of subsection 28 (1) |
| 205. | Corrective action — chlorine residual — owner fail to immediately take all reasonable steps to notify users — system provides chloramination | paragraph 3 of subsection 28 (1) |
| 206. | Corrective action — chlorine residual — owner fail to ensure corrective action taken as instructed by the M.O.H. | subsection 28 (2) |
| 207. | Corrective action — chlorine residual — operator fail to ensure corrective action taken as instructed by the M.O.H. | subsection 28 (2) |
| 208. | Corrective action — E. coli and Pathogens — owner fail to immediately take all reasonable steps to notify users | paragraph 1 of subsection 29 (1) |
| 209. | Corrective action — E. coli and Pathogens — operator fail to immediately take all reasonable steps to notify users | paragraph 1 of subsection 29 (1) |
| 210. | Corrective action — E. coli and Pathogens — owner fail to immediately resample and test | paragraph 2 of subsection 29 (1) |
| 211. | Corrective action — E. coli and Pathogens — operator fail to immediately resample and test | paragraph 2 of subsection 29 (1) |
| 212. | Corrective action — E. coli and Pathogens — system uses chlorine — owner fail to appropriately increase the chlorine dose | paragraph 3 of subsection 29 (1) |
| 213. | Corrective action — E. coli and Pathogens — system uses chlorine — owner fail to appropriately flush the distribution system | paragraph 3 of subsection 29 (1) |
| 214. | Corrective action — E. coli and Pathogens — system uses chlorine — owner fail to appropriately flush plumbing | paragraph 3 of subsection 29 (1) |
| 215. | Corrective action — E. coli and Pathogens — system uses chlorine — operator fail to appropriately increase the chlorine dose | paragraph 3 of subsection 29 (1) |
| 216. | Corrective action — E. coli and Pathogens — system uses chlorine — operator fail to appropriately flush the distribution system | paragraph 3 of subsection 29 (1) |
| 217. | Corrective action — E. coli and Pathogens — system uses chlorine — operator fail to appropriately flush plumbing | paragraph 3 of subsection 29 (1) |
| 218. | Corrective action — E. coli and Pathogens — system provides chlorination — owner fail to maintain free chlorine residual of at least 0.2 milligrams per litre. | paragraph 4 of subsection 29 (1) |
| 219. | Corrective action — E. coli and Pathogens — system provides chlorination — operator fail to maintain free chlorine residual of at least 0.2 milligrams per litre | paragraph 4 of subsection 29 (1) |
| 220. | Corrective action — E. coli and Pathogens — system provides chloramination — owner fail to maintain combined chlorine residual of at least 1.0 milligrams per litre | paragraph 4 of subsection 29 (1) |
| 221. | Corrective action — E. coli — system provides chloramination — operator fail to maintain combined chlorine residual of at least 1.0 milligrams per litre | paragraph 4 of subsection 29 (1) |
| 222. | Corrective action — E. coli and Pathogens — system provides chlorination or chloramination — owner fail to resample and test | paragraph 4 of subsection 29 (1) |
| 223. | Corrective action — E. coli and Pathogens — system provides chlorination or chloramination — operator fail to resample and test | paragraph 4 of subsection 29 (1) |
| 224. | Corrective action — E. coli and Pathogens — owner fail to ensure corrective action taken as instructed by the M.O.H. | subsection 29 (2) |
| 225. | Corrective action — E. coli and Pathogens — operator fail to ensure corrective action taken as instructed by the M.O.H. | subsection 29 (2) |
| 226. | Corrective action — total coliforms — owner fail to resample and test | paragraph 1 of subsection 30 (1) |
| 227. | Corrective action — total coliforms — operator fail to resample and test | paragraph 1 of subsection 30 (1) |
| 228. | Corrective action — total coliforms — system uses chlorine — owner fail to appropriately increase the chlorine dose | paragraph 2 of subsection 30 (1) |
| 229. | Corrective action — total coliforms — system uses chlorine — owner fail to appropriately flush the distribution system | paragraph 2 of subsection 30 (1) |
| 230. | Corrective action — total coliforms — system uses chlorine — owner fail to appropriately flush plumbing | paragraph 2 of subsection 30 (1) |
| 231. | Corrective action — total coliforms — system uses chlorine — operator fail to appropriately increase the chlorine dose | paragraph 2 of subsection 30 (1) |
| 232. | Corrective action — total coliforms — system uses chlorine — operator fail to appropriately flush the distribution system | paragraph 2 of subsection 30 (1) |
| 233. | Corrective action — total coliforms — system uses chlorine — operator fail to appropriately flush plumbing | paragraph 2 of subsection 30 (1) |
| 234. | Corrective action — total coliforms — system provides chlorination — owner fail to maintain free chlorine residual of at least 0.2 milligrams per litre | paragraph 3 of subsection 30 (1) |
| 235. | Corrective action total coliforms — system provides chlorination — operator fail to maintain free chlorine residual of at least 0.2 milligrams per litre | paragraph 3 of subsection 30 (1) |
| 236. | Corrective action total coliforms — system provides chloramination — owner fail to maintain combined chlorine residual of at least 1.0 milligrams per litre | paragraph 3 of subsection 30 (1) |
| 237. | Corrective action — total coliforms — system provides chloramination — operator fail to maintain combined chlorine residual of at least 1.0 milligrams per litre | paragraph 3 of subsection 30 (1) |
| 238. | Corrective action — total coliforms — system provides chlorination or chloramination — owner fail to resample and test | paragraph 3 of subsection 30 (1) |
| 239. | Corrective action — total coliforms — system provides chlorination or chloramination — operator fail to resample and test | paragraph 3 of subsection 30 (1) |
| 240. | Corrective action — total coliforms — owner fail to ensure corrective action taken as instructed by the M.O.H. | subsection 30 (2) |
| 241. | Corrective action — total coliforms — operator fail to ensure corrective action taken as instructed by the M.O.H. | subsection 30 (2) |
| 242. | Corrective action — sodium — owner fail to resample and test | subsection 31 (1) |
| 243. | Corrective action — sodium — operator fail to resample and test | subsection 31 (1) |
| 244. | Corrective action — sodium — owner fail to take steps as required by M.O.H. | subsection 31 (2) |
| 245. | Corrective action — sodium — operator fail to take steps as required by M.O.H. | subsection 31 (2) |
| 246. | Corrective action — chemical and radiological parameters — Ont. Drinking Water Quality Standards — owner fail to resample and test | subsection 32 (1) |
| 247. | Corrective action — chemical and radiological parameters — Ont. Drinking Water Quality Standards — operator fail to resample and test | subsection 32 (1) |
| 248. | Corrective action — chemical and radiological parameters — Ont. Drinking Water Quality Standards — owner fail to take steps as required by M.O.H. | subsection 32 (2) |
| 249. | Corrective action — chemical and radiological parameters — Ont. Drinking Water Quality Standards — operator fail to take steps as required by M.O.H. | subsection 32 (2) |
| 250. | Corrective action — pesticide not listed in Sched. 2 — Ont. Drinking Water Quality Standards — owner fail to resample and test | subsection 33 (1) |
| 251. | Corrective action — pesticide not listed in Sched. 2 — Ont. Drinking Water Quality Standards — operator fail to resample and test | subsection 33 (1) |
| 252. | Corrective action — pesticide not listed in Sched. 2 — Ont. Drinking Water Quality Standards — owner fail to take steps as required by M.O.H. | subsection 33 (2) |
| 253. | Corrective action — pesticide not listed in Sched. 2 — Ont. Drinking Water Quality Standards — operator fail to take steps as required by M.O.H. | subsection 33 (2) |
| 254. | Corrective action — other parameter — owner fail to resample and test | subsection 34 (1) |
| 255. | Corrective action — other parameter — operator fail to resample and test | subsection 34 (1) |
| 256. | Corrective action — other parameter — owner fail to take steps as required by M.O.H. | subsection 34 (2) |
| 257. | Corrective action — other parameter — operator fail to take steps as required by M.O.H. | subsection 34 (2) |
| 258. | Corrective action — adverse observation — owner fail to take steps as required by M.O.H. | section 35 |
| 259. | Corrective action — adverse observation — operator fail to take steps as required by M.O.H. | section 35 |
| 260. | Corrective action — report required — owner fail to ensure remaining components of corrective action completed | section 36 |
| 261. | Corrective action — report required — operator fail to ensure remaining components of corrective action completed | section 36 |

2.  Le présent règlement entre en vigueur le même jour que le paragraphe 1 (8) de l’annexe D de la Loi de 2007 sur l’amélioration du système de santé.

English

Retour au début