Français

ontario regulation 52/15

made under the

Provincial Offences Act

Made: March 4, 2015
Filed: March 11, 2015
Published on e-Laws: March 11, 2015
Printed in The Ontario Gazette: March 28, 2015

Amending Reg. 950 of R.R.O. 1990

(PROCEEDINGS COMMENCED BY CERTIFICATE OF OFFENCE)

1.  (1)  Schedule 17.4 to Regulation 950 of the Revised Regulations of Ontario, 1990 is revoked and the following substituted:

SCHEDULE 17.4

Ontario Regulation 213/07 under the Fire Protection and Prevention Act, 1997

| Item | Column 1 | Column 2 |
| --- | --- | --- |
| 1. | Fail to prepare written record of test as required | Sentence 1.1.2.1.(1) of Division B |
| 2. | Fail to prepare written record of corrective measure as required | Sentence 1.1.2.1.(1) of Division B |
| 3. | Fail to prepare written record of operational procedure as required | Sentence 1.1.2.1.(1) of Division B |
| 4. | Fail to prepare written record of inspection of supported group living residence as required | Sentence 1.1.2.1.(2) of Division B |
| 5. | Fail to prepare written record of inspection of intensive support residence as required | Sentence 1.1.2.1.(2) of Division B |
| 6. | Fail to retain record at building as required | Sentence 1.1.2.2.(1) of Division B |
| 7. | Fail to retain initial verification report for fire protection system as required | Sentence 1.1.2.2.(2) of Division B |
| 8. | Fail to retain initial test report for fire protection system as required | Sentence 1.1.2.2.(2) of Division B |
| 9. | Fail to make record available to Chief Fire Official on request | Article 1.1.2.3. of Division B |
| 10. | Fail to repair damaged closure | Article 2.2.3.1. of Division B |
| 11. | Fail to maintain closure in fire separation as required | Article 2.2.3.2. of Division B |
| 12. | Closure in fire separation obstructed | Article 2.2.3.3. of Division B |
| 13. | Closure in fire separation blocked | Article 2.2.3.3. of Division B |
| 14. | Closure in fire separation wedged open | Article 2.2.3.3. of Division B |
| 15. | Closure in fire separation altered to prevent intended operation | Article 2.2.3.3. of Division B |
| 16. | Fail to install smoke alarm where required | Sentence 2.13.2.1.(1) of Division B |
| 17. | Smoke alarm does not comply with required standards | Sentence 2.13.2.1.(3) of Division B |
| 18. | Fail to provide extinguisher where required | Article 6.2.4.1. of Division B |
| 19. | Fail to repair defective extinguisher so it operates effectively and safely | Article 6.2.7.3. of Division B |
| 20. | Fail to recharge defective extinguisher so it operates effectively and safely | Article 6.2.7.3. of Division B |
| 21. | Fail to attach tag to extinguisher as required | Article 6.2.7.4. of Division B |
| 22. | Fail to maintain extinguisher maintenance records | Article 6.2.7.5. of Division B |
| 23. | Fail to replace extinguisher after use | Article 6.2.7.6. of Division B |
| 24. | Fail to recharge extinguisher after use | Article 6.2.7.6. of Division B |
| 25. | Fail to maintain smoke alarm in operating condition | Sentence 6.3.3.3.(1) of Division B |
| 26. | Fail to maintain smoke alarm’s power supply in operating condition | Sentence 6.3.3.3.(2) of Division B |
| 27. | Fail to maintain smoke alarm’s visual signalling component in operating condition | Sentence 6.3.3.3.(3) of Division B |
| 28. | Fail to give tenant smoke alarm maintenance instructions | Article 6.3.3.4. of Division B |
| 29. | Fail to notify landlord that smoke alarm is disconnected | Clause 6.3.3.5.(1)(a) of Division B |
| 30. | Fail to notify landlord that smoke alarm is not operating | Clause 6.3.3.5.(1)(b) of Division B |
| 31. | Fail to notify landlord that operation of smoke alarm is impaired | Clause 6.3.3.5.(1)(c) of Division B |
| 32. | Disable a smoke alarm | Article 6.3.3.6. of Division B |
| 33. | Fail to replace smoke alarm within time frame in manufacturer’s instructions | Sentence 6.3.3.7.(1) of Division B |
| 34. | Fail to maintain carbon monoxide alarm in operating condition | Sentence 6.3.4.3.(1) of Division B |
| 35. | Fail to maintain carbon monoxide alarm’s power supply in operating condition | Sentence 6.3.4.3.(2) of Division B |
| 36. | Fail to give tenant carbon monoxide alarm maintenance instructions | Article 6.3.4.4. of Division B |
| 37. | Fail to notify landlord that carbon monoxide alarm is disconnected | Clause 6.3.4.5.(1)(a) of Division B |
| 38. | Fail to notify landlord that carbon monoxide alarm is not operating | Clause 6.3.4.5.(1)(b) of Division B |
| 39. | Fail to notify landlord that operation of carbon monoxide alarm is impaired | Clause 6.3.4.5.(1)(c) of Division B |
| 40. | Disable a carbon monoxide alarm | Article 6.3.4.6. of Division B |

(2)  Schedule 17.4 to the Regulation, as remade by subsection (1), is amended by adding the following items:

| 17.1 | Fail to install carbon monoxide alarm where required | Sentences 2.16.2.1.(1), (2) and (3) of Division B |
| --- | --- | --- |
| 17.2 | Carbon monoxide alarm does not comply with required standards | Sentence 2.16.2.1.(5) of Division B |
| 17.3 | Carbon monoxide alarm not installed at manufacturer’s recommended height | Sentence 2.16.2.1.(6) of Division B |
| 17.4 | Carbon monoxide alarm not installed on or near ceiling | Sentence 2.16.2.1.(6) of Division B |

.     .     .     .     .

| 41. | Fail to replace carbon monoxide alarm within time frame in manufacturer’s instructions | Sentence 6.3.4.7.(3) of Division B |
| --- | --- | --- |
| 42. | Replacement carbon monoxide alarm does not comply with required standards | Clause 6.3.4.7.(4)(b) of Division B |

Commencement

2.  (1)  Subject to subsection (2), this Regulation comes into force on the day it is filed.

(2)  Subsection 1 (2) comes into force on April 15, 2015.

Français

Back to top