ontario regulation 173/15

made under the

Technical Standards and Safety Act, 2000

Made: June 17, 2015
Filed: June 22, 2015
Published on e-Laws: June 22, 2015
Printed in The Ontario Gazette: July 11, 2015

Amending O. Reg. 211/01

(PROPANE STORAGE AND HANDLING)

1.  Paragraphs 2 and 3 of subsection 3.1 (0.2) of Ontario Regulation 211/01 are revoked and the following substituted:

2.	The hazard distance based on the single largest propane vessel.

3.	Identification of residential, commercial and industrial buildings and sensitive institutions within the hazard distance.

3.1	The location of any police, fire or ambulance stations within the hazard distance

Commencement

2.  This Regulation comes into force on the later of July 1, 2015 and the day it is filed.

Back to top