ontario regulation 64/16

made under the

Ontario Water Resources Act

Made: March 23, 2016
Filed: March 29, 2016
Published on e-Laws: March 30, 2016
Printed in The Ontario Gazette: April 16, 2016

Amending O. Reg. 387/04

(WATER TAKING AND TRANSFER)

1.  Subsection 2 (1) of Ontario Regulation 387/04 is amended by adding the following definitions:

“sewer” has the same meaning as in Ontario Regulation 525/98 (Approval Exemptions) made under the Act;

“water body” has the same meaning as in Ontario Regulation 359/09 (Renewable Energy Approvals Under Part V.0.1 of the Act) made under the Environmental Protection Act;

“wetland” has the same meaning as in the Conservation Land Act.

2.  The Regulation is amended by adding the following section:

Water taking, clarification

2.1  (1)  The activity of diverting the waters of a water body for the purpose of creating and maintaining a dewatered work area located in whole or in part in the water body for a project described in subsection (2) is not water taking as described in subsection 1 (7) of the Act and does not otherwise constitute a water taking for the purposes of the Act if,

(a)	the water levels upstream and downstream of the work area are not affected by the diversion; and

(b)	the water that is diverted,

(i)	is not removed from the water body, or

(ii)	is removed from the water body without the use of a pump and is directly returned to the same water body.

(2)  A project referred to in subsection (1) includes the following:

1.	The construction, repair, alteration, extension or replacement of a bridge, culvert, pier or other structure.

2.	The construction, repair, alteration, extension or replacement of a sewer or water works other than a sewer or water works situated under a watercourse that was or will be installed using open-cut trench techniques.

3.  Section 4.2 of the Regulation is amended by adding the following subsections:

(3)  Subsection 34 (1) of the Act does not apply to a person who takes water by means of a pump for the purpose of diverting water to create and maintain a dewatered work area located in whole or in part in the water body for a project described in subsection (4) if the following conditions are satisfied:

1.	The water taken from the water body is returned directly to the same water body.

2.	There is no visible petroleum hydrocarbon film or sheen present in the returned water.

3.	Measures are implemented to control the rate of the water taking and the flow rate of the returned water in order to ensure that water quantity and quality are not affected upstream or downstream of the work area.

4.	Erosion and sediment control measures are used during the return of the water to the water body.

5.	All erosion and sediment control measures referred to in paragraph 4 are used, operated and maintained in accordance with recommendations provided by the manufacturers of the control measures.

6.	All erosion and sediment control measures referred to in paragraph 4 and all materials collected or trapped by those measures are recovered and disposed of when the water is no longer being taken.

7.	No pump is refuelled within 30 meters of the water body.

(4)  A project referred to in subsection (3) includes the following:

1.	The construction, repair, alteration, extension or replacement of a bridge, culvert, pier or other structure.

2.	The construction, repair, alteration, extension or replacement of a sewer or water works other than a sewer or water works situated under a watercourse that was or will be installed using open-cut trench techniques.

(5)  Subsection 34 (1) of the Act does not apply to a person who takes water from a water body by means of a structure or works for the diversion or storage of water if the structure or works was constructed solely for the conservation, development, restoration or management of a wetland.

(6)  Subject to subsections (7) and (8), subsection 34 (1) of the Act does not apply to a person who takes water by means of a structure or works constructed across a water body for the diversion or storage of water if,

(a)	the structure or works is designed in a manner that permits the flow of water to pass freely over the structure or works while remaining part of the same water body;

(b)	the structure or works does not include any mechanisms that may be operated to alter the flow rates or levels of the water upstream or downstream of the structure or works; and

(c)	the structure or works is not used for the purpose of generating electricity.

(7)  Subsection (6) applies only if the structure or works was constructed before the day section 3 of Ontario Regulation 64/16 made under the Act comes into force.

(8)  Despite subsection (6), the natural flow of the water body may be impeded by the presence of a fishway within the structure or works.

(9)  Subsection 34 (1) of the Act does not apply to a person who takes water at a site if the activity has been prescribed by the regulations made under the Environmental Protection Act for the purposes of subsection 20.21 (1) of that Act, unless the Director has issued an order under 20.18 of that Act in respect of the activity and the site.

Commencement

4.  This Regulation comes into force on the day it is filed.

Back to top