ontario regulation 300/17

made under the

Environmental Protection Act

Made: July 26, 2017
Filed: July 28, 2017
Published on e-Laws: July 31, 2017
Printed in The Ontario Gazette: August 12, 2017

Amending O. Reg. 760/93

(EFFLUENT MONITORING AND EFFLUENT LIMITS - PULP AND PAPER SECTOR)

1.  The definition of “limited parameter” in subsection 1 (1) of Ontario Regulation 760/93 is amended by adding “the Table for the plant in” before “Schedule 2”.

2.  (1)  Subsection 14 (1) of the Regulation is amended by adding “the Table for the plant in” before “Schedule 2”.

(2)  Subsection 14 (2) of the Regulation is revoked and the following substituted:

(2)  Subject to section 15, each discharger for which a daily plant loading limit for AOX is listed in Column 3 of the Table for the plant in Schedule 2 shall ensure that each daily process effluent plant loading calculated for the parameter under section 12 in connection with the discharger’s plant does not exceed the daily plant loading limit specified for the parameter and the plant in Column 3 of the Table for the plant in Schedule 2.

(3)  Subsection 14 (3) of the Regulation is amended by adding “the Table for the plant in” before “Schedule 2”.

(4)  Subsection 14 (4) of the Regulation is revoked and the following substituted:

(4)  Subject to section 15, each discharger for which a monthly average plant loading limit for AOX is listed in Column 4 of the Table for the plant in Schedule 2 shall ensure that each monthly average process effluent plant loading calculated for the parameter under section 12 in connection with the discharger’s plant does not exceed the monthly average plant loading limit specified for the parameter and the plant in Column 4 of the Table for the plant in Schedule 2.

3.  (1)  Subsections 15 (2) of the Regulation is amended by adding “the Table for the discharger’s plant in” before “Schedule 2”.

(2)  Subsection 15 (3) of the Regulation is amended by adding “the Table for the plant in” before “Schedule 2”.

(3)  Subsection 15 (7) of the Regulation is revoked.

(4)  Subsections 15 (8), (10), (11), (13) and (14) of the Regulation are amended by adding “the Table for the plant in” before “Schedule 2” wherever it appears.

(5)  Subsection 15 (17) of the Regulation is revoked.

4.  Subsection 18 (1) of the Regulation is amended by adding “the Table in” before “Schedule 2”.

5.  Subsection 19 (1) of the Regulation is amended by adding “the Table in” before “Schedule 2”.

6.  Subsection 20 (1) of the Regulation is amended by adding “the Table in” before “Schedule 2”.

7.  Subsection 21 (1) of the Regulation is amended by adding “the Table in” before “Schedule 2”.

8.  Subsection 30 (10) of the Regulation is amended by adding “the Table for the discharger’s plant in” before “Schedule 2”.

9.  Subsection 32 (5) of the Regulation is amended by adding “the Table for the discharger’s plant in” before “Schedule 2”.

10.  Sections 36, 37, 38 and 38.1 of the Regulation are revoked.

11.  Schedules 1 to 4 to the Regulation are revoked and the following substituted:

SCHEDULE 1
LIST OF REGULATED PLANTS

| Plant | Location | Owner as of September, 1993 |
| --- | --- | --- |
| Abitibi-Price Inc., Fort William Division | Thunder Bay | Abitibi-Price Inc. |
| Abitibi-Price Inc., Iroquois Falls Division | Iroquois Falls | Abitibi-Price Inc. |
| Avenor Inc. (formerly: Canadian Pacific Forest Products) | Thunder Bay | Avenor Inc. |
| Avenor Inc. (formerly: Canadian Pacific Forest Products | Dryden | Avenor Inc. |
| Beaver Wood Fibre Company Ltd. | Thorold | Beaver Wood Fibre Company Ltd. |
| Domtar Inc. Containerboard Division, Red Rock | Red Rock | Domtar Inc. |
| Domtar Inc. Containerboard Division, Trenton | Trenton | Domtar Inc. |
| Domtar Inc., Fine Papers Division, Cornwall | Cornwall | Domtar Inc. |
| Domtar Inc., Fine Papers Division, St. Catharines | St. Catharines | Domtar Inc. |
| E.B. Eddy Forest Products Ltd., Espanola | Espanola | E.B. Eddy Forest Products Ltd. |
| E.B. Eddy Forest Products Ltd., Ottawa | Ottawa | E.B. Eddy Forest Products Ltd. |
| James River-Marathon Ltd. | Marathon | James River-Marathon Ltd. |
| Kimberly-Clark Canada Inc., Huntsville | Huntsville | Kimberly-Clark Canada Inc. |
| Kimberly-Clark Canada Inc., St. Catharines | St. Catharines | Kimberly-Clark Canada Inc. |
| Kimberly-Clark Canada Inc., Terrace Bay | Terrace Bay | Kimberly-Clark Canada Inc. |
| MacMillan-Bloedel Ltd. | Sturgeon Falls | MacMillian-Bloedel Ltd. |
| Malette Kraft Pulp and Power Company | Smooth Rock Falls | Malette Inc. |
| Provincial Papers Inc. (formerly: Abitibi-Price Inc., Provincial Papers Division) | Thunder Bay | Provincial Papers Inc. |
| QUNO Inc. | Thorold | QUNO Inc. |
| Rainy River Forest Products Inc. (formerly: Boise Cascade Canada Ltd.) | Fort Frances | Rainy River Forest Products Inc. |
| Rainy River Forest Products Inc.( formerly: Boise Cascade Canada Ltd.) | Kenora | Rainy River Forest Products Inc. |
| St. Marys Paper Inc. | Sault Ste. Marie | St. Marys Paper Inc. |
| Sonoco Limited | Trenton | Sonoco Limited |
| Spruce Falls Inc. | Kapuskasing | Spruce Falls Inc. |
| Strathcona Paper Company | Napanee | Roman Corporation Inc. |
| Thorold Specialty Papers (formerly: Noranda Forest Products Inc., Recycled Papers) | Thorold | Noranda Forest Inc. |
| Thunder Bay Packaging Inc. | Thunder Bay | Thunder Bay Packaging Inc. |

SCHEDULE 2
PROCESS EFFLUENT LIMITS AND MONITORING FREQUENCY for individual plants

Table 1
Abitibi-Price Inc., Fort William Division

| Item | Analytical test group | Column 1 Parameter | Column 2 Monitoring frequency | Column 3 Daily plant loading limit in kilograms per day | Column 4 Monthly average plant loading limit in kilograms per day |
| --- | --- | --- | --- | --- | --- |
| 1 | 1A | Biochemical Oxygen Demand (5 Day) | Daily | 4280 | 2140 |
| 2 | 6 | Total Phosphorus | Weekly | 120 | 72.8 |
| 3 | 8 | Total Suspended Solids (TSS) | Daily | 5740 | 3370 |
| 4 | 16 | Chloroform | Weekly | 1.59 | 0.805 |
| 5 | 17 | Toluene | Weekly | 0.0920 | 0.0920 |
| 6 | 20 | Phenol | Weekly | 0.177 | 0.177 |
| 7 | 24 | 2,3,7,8-Tetrachlorodibenzo-para-dioxin | Quarterly | Not applicable | Not applicable |
| 8 | 24 | 2,3,7,8-Tetrachlorodibenzofuran | Quarterly | Not applicable | Not applicable |
| 9 | 24 | Total toxic equivalent of 2,3,7,8 substituted dioxin and furan congeners | Quarterly | Not applicable | Not applicable |

TablE 2
Abitibi-Price Inc., Iroquois Falls Division

| Item | Analytical test group | Column 1 Parameter | Column 2 Monitoring frequency | Column 3 Daily plant loading limit in kilograms per day | Column 4 Monthly average plant loading limit in kilograms per day |
| --- | --- | --- | --- | --- | --- |
| 1 | 1A | Biochemical Oxygen Demand (5 Day) | Daily | 9060 | 4530 |
| 2 | 6 | Total Phosphorus | Weekly | 254 | 154 |
| 3 | 8 | Total Suspended Solids (TSS) | Daily | 12100 | 7130 |
| 4 | 16 | Chloroform | Weekly | 3.37 | 1.70 |
| 5 | 17 | Toluene | Weekly | 0.195 | 0.195 |
| 6 | 20 | Phenol | Weekly | 0.374 | 0.374 |
| 7 | 24 | 2,3,7,8-Tetrachlorodibenzo-para-dioxin | Quarterly | Not applicable | Not applicable |
| 8 | 24 | 2,3,7,8-Tetrachlorodibenzofuran | Quarterly | Not applicable | Not applicable |
| 9 | 24 | Total toxic equivalent of 2,3,7,8 substituted dioxin and furan congeners | Quarterly | Not applicable | Not applicable |

Table 3
Avenor Inc., DryDen

| Item | Analytical test group | Column 1 Parameter | Column 2 Monitoring frequency | Column 3 Daily plant loading limit in kilograms per day | Column 4 Monthly average plant loading limit in kilograms per day |
| --- | --- | --- | --- | --- | --- |
| 1 | 1A | Biochemical Oxygen Demand (5 day) | Daily | 14900 | 7470 |
| 2 | 6 | Total Phosphorus | Weekly | 418 | 254 |
| 3 | 8 | Total Suspended Solids (TSS) | Daily | 20000 | 11700 |
| 4 | 16 | Chloroform | Weekly | 5.55 | 2.81 |
| 5 | 17 | Toluene | Weekly | 0.321 | 0.321 |
| 6 | 20 | Phenol | Weekly | 0.617 | 0.617 |
| 7 | 33 | Adsorbable Organic Halide (AOX) | Weekly | 968 | 752 |
| 8 | 24 | 2,3,7,8-Tetrachlorodibenzo-para-dioxin | Quarterly | Not applicable | Not applicable |
| 9 | 24 | 2,3,7,8-Tetrachlorodibenzofuran | Quarterly | Not applicable | Not applicable |
| 10 | 24 | Total toxic equivalent of 2,3,7,8 substituted dioxin and furan congeners | Quarterly | Not applicable | Not applicable |

Table 4
Avenor Inc., Thunder Bay

| Item | Analytical test group | Column 1 Parameter | Column 2 Monitoring frequency | Column 3 Daily plant loading limit in kilograms per day | Column 4 Monthly average plant loading limit in kilograms per day |
| --- | --- | --- | --- | --- | --- |
| 1 | 1A | Biochemical Oxygen Demand (5 day) | Daily | 28400 | 14200 |
| 2 | 6 | Total Phosphorus | Weekly | 796 | 483 |
| 3 | 8 | Total Suspended Solids (TSS) | Daily | 38100 | 22400 |
| 4 | 16 | Chloroform | Weekly | 10.6 | 5.34 |
| 5 | 17 | Toluene | Weekly | 0.611 | 0.611 |
| 6 | 20 | Phenol | Weekly | 1.17 | 1.17 |
| 7 | 33 | Adsorbable Organic Halide (AOX) | Weekly | 1490 | 1160 |
| 8 | 24 | 2,3,7,8-Tetrachlorodibenzo-para-dioxin | Quarterly | Not applicable | Not applicable |
| 9 | 24 | 2,3,7,8-Tetrachlorodibenzofuran | Quarterly | Not applicable | Not applicable |
| 10 | 24 | Total toxic equivalent of 2,3,7,8 substituted dioxin and furan congeners | Quarterly | Not applicable | Not applicable |

Table 5
Beaver Wood Fibre Company Ltd.

| Item | Analytical test group | Column 1 Parameter | Column 2 Monitoring frequency | Column 3 Daily plant loading limit in kilograms per day | Column 4 Monthly average plant loading limit in kilograms per day |
| --- | --- | --- | --- | --- | --- |
| 1 | 1A | Biochemical Oxygen Demand (5 day) | Daily | 2030 | 1010 |
| 2 | 6 | Total Phosphorus | Weekly | 56.6 | 34.4 |
| 3 | 8 | Total Suspended Solids (TSS) | Daily | 2690 | 1590 |
| 4 | 16 | Chloroform | Weekly | 0.753 | 0.378 |
| 5 | 17 | Toluene | Weekly | 0.0746 | 0.0746 |
| 6 | 20 | Phenol | Weekly | 0.0833 | 0.0833 |
| 7 | 24 | 2,3,7,8-Tetrachlorodibenzo-para-dioxin | Quarterly | Not applicable | Not applicable |
| 8 | 24 | 2,3,7,8-Tetrachlorodibenzofuran | Quarterly | Not applicable | Not applicable |
| 9 | 24 | Total toxic equivalent of 2,3,7,8 substituted dioxin and furan congeners | Quarterly | Not applicable | Not applicable |

Table 6
Domtar Inc., Containerboard Division, Red Rock

| Item | Analytical test group | Column 1 Parameter | Column 2 Monitoring frequency | Column 3 Daily plant loading limit in kilograms per day | Column 4 Monthly average plant loading limit in kilograms per day |
| --- | --- | --- | --- | --- | --- |
| 1 | 1A | Biochemical Oxygen Demand (5 day) | Daily | 9760 | 4880 |
| 2 | 6 | Total Phosphorus | Weekly | 273 | 166 |
| 3 | 8 | Total Suspended Solids (TSS) | Daily | 13100 | 7680 |
| 4 | 16 | Chloroform | Weekly | 3.63 | 1.83 |
| 5 | 17 | Toluene | Weekly | 0.210 | 0.210 |
| 6 | 20 | Phenol | Weekly | 0.403 | 0.403 |
| 7 | 24 | 2,3,7,8-Tetrachlorodibenzo-para-dioxin | Quarterly | Not applicable | Not applicable |
| 8 | 24 | 2,3,7,8-Tetrachlorodibenzofuran | Quarterly | Not applicable | Not applicable |
| 9 | 24 | Total toxic equivalent of 2,3,7,8 substituted dioxin and furan congeners | Quarterly | Not applicable | Not applicable |

Table 7
Domtar Inc., Containerboard Division, Trenton

| Item | Analytical test group | Column 1 Parameter | Column 2 Monitoring frequency | Column 3 Daily plant loading limit in kilograms per day | Column 4 Monthly average plant loading limit in kilograms per day |
| --- | --- | --- | --- | --- | --- |
| 1 | 1A | Biochemical Oxygen Demand (5 day) | Daily | 2490 | 1240 |
| 2 | 6 | Total Phosphorus | Weekly | 69.6 | 42.3 |
| 3 | 8 | Total Suspended Solids (TSS) | Daily | 3310 | 1950 |
| 4 | 16 | Chloroform | Weekly | 0.927 | 0.465 |
| 5 | 17 | Toluene | Weekly | 0.0918 | 0.0918 |
| 6 | 20 | Phenol | Weekly | 0.102 | 0.102 |
| 7 | 24 | 2,3,7,8-Tetrachlorodibenzo-para-dioxin | Quarterly | Not applicable | Not applicable |
| 8 | 24 | 2,3,7,8-Tetrachlorodibenzofuran | Quarterly | Not applicable | Not applicable |
| 9 | 24 | Total toxic equivalent of 2,3,7,8 substituted dioxin and furan congeners | Quarterly | Not applicable | Not applicable |

Table 8
Domtar Inc., Fine Papers Division, Cornwall

| Item | Analytical test group | Column 1 Parameter | Column 2 Monitoring frequency | Column 3 Daily plant loading limit in kilograms per day | Column 4 Monthly average plant loading limit in kilograms per day |
| --- | --- | --- | --- | --- | --- |
| 1 | 1A | Biochemical Oxygen Demand (5 day) | Daily | 8460 | 4230 |
| 2 | 6 | Total Phosphorus | Weekly | 237 | 144 |
| 3 | 8 | Total Suspended Solids (TSS) | Daily | 11300 | 6660 |
| 4 | 16 | Chloroform | Weekly | 3.15 | 1.59 |
| 5 | 17 | Toluene | Weekly | 0.182 | 0.182 |
| 6 | 20 | Phenol | Weekly | 0.349 | 0.349 |
| 7 | 33 | Adsorbable Organic Halide (AOX) | Weekly | 694 | 538 |
| 8 | 24 | 2,3,7,8-Tetrachlorodibenzo-para-dioxin | Quarterly | Not applicable | Not applicable |
| 9 | 24 | 2,3,7,8-Tetrachlorodibenzofuran | Quarterly | Not applicable | Not applicable |
| 10 | 24 | Total toxic equivalent of 2,3,7,8 substituted dioxin and furan congeners | Quarterly | Not applicable | Not applicable |

Table 9
Domtar Inc., Fine Papers Division, St. Catharines

| Item | Analytical test group | Column 1 Parameter | Column 2 Monitoring frequency | Column 3 Daily plant loading limit in kilograms per day | Column 4 Monthly average plant loading limit in kilograms per day |
| --- | --- | --- | --- | --- | --- |
| 1 | 1A | Biochemical Oxygen Demand (5 day) | Daily | 1140 | 570 |
| 2 | 6 | Total Phosphorus | Weekly | 31.9 | 19.4 |
| 3 | 8 | Total Suspended Solids (TSS) | Daily | 1520 | 896 |
| 4 | 16 | Chloroform | Weekly | 0.425 | 0.214 |
| 5 | 17 | Toluene | Weekly | 0.0421 | 0.0421 |
| 6 | 20 | Phenol | Weekly | 0.0470 | 0.0470 |
| 7 | 24 | 2,3,7,8-Tetrachlorodibenzo-para-dioxin | Quarterly | Not applicable | Not applicable |
| 8 | 24 | 2,3,7,8-Tetrachlorodibenzofuran | Quarterly | Not applicable | Not applicable |
| 9 | 24 | Total toxic equivalent of 2,3,7,8 substituted dioxin and furan congeners | Quarterly | Not applicable | Not applicable |

Table 10
E.B. Eddy Forest Products Ltd., Espanola

| Item | Analytical test group | Column 1 Parameter | Column 2 Monitoring frequency | Column 3 Daily plant loading limit in kilograms per day | Column 4 Monthly average plant loading limit in kilograms per day |
| --- | --- | --- | --- | --- | --- |
| 1 | 1A | Biochemical Oxygen Demand (5 day) | Daily | 12200 | 6080 |
| 2 | 6 | Total Phosphorus | Weekly | 340 | 207 |
| 3 | 8 | Total Suspended Solids (TSS) | Daily | 16300 | 9570 |
| 4 | 16 | Chloroform | Weekly | 4.52 | 2.29 |
| 5 | 17 | Toluene | Weekly | 0.261 | 0.261 |
| 6 | 20 | Phenol | Weekly | 0.502 | 0.502 |
| 7 | 33 | Adsorbable Organic Halide (AOX) | Weekly | 1250 | 973 |
| 8 | 24 | 2,3,7,8-Tetrachlorodibenzo-para-dioxin | Quarterly | Not applicable | Not applicable |
| 9 | 24 | 2,3,7,8-Tetrachlorodibenzofuran | Quarterly | Not applicable | Not applicable |
| 10 | 24 | Total toxic equivalent of 2,3,7,8 substituted dioxin and furan congeners | Quarterly | Not applicable | Not applicable |

Table 11
E.B. Eddy Forest Products Ltd., Ottawa

| Item | Analytical test group | Column 1 Parameter | Column 2 Monitoring frequency | Column 3 Daily plant loading limit in kilograms per day | Column 4 Monthly average plant loading limit in kilograms per day |
| --- | --- | --- | --- | --- | --- |
| 1 | 1A | Biochemical Oxygen Demand (5 day) | Daily | 1050 | 521 |
| 2 | 6 | Total Phosphorus | Weekly | 29.2 | 17.7 |
| 3 | 8 | Total Suspended Solids (TSS) | Daily | 1390 | 818 |
| 4 | 16 | Chloroform | Weekly | 0.388 | 0.195 |
| 5 | 17 | Toluene | Weekly | 0.0385 | 0.0385 |
| 6 | 20 | Phenol | Weekly | 0.0430 | 0.0430 |
| 7 | 24 | 2,3,7,8-Tetrachlorodibenzo-para-dioxin | Quarterly | Not applicable | Not applicable |
| 8 | 24 | 2,3,7,8-Tetrachlorodibenzofuran | Quarterly | Not applicable | Not applicable |
| 9 | 24 | Total toxic equivalent of 2,3,7,8 substituted dioxin and furan congeners | Quarterly | Not applicable | Not applicable |

Table 12
James River-Marathon Ltd.

| Item | Analytical test group | Column 1 Parameter | Column 2 Monitoring frequency | Column 3 Daily plant loading limit in kilograms per day | Column 4 Monthly average plant loading limit in kilograms per day |
| --- | --- | --- | --- | --- | --- |
| 1 | 1A | Biochemical Oxygen Demand (5 day) | Daily | 5330 | 2670 |
| 2 | 6 | Total Phosphorus | Weekly | 149 | 90.6 |
| 3 | 8 | Total Suspended Solids (TSS) | Daily | 7140 | 4190 |
| 4 | 16 | Chloroform | Weekly | 1.98 | 1.00 |
| 5 | 17 | Toluene | Weekly | 0.115 | 0.115 |
| 6 | 20 | Phenol | Weekly | 0.220 | 0.220 |
| 7 | 33 | Adsorbable Organic Halide (AOX) | Weekly | 549 | 426 |
| 8 | 24 | 2,3,7,8-Tetrachlorodibenzo-para-dioxin | Quarterly | Not applicable | Not applicable |
| 9 | 24 | 2,3,7,8-Tetrachlorodibenzofuran | Quarterly | Not applicable | Not applicable |
| 10 | 24 | Total toxic equivalent of 2,3,7,8 substituted dioxin and furan congeners | Quarterly | Not applicable | Not applicable |

Table 13
Kimberly-Clark Canada Inc., Huntsville

| Item | Analytical test group | Column 1 Parameter | Column 2 Monitoring frequency | Column 3 Daily plant loading limit in kilograms per day | Column 4 Monthly average plant loading limit in kilograms per day |
| --- | --- | --- | --- | --- | --- |
| 1 | 1A | Biochemical Oxygen Demand (5 day) | Daily | 689 | 343 |
| 2 | 6 | Total Phosphorus | Weekly | 19.2 | 11.7 |
| 3 | 8 | Total Suspended Solids (TSS) | Daily | 916 | 539 |
| 4 | 16 | Chloroform | Weekly | 0.256 | 0.129 |
| 5 | 17 | Toluene | Weekly | 0.0254 | 0.0254 |
| 6 | 20 | Phenol | Weekly | 0.0283 | 0.0283 |

table 14
Kimberly-Clark Canada Inc., St. Catharines

| Item | Analytical test group | Column 1 Parameter | Column 2 Monitoring frequency | Column 3 Daily plant loading limit in kilograms per day | Column 4 Monthly average plant loading limit in kilograms per day |
| --- | --- | --- | --- | --- | --- |
| 1 | 1A | Biochemical Oxygen Demand (5 day) | Daily | 823 | 410 |
| 2 | 6 | Total Phosphorus | Weekly | 23.0 | 14.0 |
| 3 | 8 | Total Suspended Solids (TSS) | Daily | 1090 | 644 |
| 4 | 16 | Chloroform | Weekly | 0.306 | 0.154 |
| 5 | 17 | Toluene | Weekly | 0.0303 | 0.0303 |
| 6 | 20 | Phenol | Weekly | 0.0338 | 0.0338 |
| 7 | 24 | 2,3,7,8-Tetrachlorodibenzo-para-dioxin | Quarterly | Not applicable | Not applicable |
| 8 | 24 | 2,3,7,8-Tetrachlorodibenzofuran | Quarterly | Not applicable | Not applicable |
| 9 | 24 | Total toxic equivalent of 2,3,7,8 substituted dioxin and furan congeners | Quarterly | Not applicable | Not applicable |

Table 15
Kimberly-Clark Canada Inc., Terrace Bay

| Item | Analytical test group | Column 1 Parameter | Column 2 Monitoring frequency | Column 3 Daily plant loading limit in kilograms per day | Column 4 Monthly average plant loading limit in kilograms per day |
| --- | --- | --- | --- | --- | --- |
| 1 | 1A | Biochemical Oxygen Demand (5 day) | Daily | 13700 | 6860 |
| 2 | 6 | Total Phosphorus | Weekly | 384 | 233 |
| 3 | 8 | Total Suspended Solids (TSS) | Daily | 18400 | 10800 |
| 4 | 16 | Chloroform | Weekly | 5.10 | 2.58 |
| 5 | 17 | Toluene | Weekly | 0.295 | 0.295 |
| 6 | 20 | Phenol | Weekly | 0.567 | 0.567 |
| 7 | 33 | Adsorbable Organic Halide (AOX) | Weekly | 1410 | 1100 |
| 8 | 24 | 2,3,7,8-Tetrachlorodibenzo-para-dioxin | Quarterly | Not applicable | Not applicable |
| 9 | 24 | 2,3,7,8-Tetrachlorodibenzofuran | Quarterly | Not applicable | Not applicable |
| 10 | 24 | Total toxic equivalent of 2,3,7,8 substituted dioxin and furan congeners | Quarterly | Not applicable | Not applicable |

Table 16
MacMillan-Bloedel Ltd.

| Item | Analytical test group | Column 1 Parameter | Column 2 Monitoring frequency | Column 3 Daily plant loading limit in kilograms per day | Column 4 Monthly average plant loading limit in kilograms per day |
| --- | --- | --- | --- | --- | --- |
| 1 | 1A | Biochemical Oxygen Demand (5 day) | Daily | 1760 | 876 |
| 2 | 6 | Total Phosphorus | Weekly | 49.1 | 29.8 |
| 3 | 8 | Total Suspended Solids (TSS) | Daily | 2340 | 1380 |
| 4 | 16 | Chloroform | Weekly | 0.653 | 0.328 |
| 5 | 17 | Toluene | Weekly | 0.0647 | 0.0647 |
| 6 | 20 | Phenol | Weekly | 0.0722 | 0.0722 |
| 7 | 24 | 2,3,7,8-Tetrachlorodibenzo-para-dioxin | Quarterly | Not applicable | Not applicable |
| 8 | 24 | 2,3,7,8-Tetrachlorodibenzofuran | Quarterly | Not applicable | Not applicable |
| 9 | 24 | Total toxic equivalent of 2,3,7,8 substituted dioxin and furan congeners | Quarterly | Not applicable | Not applicable |

Table 17
Malette Kraft Pulp and Power Company

| Item | Analytical test group | Column 1 Parameter | Column 2 Monitoring frequency | Column 3 Daily plant loading limit in kilograms per day | Column 4 Monthly average plant loading limit in kilograms per day |
| --- | --- | --- | --- | --- | --- |
| 1 | 1A | Biochemical Oxygen Demand (5 day) | Daily | 4150 | 2080 |
| 2 | 6 | Total Phosphorus | Weekly | 116 | 70.6 |
| 3 | 8 | Total Suspended Solids (TSS) | Daily | 5560 | 3270 |
| 4 | 16 | Chloroform | Weekly | 1.54 | 0.780 |
| 5 | 17 | Toluene | Weekly | 0.0892 | 0.0892 |
| 6 | 20 | Phenol | Weekly | 0.171 | 0.171 |
| 7 | 33 | Adsorbable Organic Halide (AOX) | Weekly | 427 | 332 |
| 8 | 24 | 2,3,7,8-Tetrachlorodibenzo-para-dioxin | Quarterly | Not applicable | Not applicable |
| 9 | 24 | 2,3,7,8-Tetrachlorodibenzofuran | Quarterly | Not applicable | Not applicable |
| 10 | 24 | Total toxic equivalent of 2,3,7,8 substituted dioxin and furan congeners | Quarterly | Not applicable | Not applicable |

Table 18
Provincial Papers Inc.

| Item | Analytical test group | Column 1 Parameter | Column 2 Monitoring frequency | Column 3 Daily plant loading limit in kilograms per day | Column 4 Monthly average plant loading limit in kilograms per day |
| --- | --- | --- | --- | --- | --- |
| 1 | 1A | Biochemical Oxygen Demand (5 day) | Daily | 4890 | 2450 |
| 2 | 6 | Total Phosphorus | Weekly | 137 | 83.1 |
| 3 | 8 | Total Suspended Solids (TSS) | Daily | 6550 | 3850 |
| 4 | 16 | Chloroform | Weekly | 1.82 | 0.919 |
| 5 | 17 | Toluene | Weekly | 0.105 | 0.105 |
| 6 | 20 | Phenol | Weekly | 0.202 | 0.202 |
| 7 | 24 | 2,3,7,8-Tetrachlorodibenzo-para-dioxin | Quarterly | Not applicable | Not applicable |
| 8 | 24 | 2,3,7,8-Tetrachlorodibenzofuran | Quarterly | Not applicable | Not applicable |
| 9 | 24 | Total toxic equivalent of 2,3,7,8 substituted dioxin and furan congeners | Quarterly | Not applicable | Not applicable |

Table 19
QUNO Inc.

| Item | Analytical test group | Column 1 Parameter | Column 2 Monitoring frequency | Column 3 Daily plant loading limit in kilograms per day | Column 4 Monthly average plant loading limit in kilograms per day |
| --- | --- | --- | --- | --- | --- |
| 1 | 1A | Biochemical Oxygen Demand (5 day) | Daily | 10500 | 5270 |
| 2 | 6 | Total Phosphorus | Weekly | 295 | 179 |
| 3 | 8 | Total Suspended Solids (TSS) | Daily | 14100 | 8290 |
| 4 | 16 | Chloroform | Weekly | 3.92 | 1.98 |
| 5 | 17 | Toluene | Weekly | 0.226 | 0.226 |
| 6 | 20 | Phenol | Weekly | 0.435 | 0.435 |
| 7 | 24 | 2,3,7,8-Tetrachlorodibenzo-para-dioxin | Quarterly | Not applicable | Not applicable |
| 8 | 24 | 2,3,7,8-Tetrachlorodibenzofuran | Quarterly | Not applicable | Not applicable |
| 9 | 24 | Total toxic equivalent of 2,3,7,8 substituted dioxin and furan congeners | Quarterly | Not applicable | Not applicable |

Table 20
Rainy River Forest Products. Inc., Fort Frances

| Item | Analytical test group | Column 1 Parameter | Column 2 Monitoring frequency | Column 3 Daily plant loading limit in kilograms per day | Column 4 Monthly average plant loading limit in kilograms per day |
| --- | --- | --- | --- | --- | --- |
| 1 | 1A | Biochemical Oxygen Demand (5 day) | Daily | 11500 | 5760 |
| 2 | 6 | Total Phosphorus | Weekly | 322 | 196 |
| 3 | 8 | Total Suspended Solids (TSS) | Daily | 15400 | 9060 |
| 4 | 16 | Chloroform | Weekly | 4.28 | 2.16 |
| 5 | 17 | Toluene | Weekly | 0.247 | 0.247 |
| 6 | 20 | Phenol | Weekly | 0.475 | 0.475 |
| 7 | 33 | Adsorbable Organic Halide (AOX) | Weekly | 629 | 489 |
| 8 | 24 | 2,3,7,8-Tetrachlorodibenzo-para-dioxin | Quarterly | Not applicable | Not applicable |
| 9 | 24 | 2,3,7,8-Tetrachlorodibenzofuran | Quarterly | Not applicable | Not applicable |
| 10 | 24 | Total toxic equivalent of 2,3,7,8 substituted dioxin and furan congeners | Quarterly | Not applicable | Not applicable |

Table 21
Rainy River Forest Products Inc., Kenora

| Item | Analytical test group | Column 1 Parameter | Column 2 Monitoring frequency | Column 3 Daily plant loading limit in kilograms per day | Column 4 Monthly average plant loading limit in kilograms per day |
| --- | --- | --- | --- | --- | --- |
| 1 | 1A | Biochemical Oxygen Demand (5 day) | Daily | 10600 | 5290 |
| 2 | 6 | Total Phosphorus | Weekly | 296 | 180 |
| 3 | 8 | Total Suspended Solids (TSS) | Daily | 14200 | 8320 |
| 4 | 16 | Chloroform | Weekly | 3.93 | 1.99 |
| 5 | 17 | Toluene | Weekly | 0.227 | 0.227 |
| 6 | 20 | Phenol | Weekly | 0.437 | 0.437 |
| 7 | 24 | 2,3,7,8-Tetrachlorodibenzo-para-dioxin | Quarterly | Not applicable | Not applicable |
| 8 | 24 | 2,3,7,8-Tetrachlorodibenzofuran | Quarterly | Not applicable | Not applicable |
| 9 | 24 | Total toxic equivalent of 2,3,7,8 substituted dioxin and furan congeners | Quarterly | Not applicable | Not applicable |

Table 22
St. Marys Paper Inc.

| Item | Analytical test group | Column 1 Parameter | Column 2 Monitoring frequency | Column 3 Daily plant loading limit in kilograms per day | Column 4 Monthly average plant loading limit in kilograms per day |
| --- | --- | --- | --- | --- | --- |
| 1 | 1A | Biochemical Oxygen Demand (5 day) | Daily | 6290 | 3150 |
| 2 | 6 | Total Phosphorus | Weekly | 176 | 107 |
| 3 | 8 | Total Suspended Solids (TSS) | Daily | 8430 | 4950 |
| 4 | 16 | Chloroform | Weekly | 2.34 | 1.18 |
| 5 | 17 | Toluene | Weekly | 0.135 | 0.135 |
| 6 | 20 | Phenol | Weekly | 0.260 | 0.260 |
| 7 | 24 | 2,3,7,8-Tetrachlorodibenzo-para-dioxin | Quarterly | Not applicable | Not applicable |
| 8 | 24 | 2,3,7,8-Tetrachlorodibenzofuran | Quarterly | Not applicable | Not applicable |
| 9 | 24 | Total toxic equivalent of 2,3,7,8 substituted dioxin and furan congeners | Quarterly | Not applicable | Not applicable |

Table 23
Sonoco Limited

| Item | Analytical test group | Column 1 Parameter | Column 2 Monitoring frequency | Column 3 Daily plant loading limit in kilograms per day | Column 4 Monthly average plant loading limit in kilograms per day |
| --- | --- | --- | --- | --- | --- |
| 1 | 1A | Biochemical Oxygen Demand (5 day) | Daily | 1660 | 826 |
| 2 | 6 | Total Phosphorus | Weekly | 46.3 | 28.1 |
| 3 | 8 | Total Suspended Solids (TSS) | Daily | 2200 | 1300 |
| 4 | 16 | Chloroform | Weekly | 0.616 | 0.310 |
| 5 | 17 | Toluene | Weekly | 0.0611 | 0.0611 |
| 6 | 20 | Phenol | Weekly | 0.0682 | 0.0682 |
| 7 | 24 | 2,3,7,8-Tetrachlorodibenzo-para-dioxin | Quarterly | Not applicable | Not applicable |
| 8 | 24 | 2,3,7,8-Tetrachlorodibenzofuran | Quarterly | Not applicable | Not applicable |
| 9 | 24 | Total toxic equivalent of 2,3,7,8 substituted dioxin and furan congeners | Quarterly | Not applicable | Not applicable |

Table 24
Spruce Falls Inc.

| Item | Analytical test group | Column 1 Parameter | Column 2 Monitoring frequency | Column 3 Daily plant loading limit in kilograms per day | Column 4 Monthly average plant loading limit in kilograms per day |
| --- | --- | --- | --- | --- | --- |
| 1 | 1A | Biochemical Oxygen Demand (5 day) | Daily | 11000 | 5480 |
| 2 | 6 | Total Phosphorus | Weekly | 307 | 186 |
| 3 | 8 | Total Suspended Solids (TSS) | Daily | 14700 | 8630 |
| 4 | 16 | Chloroform | Weekly | 4.08 | 2.06 |
| 5 | 17 | Toluene | Weekly | 0.236 | 0.236 |
| 6 | 20 | Phenol | Weekly | 0.453 | 0.453 |
| 7 | 24 | 2,3,7,8-Tetrachlorodibenzo-para-dioxin | Quarterly | Not applicable | Not applicable |
| 8 | 24 | 2,3,7,8-Tetrachlorodibenzofuran | Quarterly | Not applicable | Not applicable |
| 9 | 24 | Total toxic equivalent of 2,3,7,8 substituted dioxin and furan congeners | Quarterly | Not applicable | Not applicable |

Table 25
Strathcona Paper Company

| Item | Analytical test group | Column 1 Parameter | Column 2 Monitoring frequency | Column 3 Daily plant loading limit in kilograms per day | Column 4 Monthly average plant loading limit in kilograms per day |
| --- | --- | --- | --- | --- | --- |
| 1 | 1A | Biochemical Oxygen Demand (5 day) | Daily | 1270 | 631 |
| 2 | 6 | Total Phosphorus | Weekly | 35.4 | 21.5 |
| 3 | 8 | Total Suspended Solids (TSS) | Daily | 1680 | 992 |
| 4 | 16 | Chloroform | Weekly | 0.471 | 0.237 |
| 5 | 17 | Toluene | Weekly | 0.0467 | 0.0467 |
| 6 | 20 | Phenol | Weekly | 0.0521 | 0.0521 |
| 7 | 24 | 2,3,7,8-Tetrachlorodibenzo-para-dioxin | Quarterly | Not applicable | Not applicable |
| 8 | 24 | 2,3,7,8-Tetrachlorodibenzofuran | Quarterly | Not applicable | Not applicable |
| 9 | 24 | Total toxic equivalent of 2,3,7,8 substituted dioxin and furan congeners | Quarterly | Not applicable | Not applicable |

Table 26
Thorold Specialty Papers

| Item | Analytical test group | Column 1 Parameter | Column 2 Monitoring frequency | Column 3 Daily plant loading limit in kilograms per day | Column 4 Monthly average plant loading limit in kilograms per day |
| --- | --- | --- | --- | --- | --- |
| 1 | 1A | Biochemical Oxygen Demand (5 day) | Daily | 1650 | 826 |
| 2 | 6 | Total Phosphorus | Weekly | 23.4 | 14.3 |
| 3 | 8 | Total Suspended Solids (TSS) | Daily | 2200 | 1300 |
| 4 | 16 | Chloroform | Weekly | 0.616 | 0.310 |
| 5 | 17 | Toluene | Weekly | 0.0611 | 0.0611 |
| 6 | 20 | Phenol | Weekly | 0.0682 | 0.0682 |
| 7 | 24 | 2,3,7,8-Tetrachlorodibenzo-para-dioxin | Quarterly | Not applicable | Not applicable |
| 8 | 24 | 2,3,7,8-Tetrachlorodibenzofuran | Quarterly | Not applicable | Not applicable |
| 9 | 24 | Total toxic equivalent of 2,3,7,8 substituted dioxin and furan congeners | Quarterly | Not applicable | Not applicable |

Table 27
Thunder Bay Packaging Inc.

| Item | Analytical test group | Column 1 Parameter | Column 2 Monitoring frequency | Column 3 Daily plant loading limit in kilograms per day | Column 4 Monthly average plant loading limit in kilograms per day |
| --- | --- | --- | --- | --- | --- |
| 1 | 1A | Biochemical Oxygen Demand (5 day) | Daily | 1752 | 873 |
| 2 | 6 | Total Phosphorus | Weekly | 24.75 | 15.06 |
| 3 | 8 | Total Suspended Solids (TSS) | Daily | 2328 | 1371 |
| 4 | 16 | Chloroform | Weekly | 0.651 | 0.327 |
| 5 | 17 | Toluene | Weekly | 0.0645 | 0.0645 |
| 6 | 20 | Phenol | Weekly | 0.0720 | 0.0720 |
| 7 | 24 | 2,3,7,8-Tetrachlorodibenzo-para-dioxin | Quarterly | Not applicable | Not applicable |
| 8 | 24 | 2,3,7,8-Tetrachlorodibenzofuran | Quarterly | Not applicable | Not applicable |
| 9 | 24 | Total toxic equivalent of 2,3,7,8 substituted dioxin and furan congeners | Quarterly | Not applicable | Not applicable |

SCHEDULE 3
Cooling water assessment monitoring

All Plants

| Item | Analytical Test Group | Column 1 Parameter | Column 2 Monitoring frequency |
| --- | --- | --- | --- |
| 1 | 5a | Dissolved Organic Carbon (DOC) | Weekly |
| 2 | 8 | Total Suspended Solids (TSS) | Weekly |

SCHEDULE 4
REFERENCE PRODUCTION RATES

| Plant | Reference production rate - bleached pulp (in tonnes per day) | Reference production rate - finished product (in tonnes per day) |
| --- | --- | --- |
| Abitibi-Price Inc., Fort William Division | Not applicable | 428 |
| Abitibi-Price Inc., Iroquois Falls Division | Not applicable | 906 |
| Avenor Inc., Dryden | 940 | 1493 |
| Avenor Inc., Thunder Bay | 1449 | 2842 |
| Beaver Wood Fibre Company Ltd. | Not applicable | 347 |
| Domtar Inc., Containerboard Division, Red Rock | Not applicable | 976 |
| Domtar Inc., Containerboard Division, Trenton | Not applicable | 427 |
| Domtar Inc., Fine Papers Division, Cornwall | 673 | 846 |
| Domtar Inc., Fine Papers Division, St. Catharines | Not applicable | 196 |
| E.B. Eddy Forest Products Ltd., Espanola | 1216 | 1216 |
| E.B. Eddy Forest Products Ltd., Ottawa | Not applicable | 179 |
| James River-Marathon Ltd. | 533 | 533 |
| Kimberly-Clark Canada Inc., Huntsville | Not applicable | 118 |
| Kimberly-Clark Canada Inc., St. Catharines | Not applicable | 141 |
| Kimberly-Clark Canada Inc., Terrace Bay | 1372 | 1372 |
| MacMillan-Bloedel Ltd., Sturgeon Falls | Not applicable | 301 |
| Malette Kraft Pulp and Power Company | 415 | 415 |
| Provincial Papers Inc., Thunder Bay | Not applicable | 489 |
| QUNO Inc., Thorold | Not applicable | 1053 |
| Rainy River Forest Products Inc., Fort Frances | 611 | 1151 |
| Rainy River Forest Products Inc., Kenora | Not applicable | 1057 |
| St. Marys Paper Inc., Sault Ste. Marie | Not applicable | 629 |
| Sonoco Limited, Trenton | Not applicable | 284 |
| Spruce Falls Inc., Kapuskasing | Not applicable | 1096 |
| Strathcona Paper Company, Napanee | Not applicable | 217 |
| Thorold Specialty Papers | Not applicable | 284 |
| Thunder Bay Packaging Inc., Thunder Bay | Not applicable | 300 |

Commencement

12.  This Regulation comes into force on the day it is filed.

Back to top