ontario regulation 308/17

made under the

Environmental Protection Act

Made: July 26, 2017
Filed: July 28, 2017
Published on e-Laws: July 31, 2017
Printed in The Ontario Gazette: August 12, 2017

Amending O. Reg. 214/95

(EFFLUENT MONITORING AND EFFLUENT LIMITS - IRON AND STEEL MANUFACTURING SECTOR)

1.  The definition of “limited parameter” in subsection 1 (1) of Ontario Regulation 214/95 is amended by striking out “Schedule 2 for the plant” at the end and substituting “the table for the plant in Schedule 2”.

2.  (1)  Subsection 16 (1) of the Regulation is amended by adding “the table for the plant in” before “Schedule 2”.

(2)  Subsection 16 (2) of the Regulation is amended by adding “the table for the plant in” before “Schedule 2”.

3.  (1)  Subsection 19 (1) of the Regulation is amended by striking out “Schedule 2 for the discharger’s plant” and substituting “the table for the discharger’s plant in Schedule 2”.

(2)  Subsection 19 (2) of the Regulation is amended by striking out “that sampling point in Schedule 3” at the end and substituting “that sampling point in the table for the plant in Schedule 3”.

4.  (1)  Subsection 20 (1) of the Regulation is amended by striking out “Schedule 2 for the discharger’s plant” and substituting “the table for the discharger’s plant in Schedule 2”.

(2)  Subsection 20 (2) of the Regulation is amended by striking out “that sampling point in Schedule 3” at the end and substituting “that sampling point in the table for the plant in Schedule 3”.

5.  Subsection 21 (1) of the Regulation is amended by striking out “Schedule 4 for the discharger’s plant” and substituting “the table for the discharger’s plant in Schedule 4”.

6.  Subsection 22 (1) of the Regulation is amended by striking out “Schedule 4 for the discharger’s plant” and substituting “the table for the discharger’s plant in Schedule 4”.

7.  Subsection 23 (1) of the Regulation is amended by striking out “Schedule 2 for the discharger’s plant” and substituting “the table for the discharger’s plant in Schedule 2”.

8.  (1)  Subsection 31 (1) of the Regulation is amended by striking out “Schedule 5 for the discharger’s plant” and substituting “the table for the discharger’s plant in Schedule 5”.

(2)  Subsection 31 (2) of the Regulation is amended by striking out “that sampling point in Schedule 5” at the end and substituting “that sampling point in the table for the plant in Schedule 5”.

9.  (1)  Subsection 32 (1) of the Regulation is amended by striking out “Schedule 5 for the discharger’s plant” and substituting “the table for the discharger’s plant in Schedule 5”.

(2)  Subsection 32 (2) of the Regulation is amended by striking out “that sampling point in Schedule 5” at the end and substituting “that sampling point in the table for the plant in Schedule 5”.

10.  Subsection 36 (8) of the Regulation is amended by striking out “Schedule 9 for the discharger’s plant” at the end and substituting “the table for the discharger’s plant in Schedule 9”.

11.  Subsection 38 (4) of the Regulation is amended by striking out “Schedule 9 for the discharger’s plant” and substituting “the table for the discharger’s plant in Schedule 9”.

12.  Schedules 2 to 5 to the Regulation are revoked and the following substituted:

Schedule 2
Process Effluent: Designated Sampling Points, Limits, Monitoring Frequency

Table 1
Algoma Steel (Sault Ste. Marie)

Designated Process Effluent Sampling Points:

0100, Bar & Strip Lagoon Effluent

0400, #1 Tube Mill Effluent

0700, Main Filter Plant Effluent

1800, #2 Tube Mill Effluent

| Item | Analytical Test Group | Column 1 Parameter | Column 2 Monitoring Frequency | Column 3 Daily plant loading limit in kilograms per day | Column 4 Monthly Average Plant Loading Limit in kilograms per day |
| --- | --- | --- | --- | --- | --- |
| 1. | 2 | Total Cyanide | Weekly | 35.4 | 16.4 |
| 2. | 4a | Ammonia plus Ammonium | Weekly | 608 | 219 |
| 3. | 8 | Total Suspended Solids (TSS) | Daily | 6,520 | 2,380 |
| 4. | 9 | Total Lead | Weekly | 24.5 | 11.3 |
| 5. | 9 | Total Zinc | Weekly | 51.1 | 22.5 |
| 6. | 14 | Phenolics (4AAP) | Weekly | 4.34 | 1.45 |
| 7. | 17 | Benzene | Weekly | 0.417 | 0.143 |
| 8. | 19 | Benzo(a)pyrene | Weekly | 0.481 | 0.166 |
| 9. | 19 | Naphthalene | Weekly | 1.12 | 0.389 |
| 10. | 25 | Oil and Grease | Weekly | Not applicable | Not applicable |

Table 2
Atlas Specialty Steels (Welland)

Designated Process Effluent Sampling Point:

0300, North Treatment Plant Effluent

| Item | Analytical Test Group | Column 1 Parameter | Column 2 Monitoring Frequency | Column 3 Daily plant loading limit in kilograms per day | Column 4 Monthly Average Plant Loading Limit in kilograms per day |
| --- | --- | --- | --- | --- | --- |
| 1. | 8 | Total Suspended Solids (TSS) | Daily | 95.8 | 30.6 |
| 2. | 9 | Total Nickel | Daily | 4.99 | 1.58 |
| 3. | 9 | Total Zinc | Daily | 3.68 | 0.751 |
| 4. | 9 | Total Chromium | Daily | 0.801 | 0.227 |
| 5. | 25 | Oil and Grease | Weekly | Not applicable | Not applicable |

Table 3
Dofasco (Hamilton)

Designated Process Effluent Sampling Points:

0700, Coke Plant Effluent

0800, Blast Furnace Recycle Blowdown

0900, Steelmaking Effluent

1101, #1 Acid Regeneration Filter Discharge

2000, #2 Hot Mill Filter Plant Effluent

| Item | Analytical Test Group | Column 1 Parameter | Column 2 Monitoring Frequency | Column 3 Daily plant loading limit in kilograms per day | Column 4 Monthly Average Plant Loading Limit in kilograms per day |
| --- | --- | --- | --- | --- | --- |
| 1. | 2 | Total Cyanide | Weekly | 44.1 | 19.8 |
| 2. | 4a | Ammonia plus Ammonium | Weekly | 344 | 152 |
| 3. | 8 | Total Suspended Solids (TSS) | Daily | 1,760 | 646 |
| 4. | 9 | Total Lead | Weekly | 21.2 | 6.08 |
| 5. | 9 | Total Zinc | Weekly | 36.1 | 11.7 |
| 6. | 14 | Phenolics (4AAP) | Weekly | 1.08 | 0.364 |
| 7. | 17 | Benzene | Weekly | 0.136 | 0.0452 |
| 8. | 19 | Benzo(a)pyrene | Weekly | 0.136 | 0.0452 |
| 9. | 19 | Naphthalene | Weekly | 0.136 | 0.0452 |
| 10. | 25 | Oil and Grease | Weekly | Not applicable | Not applicable |

Table 4
Ivaco Rolling Mills Limited Partnership (L’Orignal)

Designated Process Effluent Sampling Point:

0900, Rod Mill Filter Effluent

| Item | Analytical Test Group | Column 1 Parameter | Column 2 Monitoring Frequency | Column 3 Daily plant loading limit in kilograms per day | Column 4 Monthly Average Plant Loading Limit in kilograms per day |
| --- | --- | --- | --- | --- | --- |
| 1. | 8 | Total Suspended Solids (TSS) | Daily | 74.0 | 27.7 |
| 2. | 9 | Total Lead | Daily | 0.508 | 0.146 |
| 3. | 9 | Total Zinc | Daily | 0.628 | 0.219 |
| 4. | 25 | Oil and Grease | Weekly | Not applicable | Not applicable |

Table 5
Lake Ontario Steel Company (LASCO) (Whitby)

Designated Process Effluent Sampling Point:

0100, South Pond Effluent

| Item | Analytical Test Group | Column 1 Parameter | Column 2 Monitoring Frequency | Column 3 Daily plant loading limit in kilograms per day | Column 4 Monthly Average Plant Loading Limit in kilograms per day |
| --- | --- | --- | --- | --- | --- |
| 1. | 8 | Total Suspended Solids (TSS) | Daily | 130 | 48.7 |
| 2. | 9 | Total Lead | Daily | 1.14 | 0.329 |
| 3. | 9 | Total Zinc | Daily | 1.41 | 0.492 |
| 4. | 25 | Oil and Grease | Weekly | Not applicable | Not applicable |

Table 6
Stelco Hilton Works (Hamilton)

Designated Process Effluent Sampling Points:

0601, East Side Filter Plant Effluent

2100, #3 Bloom & Billet

| Item | Analytical Test Group | Column 1 Parameter | Column 2 Monitoring Frequency | Column 3 Daily plant loading limit in kilograms per day | Column 4 Monthly Average Plant Loading Limit in kilograms per day |
| --- | --- | --- | --- | --- | --- |
| 1. | 2 | Total Cyanide | Weekly | 57.3 | 26.5 |
| 2. | 4a | Ammonia plus Ammonium | Weekly | 1,880 | 754 |
| 3. | 8 | Total Suspended Solids (TSS) | Daily | 27,300 | 7,500 |
| 4. | 9 | Total Lead | Weekly | 27.7 | 13.9 |
| 5. | 9 | Total Zinc | Weekly | 168 | 61.1 |
| 6. | 9 | Total Chromium | Weekly | 42.9 | 12.6 |
| 7. | 14 | Phenolics (4AAP) | Weekly | 5.80 | 2.05 |
| 8. | 17 | Benzene | Weekly | 0.729 | 0.251 |
| 9. | 19 | Benzo(a)pyrene | Weekly | 0.846 | 0.292 |
| 10. | 19 | Naphthalene | Weekly | 2.02 | 0.699 |
| 11. | 25 | Oil and Grease | Weekly | Not applicable | Not applicable |

Table 7
Stelco Hilton Works – #2 Rod Mill (Hamilton)

Designated Process Effluent Sampling Point:

1100, #2 Rod Mill Effluent

| Item | Analytical Test Group | Column 1 Parameter | Column 2 Monitoring Frequency | Column 3 Daily plant loading limit in kilograms per day | Column 4 Monthly Average Plant Loading Limit in kilograms per day |
| --- | --- | --- | --- | --- | --- |
| 1. | 8 | Total Suspended Solids (TSS) | Daily | 1,600 | 431 |
| 2. | 25 | Oil and Grease | Weekly | Not applicable | Not applicable |

Table 8
Stelco Lake Erie Works (Nanticoke)

Designated Process Effluent Sampling Point:

0400, Blowdown Treatment Plant Effluent

| Item | Analytical Test Group | Column 1 Parameter | Column 2 Monitoring Frequency | Column 3 Daily plant loading limit in kilograms per day | Column 4 Monthly Average Plant Loading Limit in kilograms per day |
| --- | --- | --- | --- | --- | --- |
| 1. | 2 | Total Cyanide | Weekly | 26.0 | 10.3 |
| 2. | 4a | Ammonia plus Ammonium | Weekly | 21.8 | 9.88 |
| 3. | 8 | Total Suspended Solids (TSS) | Daily | 679 | 281 |
| 4. | 9 | Total Lead | Weekly | 14.0 | 4.65 |
| 5. | 9 | Total Zinc | Weekly | 20.9 | 6.99 |
| 6. | 14 | Phenolics (4AAP) | Weekly | 0.370 | 0.185 |
| 7. | 17 | Benzene | Weekly | 0.0553 | 0.0184 |
| 8. | 19 | Benzo(a)pyrene | Weekly | 0.0553 | 0.0184 |
| 9. | 19 | Naphthalene | Weekly | 0.0553 | 0.0184 |
| 10. | 25 | Oil and Grease | Weekly | Not applicable | Not applicable |

schedule 3
analytical requirements at plants with more than one process effluent sampling point

Table 1
Algoma Steel (Sault Ste. Marie)

| Item | Analytical Test Group | Column 1 Parameter | Column 2 Sampling Point: 0100 | Column 3 Sampling Point: 0400 | Column 4 Sampling Point: 0700 | Column 5 Sampling Point: 1800 |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | 2 | Total Cyanide | Not applicable | Not applicable | X | Not applicable |
| 2. | 4a | Ammonia plus Ammonium | Not applicable | Not applicable | X | Not applicable |
| 3. | 8 | Total Suspended Solids (TSS) | X | X | X | X |
| 4. | 9 | Total Lead | X | Not applicable | X | Not applicable |
| 5. | 9 | Total Zinc | X | Not applicable | X | Not applicable |
| 6. | 14 | Phenolics (4AAP) | Not applicable | Not applicable | X | Not applicable |
| 7. | 17 | Benzene | Not applicable | Not applicable | X | Not applicable |
| 8. | 19 | Benzo(a)pyrene | Not applicable | Not applicable | X | Not applicable |
| 9. | 19 | Naphthalene | Not applicable | Not applicable | X | Not applicable |
| 10. | 25 | Oil and Grease | X | X | X | X |

Explanatory Note:

X means that the corresponding parameter in Column 1 is specified for the sampling point and is required to be monitored at the sampling point

Table 2
Dofasco (Hamilton)

| Item | Analytical Test Group | Column 1 Parameter | Column 2 Sampling Point: 0700 | Column 3 Sampling Point: 0800 | Column 4 Sampling Point: 0900 | Column 5 Sampling Point: 1101 | Column 6 Sampling Point: 2000 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | 2 | Total Cyanide | X | X | Not applicable | Not applicable | Not applicable |
| 2. | 4a | Ammonia plus Ammonium | X | X | Not applicable | Not applicable | Not applicable |
| 3. | 8 | Total Suspended Solids (TSS) | X | X | X | X | X |
| 4. | 9 | Total Lead | X | X | X | X | X |
| 5. | 9 | Total Zinc | X | X | X | X | X |
| 6. | 14 | Phenolics (4AAP) | X | X | Not applicable | Not applicable | Not applicable |
| 7. | 17 | Benzene | X | Not applicable | Not applicable | Not applicable | Not applicable |
| 8. | 19 | Benzo(a)pyrene | X | Not applicable | Not applicable | Not applicable | Not applicable |
| 9. | 19 | Naphthalene | X | Not applicable | Not applicable | Not applicable | Not applicable |
| 10. | 25 | Oil and Grease | X | Not applicable | Not applicable | X | X |

Explanatory Note:

X means that the corresponding parameter in Column 1 is specified for the sampling point and is required to be monitored at the sampling point

Table 3
Stelco Hilton Works (Hamilton)

| Item | Analytical Test Group | Column 1 Parameter | Column 2 Sampling Point: 2100 |  | Column 3 Sampling Point: 0601 |
| --- | --- | --- | --- | --- | --- |
| 1. | 2 | Total Cyanide | Not applicable | X |  |
| 2. | 4a | Ammonia plus Ammonium | Not applicable | X |  |
| 3. | 8 | Total Suspended Solids (TSS) | X | X |  |
| 4. | 9 | Total Lead | Not applicable | X |  |
| 5. | 9 | Total Zinc | Not applicable | X |  |
| 6. | 9 | Total Chromium | Not applicable | X |  |
| 7. | 14 | Phenolics (4AAP) | Not applicable | X |  |
| 8. | 17 | Benzene | Not applicable | X |  |
| 9. | 19 | Benzo(a)pyrene | Not applicable | X |  |
| 10. | 19 | Naphthalene | Not applicable | X |  |
| 11. | 25 | Oil and Grease | X | X |  |

Explanatory Note:

X means that the corresponding parameter in Column 1 is specified for the sampling point and is required to be monitored at the sampling point

schedule 4
merged effluent: Designated sampling points, monitoring frequency

Table 1
Atlas Specialty Steels (Welland)

Designated Merged Effluent Sampling Point:

0100, 42 Inch Sewer

| Item | Analytical Test Group | Column 1 Parameter | Column 2 Monitoring Frequency |
| --- | --- | --- | --- |
| 1. | 8 | Total Suspended Solids (TSS) | Weekly |
| 2. | 9 | Total Nickel | Weekly |
| 3. | 9 | Total Zinc | Weekly |
| 4. | 9 | Total Chromium | Weekly |
| 5. | 25 | Oil and Grease | Weekly |

Table 2
Dofasco (Hamilton)

Designated Merged Effluent Sampling Point:

0400, West Bay Front Sewer

| Item | Analytical Test Group | Column 1 Parameter | Column 2 Monitoring Frequency |
| --- | --- | --- | --- |
| 1. | 2 | Total Cyanide | Weekly |
| 2. | 4a | Ammonia plus Ammonium | Weekly |
| 3. | 8 | Total Suspended Solids (TSS) | Weekly |
| 4. | 9 | Total Lead | Weekly |
| 5. | 9 | Total Zinc | Weekly |
| 6. | 14 | Phenolics (4AAP) | Weekly |
| 7. | 17 | Benzene | Quarterly |
| 8. | 19 | Benzo(a)pyrene | Quarterly |
| 9. | 19 | Naphthalene | Quarterly |
| 10. | 25 | Oil and Grease | Weekly |

table 3
Stelco Hilton Works (Hamilton)

Designated Merged Effluent Sampling Point:

0400, North Outfall

| Item | Analytical Test Group | Column 1 Parameter | Column 2 Monitoring Frequency |
| --- | --- | --- | --- |
| 1. | 8 | Total Suspended Solids (TSS) | Weekly |
| 2. | 25 | Oil and Grease | Weekly |

Table 4
Stelco Lake Erie Works (Nanticoke)

Designated Merged Effluent Sampling Point:

0100, #4 Pond Discharge

| Item | Analytical Test Group | Column 1 Parameter | Column 2 Monitoring Frequency |
| --- | --- | --- | --- |
| 1. | 2 | Total Cyanide | Weekly |
| 2. | 4a | Ammonia plus Ammonium | Weekly |
| 3. | 8 | Total Suspended Solids (TSS) | Weekly |
| 4. | 9 | Total Lead | Weekly |
| 5. | 9 | Total Zinc | Weekly |
| 6. | 14 | Phenolics (4AAP) | Weekly |
| 7. | 17 | Benzene | Quarterly |
| 8. | 19 | Benzo(a)pyrene | Quarterly |
| 9. | 19 | Naphthalene | Quarterly |
| 10. | 25 | Oil and Grease | Weekly |

Schedule 5
cooling water effluent: designated sampling points, monitoring frequency

Table 1
Algoma Steel (Sault Ste. Marie)

Designated Cooling Water Effluent Sampling Points:

0200, 60 Inch Sewer

0300, 30 Inch Sewer

0500, Cold Mill 24 Inch Sewer

0800, Boiler House

1000, #2 Steelmaking

1500, Cold Mill 20 Inch Sewer

1600, Coke Oven Condenser

| Item | Analytical Test Group | Column 1 Parameter | Column 2 Monitoring Frequency | Column 3 Sampling Point: 0200 | Column 4 Sampling Point: 0300 | Column 5 Sampling Point: 0500 | Column 6 Sampling Point: 0800 | Column 7 Sampling Point: 1000 | Column 8 Sampling Point: 1500 | Column 9 Sampling Point: 1600 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | 2 | Total Cyanide | Weekly | X | X | Not applicable | Not applicable | Not applicable | Not applicable | X |
| 2. | 4a | Ammonia plus Ammonium | Weekly | X | X | Not applicable | Not applicable | Not applicable | Not applicable | X |
| 3. | 8 | Total Suspended Solids (TSS) | Weekly | X | X | X | X | X | X | X |
| 4. | 9 | Total Lead | Weekly | X | X | X | Not applicable | X | X | Not applicable |
| 5. | 9 | Total Zinc | Weekly | X | X | X | Not applicable | X | X | Not applicable |
| 6. | 14 | Phenolics (4AAP) | Weekly | X | X | Not applicable | Not applicable | Not applicable | Not applicable | X |
| 7. | 17 | Benzene | Quarterly | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | X |
| 8. | 19 | Benzo(a)pyrene | Quarterly | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | X |
| 9. | 19 | Naphthalene | Quarterly | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | X |
| 10. | 25 | Oil and Grease | Weekly | X | X | X | X | X | X | X |

Explanatory Note:

X means that the corresponding parameter in Column 1 is specified for the sampling point and is required to be monitored at the sampling point

Table 2
Dofasco (Hamilton)

Designated Cooling Water Effluent Sampling Points:

0100, East Boat Slip Sewer

0300, Boiler House Sewer #1

1200, Boiler House Sewer #2

1700, #2 Hot Mill/Melt Shop

| Item | Analytical Test Group | Column 1 Parameter | Column 2 Monitoring Frequency | Column 3 Sampling Point: 0100 | Column 4 Sampling Point: 0300 | Column 5 Sampling Point: 1200 | Column 6 Sampling Point: 1700 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | 8 | Total Suspended Solids (TSS) | Weekly | X | X | X | X |
| 2. | 9 | Total Lead | Weekly | X | Not applicable | Not applicable | X |
| 3. | 9 | Total Zinc | Weekly | X | Not applicable | Not applicable | X |
| 4. | 25 | Oil and Grease | Weekly | X | X | X | X |

Explanatory Note:

X means that the corresponding parameter in Column 1 is specified for the sampling point and is required to be monitored at the sampling point

Table 3
Stelco Hilton Works (Hamilton)

Designated Cooling Water Effluent Sampling Points:

0100, West Side Open Cut

0200, Northwest Outfall

0602, #1 60 Inch Sewer

| Item | Analytical Test Group | Column 1 Parameter | Column 2 Monitoring Frequency | Column 3 Sampling Point: 0100 | Column 4 Sampling Point: 0200 | Column 5 Sampling Point: 0602 |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | 2 | Total Cyanide | Weekly | X | X | Not applicable |
| 2. | 4a | Ammonia plus Ammonium | Weekly | X | X | Not applicable |
| 3. | 8 | Total Suspended Solids (TSS) | Weekly | X | X | X |
| 4. | 9 | Total Zinc | Weekly | X | X | Not applicable |
| 5. | 14 | Phenolics (4AAP) | Weekly | X | X | Not applicable |
| 6. | 17 | Benzene | Quarterly | X | X | Not applicable |
| 7. | 19 | Benzo(a)pyrene | Quarterly | X | X | Not applicable |
| 8. | 19 | Naphthalene | Quarterly | X | X | Not applicable |
| 9. | 25 | Oil and Grease | Weekly | X | X | X |

Explanatory Note:

X means that the corresponding parameter in Column 1 is specified for the sampling point and is required to be monitored at the sampling point

Table 4
Stelco Hilton Works – #2 Rod Mill (Hamilton)

Designated Cooling Water Effluent Sampling Point:

2200, #2 Rod Mill

| Item | Analytical Test Group | Column 1 Parameter | Column 2 Monitoring Frequency | Column 3 Sampling Point 2200 |
| --- | --- | --- | --- | --- |
| 1. | 8 | Total Suspended Solids (TSS) | Weekly | X |
| 2. | 25 | Oil and Grease | Weekly | X |

Explanatory Note:

X means that the corresponding parameter in Column 1 is specified for the sampling point and is required to be monitored at the sampling point

13.  Schedule 9 to the Regulation is revoked and the following substituted:

Schedule 9
Process Subcategories, Products and Reference Production Rate

Table 1
Algoma Steel (Sault Ste. Marie)

| Item | Column 1 Process Subcategory | Column 2 Product | Column 3 Reference Production Rate in tonnes per day |
| --- | --- | --- | --- |
| 1. | Cokemaking Process | Metallurgical Coke | 2,994 |
| 2. | Ironmaking Process | Molten Iron | 6,441 |
| 3. | Steelmaking Process | Raw Steel | 6,577 |
| 4. | #1 Continuous Casting Process | Beams and Blooms | 935 |
| 5. | #2 Continuous Casting Process | Slabs | 5,642 |
| 6. | #1 & #2 Tube Mills | Seamless Tubes | 907 |
| 7. | Hotforming Process | Plate and Strip | 11,431 |
| 8. | Finishing Process | Pickled, Cold Rolled, Tempered Coils and Sheets | 1,470 |

Table 2
Atlas Specialty Steels (Welland)

| Item | Column 1 Process Subcategory | Column 2 Product | Column 3 Reference Production Rate in tonnes per day |
| --- | --- | --- | --- |
| 1. | Vacuum Oxygen Degassing Process | Refined Steel | 680 |
| 2. | Continuous Casting Process | Billet and Blooms | 427 |
| 3. | Hotforming Process | Stainless, Rock Drill Steels | 427 |

Table 3
Dofasco (Hamilton)

| Item | Column 1 Process Subcategory | Column 2 Product | Column 3 Reference Production Rate in tonnes per day |
| --- | --- | --- | --- |
| 1. | Cokemaking Process | Metallurgical Coke | 4,264 |
| 2. | Ironmaking Process | Molten Iron | 9,435 |
| 3. | Steelmaking Process | Raw Steel | 9,042 |
| 4. | Vacuum Degassing Process | Refined Steel | 904 |
| 5. | Continuous Casting Process | Slabs | 9,042 |
| 6. | Hotforming Process | Plates and Strip | 12,410 |

Table 4
Ivaco Rolling Mills Limited Partnership (L’Orignal)

| Item | Column 1 Process Subcategory | Column 2 Product | Column 3 Reference Production Rate in tonnes per day |
| --- | --- | --- | --- |
| 1. | Continuous Casting Process | Billets | 1,701 |
| 2. | Hotforming Process | Rods, Wire | 2,500 |

Table 5
Lake Ontario Steel Company (Whitby)

| Item | Column 1 Process Subcategory | Column 2 Product | Column 3 Reference Production Rate in tonnes per day |
| --- | --- | --- | --- |
| 1. | Continuous Casting Process | Billets | 3,818 |
| 2. | Hotforming Process | Structural Steel | 3,818 |

Table 6
Stelco Hilton Works (Hamilton)

| Item | Column 1 Process Subcategory | Column 2 Product | Column 3 Reference Production Rate in tonnes per day |
| --- | --- | --- | --- |
| 1. | Cokemaking Process | Metallurgical Coke | 4,500 |
| 2. | Ironmaking Process | Molten Iron | 8,600 |
| 3. | Sintering Process | Sinter | 1,800 |
| 4. | Steelmaking Process | Raw Steel | 9,200 |
| 5. | Continuous Casting Process | Slabs | 9,200 |
| 6. | #3 Bloom & Billet | Bloom and Billet | 3,700 |
| 7. | Hotforming Process | Plates and Strip | 10,163 |
| 8. | Finishing Process | Pickled, Cold Rolled, Hot Coated, Tempered Coils and Sheets | 6,900 |

Table 7
Stelco Hilton Works – #2 Rod Mill (Hamilton)

| Item | Column 1 Process Subcategory | Column 2 Product | Column 3 Reference Production Rate in tonnes per day |
| --- | --- | --- | --- |
| 1. | Hotforming Process | Rods | 2,721 |

Table 8
Stelco Lake Erie Works (Nanticoke)

| Item | Column 1 Process Subcategory | Column 2 Product | Column 3 Reference Production Rate in tonnes per day |
| --- | --- | --- | --- |
| 1. | Cokemaking Process | Metallurgical Coke | 1,734 |
| 2. | Ironmaking Process | Molten Iron | 5,960 |
| 3. | Steelmaking Process | Raw Steel | 6,800 |
| 4. | Vacuum Degassing | Refined Steel | 6,800 |
| 5. | Continuous Casting Process | Slabs | 6,800 |
| 6. | Hotforming Process | Plates and Strip | 7,500 |

Commencement

14.  This Regulation comes into force on the day it is filed.

Back to top