Français

ontario regulation 393/19

made under the

Milk Act

Made: November 13, 2019
Filed: November 29, 2019
Published on e-Laws: November 29, 2019
Printed in The Ontario Gazette: December 14, 2019

Amending Reg. 761 of R.R.O. 1990

(MILK AND MILK PRODUCTS)

1.  (1)  Clause 77 (2) (b) of Regulation 761 of the Revised Regulations of Ontario, 1990 is revoked and the following substituted:

(b)	in the case of a plant purchasing milk from the marketing board, there is, subject to subsection (3),

(i)	an enclosed receiving room, and

(ii)	an enclosed tank-truck wash station that complies with sections 40, 41, 42 and 43.

(2)  Section 77 of the Regulation is amended by adding the following subsections:

(3)  Clause (2) (b) does not apply to the construction or alteration of a building intended for use as a plant that purchases milk from the marketing board if,

(a)	the maximum volume of milk to be received from the marketing board at the building to be constructed or altered will not exceed 7500 litres in any given day; and

(b)	a pad is constructed so that a tank-truck can park on it when delivering milk and the pad meets the following requirements:

(i)	the pad is capable of supporting tank-trucks without sagging or heaving,

(ii)	the pad has a smooth surface that is impermeable to liquids,

(iii)	the pad is adequately sized to allow access to the tank-truck for delivery of milk, and

(iv)	the pad has,

(A)	an adequate slope towards a drain which is capable of capturing any liquid accumulating on the pad during the normal course of delivery of milk, or

(B)	a system adequate to prevent the escape into the environment of any liquids accumulating on the pad during the normal course of delivery of milk.

(4)  The operator of a plant that is exempt under subsection (3) from the requirement of having an enclosed receiving room and an enclosed tank-truck wash station shall,

(a)	ensure that the pad constructed in accordance with clause (3) (b) is maintained so as to continue to meet the requirements of that clause;

(b)	have available for use during the delivery of milk from a tank-truck protections for openings into the tank-truck that are adequate to protect the milk in the tank from contamination; and

(c)	ensure that the volume of milk received at the plant is not increased so as to exceed 7500 litres a day unless the plant is renovated to have an enclosed receiving room and an enclosed tank-truck wash station that complies with sections 40, 41, 42 and 43.

Commencement

2.  This Regulation comes into force on the day it is filed.

Made by:
Pris par :

Ontario Farm Products Marketing Commission:
La Commission de commercialisation des produits agricoles de l’Ontario :

Jim Clark

Chair / Président

David Hagarty

Secretary to the commission / Secrétaire de la Commission

Date made: November 13, 2019
Pris le : 13 novembre 2019

Français

Back to top