ontario regulation 75/20

made under the

Emergency Management and Civil Protection Act

Made: March 23, 2020 (5:00 pm)
Filed: March 23, 2020
Published on e-Laws: March 24, 2020
Printed in The Ontario Gazette: April 11, 2020

Order under Subsection 7.0.2 (4) of the Act - DRINKING WATER SYSTEMS AND SEWAGE WORKS

Whereas an emergency was declared pursuant to Order in Council 518/2020 (Ontario Regulation 50/20) on March 17, 2020 at 7:30 a.m. Toronto time pursuant to section 7.0.1 of the Emergency Management and Civil Protection Act (the “Act”);

And Whereas the criteria set out in subsection 7.0.2 (2) of the Act have been satisfied;

And Whereas drinking water systems and sewage works provide essential public services and the owners and operating authorities of these systems and works are being, or are at serious risk of being, overwhelmed and unable to properly operate these systems or works due to the outbreak of coronavirus (COVID-19);

Now Therefore, this Order is made pursuant to subsection 7.0.2 (4) of the Act, in particular, paragraphs 8, 9, 12 and 14, the terms of which are set out in Schedules 1 and 2;

And Further, this Order shall apply generally throughout Ontario.

And Further, this Order shall be in effect for the duration of the declared emergency, subject to section 7.0.8 of the Act.

Schedule 1
Drinking Water Systems

1.	Despite paragraphs 3 and 5 of subsection 11 (1) and section 12 of the Safe Drinking Water Act, 2002 (“SDWA”), and sections 22, 23, and 25 of O. Reg. 128/04 (Certification of Drinking Water System Operators and Water Quality Analysts) made under the SDWA, the following persons may operate a municipal drinking water system or regulated non-municipal drinking water system as defined in section 2 of the SDWA while this Order is in effect:

(a)	a professional engineer as defined in the Professional Engineers Act;

(b)	any person who, any time since March 17, 2015, held a certificate issued under O. Reg. 128/04 in the applicable type of subsystem as defined in section 1 of that Regulation, provided that the certificate has not been previously revoked or suspended at any time;

(c)	any person who has previously managed or currently manages one or more subsystems as defined in section 1 of O. Reg. 128/04 of the same type as the subsystem to be operated;

(d)	any person currently employed in a subsystem as defined in section 1 of O. Reg. 128/04 and who meets both the following conditions may operate the subsystem at which they are employed:

(i)	the person holds the position of millwright, electrician, instrument technician, maintenance mechanic, process control technician, water quality analyst or equivalent; and

(ii)	the person has at least 5 years of experience in the type of drinking water subsystem;

(e)	only persons described in subparagraphs (a) and (b) of this paragraph of this Schedule may perform operator-in-charge or overall responsible operator responsibilities and duties as set out in sections 23, 25 and 26 of O. Reg. 128/04.

2.	Despite anything to the contrary in O. Reg. 128/04, a certificate issued under O. Reg. 128/04 that is set to expire while this Order is in effect does not expire until 180 days after the expiry date under O. Reg. 128/04 or 90 days after this Order is revoked, whichever date is later.

3.	Despite subsection 7-5 (1) of Schedule 7 to O. Reg. 170/03 (Drinking Water Systems) under the SDWA, a test required by section 7-2 or 7-3 of Schedule 7 to the Regulation may be conducted while this Order is in effect by a person who is not a certified operator or water quality analyst if the person,

(a)	has been trained by a certified operator to conduct the test;

(b)	works under the supervision of a certified operator; and

(c)	immediately advises a supervising certified operator of all test results.

4.	An owner or operating authority shall keep a record of the names of any person who performs any duties under paragraphs 1 to 3 of this Schedule who would not otherwise be certified to perform those duties and shall produce the record to a representative or agent of the Ministry of the Environment, Conservation and Parks on request.

5.	The Agency or the owner of a municipal drinking water system, as those terms are defined in section 2 of the SDWA, is authorized while this Order is in effect to take measures with respect to work deployment and staffing to respond to operational challenges posed by the outbreak of the coronavirus (COVID-19), but only if the measures are necessary to ensure the Agency or the owner can provide safe drinking water.

6.	Without limiting the generality of paragraph 5, and despite any other statute, regulation, order, policy, arrangement or agreement, including a collective agreement, the Agency or the owner is authorized to do the following:

(a)	identify staffing priorities and develop, modify and implement redeployment plans, including the following:

(i)	redeploying staff within different locations in or between drinking water systems;

(ii)	changing the assignment of work, including assigning non-bargaining unit employees or contractors to perform bargaining unit work;

(iii)	changing the scheduling of work or shift assignments;

(iv)	deferring or cancelling vacations, absences and other leaves, regardless of whether such vacations, absences or leaves are established by statute, regulation, agreement or otherwise;

(v)	employing extra part-time or temporary staff or contractors, including for the purposes of performing bargaining unit work;

(vi)	using volunteers to perform work, including performing bargaining unit work; or

(vii)	providing appropriate training or education as needed to staff and volunteers to achieve the purposes of a redeployment plan,

and, for greater certainty, the Agency or the owner may implement redeployment plans without complying with provisions of a collective agreement, including lay-off, seniority/service or bumping provisions;

(b)	conduct any skills and experience inventories of staff to identify possible alternative roles in priority areas;

(c)	require and collect information from staff or contractors about their availability to provide services to the Agency or the owner;

(d)	require the provision of and collect information from staff or contractors about their likely or actual exposure to the coronavirus (COVID-19), or about any other health conditions that may affect their ability to provide services;

(e)	provide supports and services to staff and contractors to enable them to continue to carry out their duties to operate drinking water systems; and

(f)	suspend, for the duration of this Order, any grievance process with respect to any matter referred to in this Order.

Schedule 2
SEWAGE WORKS

1.	Despite sections 14, 15 and 17 of O. Reg. 129/04 (Licensing of Sewage Works Operators) under the Ontario Water Resources Act (“OWRA”), the following persons may operate a wastewater treatment facility or a wastewater collection facility, as applicable, as those terms are defined in section 1 of the Regulation, while this Order is in effect:

(a)		a professional engineer as defined in the Professional Engineers Act;

(b)	any person who, any time since March 17, 2015, held a licence issued under O. Reg. 129/04 in the applicable type of facility provided that the licence has not been cancelled or suspended at any time;

(c)	any person who has previously managed or currently manages a facility as defined in section 1 of O. Reg. 129/04 of the same type as the facility to be operated;

(d)	any person currently employed in a facility who meets both of the following conditions may operate the facility at which they are employed:

(i)	the person holds the position of millwright, electrician, instrument technician, maintenance mechanic, process control technician, or equivalent; and

(ii)	the person has at least 5 years of experience in the facility to be operated;

(e)	only persons described in subparagraphs (a) and (b) of this paragraph of this Schedule may perform operator-in-charge and overall responsible operator responsibilities and duties as described in sections 15, 17 and 18 of O. Reg. 129/04.

2.	Despite anything to the contrary in O. Reg. 129/04, a licence issued under O. Reg. 129/04 that is set to expire while this Order is in effect does not expire until 180 days after the expiry date under O. Reg. 129/04 or 90 days after this Order is revoked, whichever date is later.

3.	An owner shall keep a record of the names of any person who performs any duties under paragraphs 1 and 2 of this Schedule who would not otherwise be licensed to perform those duties and shall produce the record to a representative or agent of the Ministry of the Environment, Conservation and Parks on request.

4.	The Agency or a municipality, as those terms are defined in section 1 of the OWRA, is authorized while this Order is in effect to take measures with respect to work deployment and staffing to respond to operational challenges posed by the outbreak of the coronavirus (COVID-19), but only if the measures are necessary to ensure a sewage works is being properly operated.

5.	Without limiting the generality of paragraph 4, and despite any other statute, regulation, order, policy, arrangement or agreement, including a collective agreement, the Agency or a municipality is authorized to do the following:

(a)	identify staffing priorities and develop, modify and implement redeployment plans, including the following:

(i)	redeploying staff within different locations in or between sewage works;

(ii)	changing the assignment of work, including assigning non-bargaining unit employees or contractors to perform bargaining unit work;

(iii)	changing the scheduling of work or shift assignments;

(iv)	deferring or cancelling vacations, absences and other leaves, regardless of whether such vacations, absences or leaves are established by statute, regulation, agreement or otherwise;

(v)	employing extra part-time or temporary staff or contractors, including for the purposes of performing bargaining unit work;

(vi)	using volunteers to perform work, including performing bargaining unit work;

(vii)	providing appropriate training or education as needed to staff and volunteers to achieve the purposes of a redeployment plan,

and, for greater certainty, the Agency or a municipality may implement redeployment plans without complying with provisions of a collective agreement, including lay-off, seniority/service or bumping provisions;

(b)	conduct any skills and experience inventories of staff to identify possible alternative roles in priority areas;

(c)	require and collect information from staff or contractors about their availability to provide services to the Agency or municipality;

(d)	require the provision of and collect information from staff or contractors about their likely or actual exposure to the coronavirus (COVID-19), or about any other health conditions that may affect their ability to provide services;

(e)	provide supports and services to staff and contractors to enable them to continue to carry out their duties to operate sewage works; and

(f)	suspend, for the duration of this Order, any grievance process with respect to any matter referred to in this Order.

Back to top