ontario regulation 762/20

made under the

Building Code Act, 1992

Made: December 16, 2020
Filed: December 16, 2020
Published on e-Laws: December 17, 2020
Printed in The Ontario Gazette: January 2, 2021

Amending O. Reg. 332/12

(BUILDING CODE)

1.  Clause 1.4.1.3.(1)(a) of Division A of Ontario Regulation 332/12 is amended by adding the following Subclause:

(0.0.i)	section 3 of the Building Transit Faster Act, 2020 with respect to the issuance of a permit under that section,

2.  Item 106 of Table 1.3.1.2. of Division B of the Regulation is revoked.

3.  Table 1.3.2.1. of Division B of the Regulation is amended by adding the following Items:

| 4.1 | ASCE | American Society of Civil Engineers |
| --- | --- | --- |

.     .     .     .     .

| 22.1 | GRHC | Green Roofs for Healthy Cities |
| --- | --- | --- |

.     .     .     .     .

| 23.1 | HPVA | Hardware Plywood & Veneer Association |
| --- | --- | --- |

.     .     .     .     .

| 35.1 | SEI | Structural Engineering Institute |
| --- | --- | --- |

.     .     .     .     .

| 36.1 | SPRI | Single Ply Roofing Industry |
| --- | --- | --- |

4.  Sentences 3.1.9.3.(6) and (7) of Division B of the Regulation are revoked.

5.  Table 4.1.6.10. of Division B of the Regulation is amended by striking out:

| Item | Column 1 Load Case | Column 2 Range of application | Column 3 Arch Roofs, Curved Roofs and Domes Cw | Column 4 Arch Roofs, Curved Roofs and Domes Ca - Upwind Side | Column 5 Arch and Curved Roofs Ca - Downwind Side | Column 6 Domes Ca - Downwind Side |
| --- | --- | --- | --- | --- | --- | --- |

and substituting:

| Item | Column 1 Load Case | Column 2 Range of application | Column 3 Factors - Arch Roofs, Curved Roofs and Domes Cw | Column 4 Factors - Arch and Curved Roofs Ca - Upwind Side | Column 5 Factors - Arch and Curved Roofs Ca - Downwind Side | Column 6 Factors - Domes Ca - Downwind Side |
| --- | --- | --- | --- | --- | --- | --- |

6.  Sentence 4.1.7.4.(2) of Division B of the Regulation is amended by striking out “” and substituting “”.

7.  Sentence 4.1.7.8.(4) of Division B of the Regulation is amended by,

(a)	striking out “x0 = (1 222 fn/VH)” and substituting “x0 = (1 220 fn/VH)”; and

(b)	striking out “” and substituting “”.

8.  Sentence 4.1.8.2.(1) of Division B of the Regulation is amended by adding the following:

Ts =	fundamental lateral period of vibration of the building or structure in seconds in the direction under consideration, as described in Sentence 4.1.8.1.(7),

9.  Item 5 of Table 4.1.8.4.H. of Division B of the Regulation is amended by striking out “0.87” in Column 4 and substituting “0.98”.

10.  Clause 4.1.8.10.(2)(a) of Division B of the Regulation is amended by striking out “Types 1, 3, 4, 5 and 7” and substituting “Types 1, 3, 4, 5, 7 and 9”.

11.  (1)  Tables 4.1.8.11.A., 4.1.8.11.B., 4.1.8.11.C., 4.1.8.11.D. and 4.1.8.11.E. of Division B of the Regulation are amended by,

(a)	striking out “Sa(0.2)/Sa(5.0)” in the heading to Column 1 of each Table and substituting in each case “S(0.2)/S(5.0)”; and

(b)	striking out “S(0.2)/S(0.5)” in Note 1 to each Table and substituting in each case “S(0.2)/S(5.0)”.

(2)  Item 1 of Table 4.1.8.11.B. of Division B of the Regulation is amended by striking out “1” in Column 5 and substituting “1(6)”.

12.  Clause 9.33.1.2.(2)(b) of Division B of the Regulation is amended by striking out “November 1, 2013” at the end and substituting “March 16, 2015”.

13.  (1)  Sentence 1.3.1.5.(1) of Division C of the Regulation is amended by adding the following Clause:

(0.a)	section 3 of the Building Transit Faster Act, 2020 with respect to the issuance of a permit under that section,

(2)  Sentences 1.3.1.5.(3.1) and (3.2) of Division C of the Regulation are revoked.

Commencement

14.  This Regulation comes into force on the day it is filed.

Made by:

Steve Clark

Minister of Municipal Affairs and Housing

Date made: December 16, 2020

Back to top