Technical Standards and Safety Act, 2000
Loi de 2000 sur les normes techniques et la sécurité

ONTARIO REGULATION 216/01

Certification of Petroleum Equipment Mechanics

Historical version for the period June 27, 2001 to July 15, 2008.

No amendments.

This Regulation is made in English only.

Skip Table of Contents

CONTENTS

| 1. | Interpretation |
| --- | --- |
| 2. | Subject matter |
| 3. | General requirement to comply |
| Certificates |  |
| 4. | Requirement for certificate |
| 5. | Renewal |
| 6. | Qualifications for certificate |
| 7. | No transfer |
| 8. | Expiry |
| 9. | Notice of change of address |
| Scope of Certificates |  |
| 10. | PM.1 certificate |
| 11. | PM.2 certificates |
| 12. | PM.3 certificate |
| 13. | PM.4 certificate |
| 14. | PMH certificate |
| 15. | SO certificate |

Interpretation

1.  (1)  In this Regulation,

“mechanic” means a person who is a registered contractor under Ontario Regulation 217/01 (Liquid Fuels), or an employee of a registered contractor, with respect to the performance of the functions of a petroleum equipment mechanic or a site operator under a certificate referred to in section 4.  O. Reg. 216/01, s. 1 (1).

(2)  A reference in this Regulation to a director is a reference to the director to whom the subject matter of this Regulation is assigned.  O. Reg. 216/01, s. 1 (2).

Subject matter

2.  This Regulation governs the certificates required to perform work under,

(a)	Ontario Regulation 217/01 (Liquid Fuels);

(b)	Ontario Regulation 213/01 (Fuel Oil).  O. Reg. 216/01, s. 2.

General requirement to comply

3.  (1)  Every person engaged in an activity, use of equipment, process or procedure to which the Act and this Regulation apply shall comply with the Act and this Regulation.  O. Reg. 216/01, s. 3 (1).

(2)  For the purposes of subsection (1), the reference to an activity, use of equipment, process or procedure includes, but is not limited to, design, construction, erection, installation, maintenance, alteration, service, use or disposal.  O. Reg. 216/01, s. 3 (2).

Certificates

Requirement for certificate

4.  (1)  No person shall perform the functions of a mechanic without first having obtained a certificate from the director designating the person as one or more of the following:

1.	A petroleum equipment mechanic 1 — service and maintenance (a “PM.1 certificate”).

2.	A petroleum equipment mechanic 2 — underground installation (a “PM.2 certificate”).

3.	A petroleum equipment mechanic 3 — aboveground installation (a “PM.3 certificate”).

4.	A petroleum equipment mechanic 4 — small aboveground tank installer (a “PM.4 certificate”).

5.	A petroleum equipment mechanic — contractor helper (a “PMH certificate”).  O. Reg. 216/01, s. 4 (1).

(2)  No person shall perform minor site maintenance at a facility unless he or she has first obtained a certificate as a site operator (an “SO certificate”).  O. Reg. 216/01, s. 4 (2).

(3)  A person shall apply in the form published by the designated administrative authority to the director to obtain a certificate referred to in subsection (1) or (2) or to add one or more classes of certificate to his or her initial certificate.  O. Reg. 216/01, s. 4 (3).

(4)  An application for a certificate or an additional class of certificate shall be accompanied by the fee set by the designated administrative authority.  O. Reg. 216/01, s. 4 (4).

(5)  An application shall include documents that attest to the fact that the applicant has the necessary practical skills and experience, as determined by the director, for the certificate being sought.  O. Reg. 216/01, s. 4 (5).

Renewal

5.  (1)  An application to renew a certificate shall be made to the director and shall be accompanied by the fee set by the designated administrative authority.  O. Reg. 216/01, s. 5 (1).

(2)  An application for renewal may be made before the applicant’s certificate expires.  O. Reg. 216/01, s. 5 (2).

(3)  If a mechanic fails to renew his or her certificate before it expires, the mechanic shall not work as a mechanic after the date of expiry of the certificate but may apply to the director for a renewal.  O. Reg. 216/01, s. 5 (3).

(4)  If a mechanic applies for a renewal of a certificate under subsection (3), the director may renew it if,

(a)	the application is made within 12 months of the expiry date shown on the certificate; and

(b)	the applicant pays the fee referred to in subsection (1).  O. Reg. 216/01, s. 5 (4).

(5)  If a mechanic applies for a renewal of a certificate under subsection (3) more than 12 months after the expiry date shown on the expired certificate, the application shall be treated as a new application for a certificate under section 4, and the applicant shall,

(a)	take a written examination and a skills evaluation conducted or approved by the director with respect to the subject matter of the class of certificate applied for; and

(b)	include in the application a completed declaration of work experience in a format acceptable to the director.  O. Reg. 216/01, s. 5 (5).

Qualifications for certificate

6.  (1)  An applicant for a certificate shall have successfully completed a program approved by the director that is delivered by a training organization approved by the director for each class of certificate sought by the applicant.  O. Reg. 216/01, s. 6 (1).

(2)  An applicant shall have successfully completed an examination or a series of examinations, conducted or approved by the director, demonstrating that the applicant possesses the necessary knowledge and competence for each class of certificate sought by the applicant.  O. Reg. 216/01, s. 6 (2).

(3)  If the applicant fails the examination or series of examinations on three successive attempts, the applicant shall successfully complete the program described in subsection (1) after making the unsuccessful attempts and before taking the examination or series of examinations again, and subsection (5) does not apply.  O. Reg. 216/01, s. 6 (3).

(4)  If the applicant fails the examination or series of examinations for a class of certificate, he or she is not entitled to take the examination or series of examinations for the class of certificate until,

(a)	he or she makes a new application for the class of certificate; and

(b)	30 days have passed since the applicant took the examination or series of examinations.  O. Reg. 216/01, s. 6 (4).

(5)  An applicant is not required to comply with subsection (1) if the director is satisfied that the applicant possesses the necessary knowledge and competence with respect to each class of certificate sought by the applicant.  O. Reg. 216/01, s. 6 (5).

No transfer

7.  A certificate is not transferable.  O. Reg. 216/01, s. 7.

Expiry

8.  (1)  A certificate expires on the second anniversary of the holder’s date of birth after it is issued.  O. Reg. 216/01, s. 8 (1).

(2)  If a class of certificate is added to an initial certificate after the initial certificate is issued, the expiry date of the initial certificate does not change.  O. Reg. 216/01, s. 8 (2).

(3)  A certificate that is renewed expires two years after the date on which the previous certificate expires.  O. Reg. 216/01, s. 8 (3).

Notice of change of address

9.  A person who holds a certificate shall notify the director within 30 days after any change in his or her address and, if the person fails to do so, the director is not responsible for the misdirection of any written notices or other communications that result from such a failure.  O. Reg. 216/01, s. 9.

Scope of Certificates

PM.1 certificate

10.  (1)  A person who holds a PM.1 certificate may, without supervision, service and maintain petroleum equipment and systems, and accessories essential to their operation and, in so doing, may,

(a)	install and remove suction pumps and related systems in accordance with manufacturer specifications and the code adoption document referred to in Ontario Regulation 217/01 (Liquid Fuels);

(b)	repair and maintain suction pumps and related systems, including troubleshooting, testing, repairing and replacing mechanical, hydraulic, electrical and electronic components; and

(c)	repair and maintain submersible pumps, dispensers and related systems, including troubleshooting, testing, repairing and replacing mechanical, hydraulic, electrical and electronic safety devices.  O. Reg. 216/01, s. 10 (1).

(2)  The holder of a PM.1 certificate may assist holders of PM.2 and PM.3 certificates to perform the functions that they may perform if directly supervised by them.  O. Reg. 216/01, s. 10 (2).

(3)  The holder of a PM.1 certificate may, without supervision, service and maintain any type of petroleum equipment that falls within the scope of the certificate so long as the holder has the required experience on that type of equipment and that experience is documented in a form acceptable to the director.  O. Reg. 216/01, s. 10 (3).

(4)  If the holder referred to in subsection (3) does not have the required experience or that experience is not documented in a form acceptable to the director, the holder shall only service and maintain the equipment under the direct supervision of the holder’s employer or a registered contractor.  O. Reg. 216/01, s. 10 (4).

PM.2 certificates

11.  (1)  A person who holds a PM.2 certificate may, without supervision, install, remove, alter, repair, test, service and maintain any type of underground installation and the equipment and accessories essential to its operation and, in so doing, may,

(a)	install underground tanks, including the preparation and restoration of the site, the installation of temporary vents and fill pipes and pressure testing;

(b)	remove underground tanks, including the preparation and restoration of the site, draining and disconnecting the tank system and purging tanks;

(c)	install petroleum transfer systems, including the preparation of lines and equipment, component assembly, spill containment and vapour recovery;

(d)	repair and maintain systems for detecting leaks and monitoring tanks; and

(e)	install and remove submersible pumps, dispensers and related systems.  O. Reg. 216/01, s. 11 (1).

(2)  The holder of a PM.2 certificate may, without supervision, install aboveground tanks, including the preparation and restoration of sites, component assembly, spill containment, electrical hook-up and pressure testing.  O. Reg. 216/01, s. 11 (2).

(3)  The holder of a PM.2 certificate may assist holders of PM.1 and PM.3 certificates to perform the functions that they may perform if directly supervised by them.  O. Reg. 216/01, s. 11 (3).

(4)  The holder of a PM.2 certificate may, without supervision, work on any type of aboveground equipment that falls within the scope of the certificate so long as the holder has the required experience on that type of equipment and that experience is documented in a form acceptable to the director.  O. Reg. 216/01, s. 11 (4).

(5)  If the holder referred to in subsection (4) does not have the required experience or that experience is not documented in a form acceptable to the director, the holder shall only service and maintain the equipment under the direct supervision of the holder’s employer or a registered contractor.  O. Reg. 216/01, s. 11 (5).

PM.3 certificate

12.  (1)  A person who holds a PM.3 certificate may, without supervision, install, remove, alter, repair, test, service and maintain any type of aboveground installation and the equipment and accessories essential to its operation and, in so doing, may,

(a)	install aboveground tanks, including preparation and restoration of the site, component assembly, spill containment, electrical hook-up and pressure testing;

(b)	remove aboveground tanks, including the preparation and restoration of the site, draining and disconnecting the tank system and purging tanks;

(c)	repair and maintain systems for detecting leaks and monitoring tanks; and

(d)	install, remove, repair and maintain bulk handling equipment, including troubleshooting and testing mechanical, hydraulic, electric and electronic systems and safeties.  O. Reg. 216/01, s. 12 (1).

(2)  The holder of a PM.3 certificate may assist holders of PM.1 and PM.2 certificates to perform the functions that they may perform if directly supervised by them.  O. Reg. 216/01, s. 12 (2).

(3)  The holder of a PM.3 certificate may, without supervision, work on any type of underground equipment that falls within the scope of the PM.3 certificate so long as the holder has the required experience on that type of equipment and that experience is documented in a form acceptable to the director.  O. Reg. 216/01, s. 12 (3).

(4)  If the holder referred to in subsection (3) does not have the required experience or that experience is not documented in a form acceptable to the director, the holder shall only service and maintain the equipment under the direct supervision of the holder’s employer or a registered contractor.  O. Reg. 216/01, s. 12 (4).

PM.4 certificate

13.  (1)  A person who holds a PM.4 certificate may, without supervision, install, remove, alter, repair, test, service and maintain any type of small aboveground tank with a capacity of 5,000 litres or less and the equipment and accessories essential to its operation and, in so doing, may,

(a)	transport and install aboveground tanks, including preparation and restoration of the site, component assembly, spill containment, electrical hook-up and pressure testing;

(b)	remove aboveground tanks, including the preparation and restoration of the site, draining and disconnecting the tank system and purging tanks and the removal of the tank from the site by transport; and

(c)	repair and maintain systems for detecting leaks and monitoring tanks.  O. Reg. 216/01, s. 13 (1).

(2)  The holder of a PM.4 certificate may assist holders of the PM.3 certificate to perform the functions that they may perform if directly supervised by them.  O. Reg. 216/01, s. 13 (2).

(3)  The holder of a PM.4 certificate shall not install an aboveground tank other than in a place where it is intended that the tank remain.  O. Reg. 216/01, s. 13 (3).

(4)  The holder of a PM.4 certificate shall not install piping unless the holder holds a PM.3 certificate or installs the piping under the supervision of a holder of a PM.3 certificate.  O. Reg. 216/01, s. 13 (4).

PMH certificate

14.  (1)  A person who holds a PMH certificate may, without supervision, maintain pumps, including replacing nozzles, spouts, hoses, breakaways, filters and belts and may assess, contain and clean up spills and leaks.  O. Reg. 216/01, s. 14 (1).

(2)  The holder of a PMH certificate may assist the holder of a PM.1, PM.2, PM.3 or PM.4 certificate to perform any of the functions he or she may perform if directly supervised by the holder of that certificate.  O. Reg. 216/01, s. 14 (2).

SO certificate

15.  (1)  A person who holds an SO certificate may, without supervision,

(a)	manage a fuel facility, including record keeping, reconciliation and inventory control;

(b)	maintain pumps, including replacing nozzles, spouts, hoses, breakaways, filters and belts; and

(c)	assess, contain and clean up spills and leaks.  O. Reg. 216/01, s. 15 (1).

(2)  The holder of an SO certificate shall not work for a contractor as a mechanic unless he or she holds the appropriate certificate for the work.  O. Reg. 216/01, s. 15 (2).

16.  Omitted (provides for coming into force of provisions of this Regulation).  O. Reg. 216/01, s. 16.

Back to top