Highway Traffic Act
Code de la route

ONTARIO REGULATION 343/94

PROVINCIALLY APPROVED SCREENING DEVICES

Historical version for the period June 4, 2010 to July 31, 2010.

Note:  This Regulation is revoked on the day subsection 16 (10) of the Road Safety Act, 2009 comes into force.  See:  O. Reg. 206/10, ss. 1, 2.

Last amendment:  O. Reg. 206/10.

This Regulation is made in English only.

1.  The following devices are prescribed as provincially approved screening devices for the purposes of section 48.1 of the Act:

1.	An “approved screening device” as defined in the Criminal Code (Canada).

2.	A screening device that meets the standards of the Alcohol Test Committee of the Canadian Society of Forensic Sciences.  O. Reg. 343/94, s. 1.

2.  A provincially approved screening device shall be calibrated so that when a breath sample that is alcohol free is tested, the device does not give a reading or result greater than three milligrams of alcohol in 100 millilitres of blood.  O. Reg. 343/94, s. 2.

3.  Omitted (provides for coming into force of provisions of this Regulation).  O. Reg. 343/94, s. 3.

Back to top