ontario regulation 361/13

made under the

Building Code Act, 1992

Made: December 11, 2013
Filed: December 20, 2013
Published on e-Laws: December 20, 2013
Printed in The Ontario Gazette: January 4, 2014

Amending O. Reg. 332/12

(BUILDING CODE)

1.  The definition of “sewer lateral extension” in Clause 1.4.1.2.(1)(c) of Division A of Ontario Regulation 332/12 is revoked and the following substituted:

Sewer lateral extension means the portion of a storm building sewer or sanitary building sewer that extends from the public sewer up to 1.5 m into the property.

2.  Subclause 1.4.1.3.(1)(a)(xxii) of Division A of the Regulation is revoked and the following substituted:

(xxii)	section 2 of Ontario Regulation 239/13 (Activities on Public Lands and Shore Lands — Work Permits and Exemptions), made under the Public Lands Act, with respect to the work permit authorizing the construction or placement of a building on public land,

(xxii.1)	section 5 of Ontario Regulation 239/13 with respect to the exemption from the requirement to obtain a work permit authorizing the construction or placement of a building within an unpatented mining claim,

3.  (1)  Item 23 of Table 1.3.1.2. of Division B of the Regulation is amended by striking out “9.23.3.1.(2)” in Column 4 and substituting “9.23.3.1.(3)”.

(2)  Item 25 of Table 1.3.1.2. of Division B of the Regulation is amended by striking out “ASME A112.18.1-2005 / CAN/CSA-B125.1-05” in Column 2 and substituting “ASME A112.18.1-2012 / CSA B125.1-12”.

(3)  Table 1.3.1.2. of Division B of the Regulation is amended by adding the following Item:

| 90.1 | ASTM | F1667-05 | Driven Fasteners: Nails, Spikes and Staples | 9.23.3.1.(1) |
| --- | --- | --- | --- | --- |
|  |  |  |  | 9.26.2.2.(1) |
|  |  |  |  | 9.29.5.6.(1) |

(4)  Item 188 of Table 1.3.1.2. of Division B of the Regulation is revoked and the following substituted:

| 188. | CSA | A277-08 | Procedure for Factory Certification of Buildings | 9.1.1.9.(1) |
| --- | --- | --- | --- | --- |
|  |  |  |  | 3.1.1.1.(2) of Division C |
|  |  |  |  | 3.2.4.1.(3) of Division C |

(5)  Item 197 of Table 1.3.1.2. of Division B of the Regulation is amended by striking out “CAN/CSA-A3001-03” in Column 2 and substituting “CAN/CSA-A3001-08”.

(6)  Item 223 of Table 1.3.1.2. of Division B of the Regulation is amended by striking out “CAN/CSA-B125.3-05” in Column 2 and substituting “CSA B125.3-12”.

(7)  Table 1.3.1.2. of Division B of the Regulation is amended by adding the following Item:

| 249.1 | CSA | B415.1-00 | Performance Testing of Solid-Fuel-Burning Heating Appliances | 6.2.1.4.(7) |
| --- | --- | --- | --- | --- |
|  |  |  |  | 9.33.1.2.(2) |

(8)  Item 250 of Table 1.3.1.2. of Division B of the Regulation is amended by striking out “CAN/CSA-B481.1” in Column 2 and substituting “CAN/CSA-B481.1-07”.

(9)  Item 251 of Table 1.3.1.2. of Division B of the Regulation is amended by striking out “CAN/CSA-B481.2” in Column 2 and substituting “CAN/CSA-B481.2-07”.

(10)  Item 267 of Table 1.3.1.2. of Division B of the Regulation is amended by striking out “CAN/CSA-F280-M90” in Column 2 and substituting “F280-12”.

(11)  Item 272 of Table 1.3.1.2. of Division B of the Regulation is amended by striking out “Structural Quality Steel” in Column 3 and substituting “General Requirements for Rolled or Welded Structural Quality Steel”.

(12)  Table 1.3.1.2. of Division B of the Regulation is amended by adding the following Item:

| 303.1 | CSA | Z240 MH Series-09 | Manufactured Homes | 3.1.1.1.(2) of Division C |
| --- | --- | --- | --- | --- |
|  |  |  |  | 3.2.4.1.(3) of Division C |

(13)  Item 304 of Table 1.3.1.2. of Division B of the Regulation is amended by striking out “CAN/CSA-Z240.2.1-09” in Column 2 and substituting “Z240.2.1-09”.

(14)  Item 305 of Table 1.3.1.2. of Division B of the Regulation is amended by striking out “CSA Z240.10.1-08” in Column 2 and substituting “Z240.10.1-08”.

(15)  Item 306 of Table 1.3.1.2. of Division B of the Regulation is revoked and the following substituted:

| 306. | CSA | CAN/CSA-Z241 Series-03 | Park Model Trailers | 9.38.1.1.(1) |
| --- | --- | --- | --- | --- |
|  |  |  |  | 9.38.2.1.(1) |
|  |  |  |  | 3.1.1.1.(2) of Division C |
|  |  |  |  | 3.2.4.1.(3) of Division C |

(16)  Item 323 of Table 1.3.1.2. of Division B of the Regulation is revoked and the following substituted:

| 323. | ISO | 8201: 1987(E) | Acoustics - Audible Emergency Evacuation Signal | 3.2.4.20.(2) |
| --- | --- | --- | --- | --- |

(17)  Item 324 of Table 1.3.1.2. of Division B of the Regulation is amended by striking out “Supplementary Standard SA-1, September 14, 2012” in Column 2 and substituting “Supplementary Standard SA-1, November 24, 2013”.

(18)  Item 329 of Table 1.3.1.2. of Division B of the Regulation is amended by striking out “Supplementary Standard SB-5, September 14, 2012” in Column 2 and substituting “Supplementary Standard SB-5, September 1, 2013”.

(19)  Item 336 of Table 1.3.1.2. of Division B of the Regulation is amended by striking out “Supplementary Standard SB-12, September 14, 2012” in Column 2 and substituting “Supplementary Standard SB-12, September 1, 2013”.

(20)  Table 1.3.1.2. of Division B of the Regulation is amended by adding the following Items:

| 409.1 | ULC | CAN/ULC-S716.1-12 | Exterior Insulation and Finish Systems (EIFS) – Materials and Systems | 5.10.3.1.(1) |
| --- | --- | --- | --- | --- |
|  |  |  |  | 9.27.13.1.(1) |
|  |  |  |  | 9.27.13.2.(1) |
| 409.2 | ULC | CAN/ULC-S716.2-12 | Exterior Insulation and Finish Systems (EIFS) – Installation of EIFS Components and Water Resistive Barrier | 9.27.13.3.(2) |
| 409.3 | ULC | CAN/ULC-S716.3-12 | Exterior Insulation and Finish Systems (EIFS) – Design Application | 9.27.13.3.(1) |

4.  Items 25, 26, 27 and 28 of Table 1.3.2.1. of Division B of the Regulation are revoked and the following substituted:

| 25. | HUD | U.S. Department of Housing and Urban Development |
| --- | --- | --- |
| 26. | HVI | Home Ventilating Institute |
| 27. | IESNA | Illuminating Engineering Society of North America |
| 28. | ISO | International Organization for Standardization |

5.  Clause 3.1.4.3.(1)(a) of Division B of the Regulation is amended by adding “(FT1 Rating)” after “CSA C22.2 No. 0.3, “Test Methods for Electrical Wires and Cables””.

6.  Clause 3.1.9.1.(1)(a) of Division B of the Regulation is amended by striking out “CAN/ULC-S115, “Fire Tests of Fire Stop Systems”” and substituting “CAN/ULC-S115, “Fire Tests of Firestop Systems””.

7.  Clause 3.1.10.2.(4)(e) of Division B of the Regulation is amended by striking out “the firewall” at the beginning and substituting “the firewall”.

8.  Item 5 of Table 3.1.17.1. of Division B of the Regulation is amended by striking out “second storeys” in Column 1 and substituting “second storeys”.

9.  Sentence 3.2.1.3.(1) of Division B of the Regulation is amended by striking out “intended for occupancy” and substituting “intended for occupancy”.

10.  (1)  Table 3.2.3.1.B. of Division B of the Regulation is amended by striking out,

| Item | Exposing Building Face |  | Area of Unprotected Openings for Groups A, C, D, and F, Division 3 Occupancies, % |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Max-imum Area, m2 | Ratio (L/H or H/L)(1) | Limiting Distance, m |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 0 | 1.2 | 1.5 | 2 | 2.5 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 16 | 18 | 20 | 25 | 30 | 35 | 40 | 45 | 50 |

and substituting the following:

| Item | Exposing Building Face |  | Area of Unprotected Openings for Groups A, C, D, and F, Division 3 Occupancies, % |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Maximum Area, m2 | Ratio (L/H or H/L)(1) | Limiting Distance, m |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 0 | 1.2 | 1.5 | 2 | 2.5 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 16 | 18 | 20 | 25 | 30 | 35 | 40 | 45 | 50 |

(2)  Table 3.2.3.1.B. of Division B of the Regulation is amended by striking out the Notes at the end of the Table and substituting the following:

Notes to Table 3.2.3.1.B.:

(1) Apply whichever is greater,

L = Length of exposing building face,

H = Height of exposing building face.

11.  Table 3.2.3.1.C. of Division B of the Regulation is amended by striking out the Notes at the end of the Table and substituting the following:

Notes to Table 3.2.3.1.C.:

(1) Apply whichever is greater,

L = Length of exposing building face,

H = Height of exposing building face.

12.  (1)  Item 1 of Table 3.2.3.7. of Division B of the Regulation is amended by striking out,

Group A, B, C, D, or

Group F, Division 3

in Column 1 and substituting,

Group A, B, C, D, or Group F, Division 3

(2)  Item 2 of Table 3.2.3.7. of Division B of the Regulation is amended by striking out,

Group E, or Group F,

Division 1 or 2

in Column 1 and substituting,

Group E, or Group F, Division 1 or 2

13.  Clause 3.2.3.16.(1)(a) of Division B of the Regulation is amended by striking out the portion before Subclause (i) and substituting the following:

(a)	noncombustible material,

.     .     .     .     .

14.  Sentence 3.2.4.23.(10) of Division B of the Regulation is amended by striking out “Sentence (6)” and substituting “Sentence (7)”.

15.  (1)  Subclause 3.2.5.1.(2)(b)(i) of Division B of the Regulation is amended by striking out “dangerous goods” and substituting “dangerous goods”.

(2)  Subclause 3.2.5.1.(2)(b)(ii) of Division B of the Regulation is amended by striking out “dangerous goods” at the end and substituting “dangerous goods”.

16.  Sentence 3.3.1.3.(3) of Division B of the Regulation is amended by striking out “intended for occupancy” and substituting “intended for occupancy”.

17.  Sentence 3.3.4.7.(3) of Division B of the Regulation is revoked and the following substituted:

(3)  Loads on exterior guards serving a single dwelling unit shall comply with Part 4.

18.  Sentence 3.4.1.1.(1) of Division B of the Regulation is amended by striking out “occupancy” at the end and substituting “occupancy”.

19.  Sentence 3.4.2.1.(1) of Division B of the Regulation is amended by striking out “occupancy” and substituting “occupancy”.

20.  Sentence 3.4.7.7.(1) of Division B of the Regulation is amended by striking out “Article 3.4.6.3.” at the end and substituting “Articles 3.4.6.3. and 3.4.6.4.”.

21.  Sentence 3.7.4.3.(1) of Division B of the Regulation is amended by striking out “Except as permitted” at the beginning and substituting “Except as provided”.

22.  Sentence 3.11.3.1.(16) of Division B of the Regulation is amended by striking out “hose bibs” and substituting “hose bibbs”.

23.  Sentence 3.11.9.1.(11) of Division B of the Regulation is amended by striking out “Hose bibs” at the beginning and substituting “Hose bibbs”.

24.  (1)  The definition of “fare-paid area” in Sentence 3.13.1.2.(1) of Division B of the Regulation is amended by striking out “rapid transit station” and substituting “rapid transit station”.

(2)  The definition of “fare-paid area control” in Sentence 3.13.1.2.(1) of Division B of the Regulation is amended by striking out “fare-paid area” at the end and substituting “fare-paid area”.

(3)  The definition of “maximum calculated train load” in Sentence 3.13.1.2.(1) of Division B of the Regulation is amended by striking out “crush load” and substituting “crush load”.

(4)  The definition of “peak direction” in Sentence 3.13.1.2.(1) of Division B of the Regulation is amended,

(a)	by striking out “link load” and substituting “link load”, and

(b)	by striking out “entraining load” and substituting “entraining load”.

(5)  The definition of “protected route” in Sentence 3.13.1.2.(1) of Division B of the Regulation is amended,

(a)	by striking out “means of egress” and substituting “means of egress”,

(b)	by striking out “exit” and substituting “exit”, and

(c)	by striking out “building” at the end and substituting “building”.

(6)  The definition of “public area” in Sentence 3.13.1.2.(1) of Division B of the Regulation is amended by striking out “rapid transit station” and substituting “rapid transit station”.

(7)  The definition of “rapid transit station” in Sentence 3.13.1.2.(1) of Division B of the Regulation is amended,

(a)	by striking out “a building or part of a building” and substituting “a building or part of a building”, and

(b)	by striking out “rapid transit system” and substituting “rapid transit system”.

25.  Subclause 3.16.1.7.(7)(a)(v) of Division B of the Regulation is amended by adding “and” at the end.

26.  Sentence 4.1.1.4.(1) of Division B of the Regulation is amended by striking out “Except as provided in Sentence (2) and (3)” at the beginning and substituting “Except as provided in Sentence (2)”.

27.  The heading to Column 2 of Table 4.1.2.1.A. of Division B of the Regulation is revoked and the following substituted:

Loads, Specified Loads and Effects (1)

28.  Sentence 4.1.3.2.(4) of Division B of the Regulation is revoked and the following substituted:

(4)  Where the effects due to lateral earth pressure, H, restraint effects from pre-stress, P, and imposed deformation, T, affect the structural safety, they shall be taken into account in the calculations, with load factors of 1.5, 1.0 and 1.25 assigned to H, P and T respectively.

29.  (1)  Clause 4.1.7.1.(5)(b) of Division B of the Regulation is amended by striking out “building height” and substituting “height of the building”.

(2)  Clause 4.1.7.1.(5)(c) of Division B of the Regulation is amended by striking out “building height” and substituting “height of the building”.

30.  The heading to Table 4.1.8.4.C. of Division B of the Regulation is amended by striking out “Sa(0.1)” and substituting “Sa(1.0)”.

31.  Clause 4.2.3.8.(1)(e) of Division B of the Regulation is revoked and the following substituted:

(e)	CSA G40.21, “General Requirements for Rolled or Welded Structural Quality Steel”.

32.  Sentence 5.2.2.1.(2) of Division B of the Regulation is amended by striking out “The structural loads” in the portion before Clause (a) and substituting “Except as provided in Article 4.1.8.18., the structural loads”.

33.  Item 97 of Table 5.10.1.1. of Division B of the Regulation is revoked and the following substituted:

| 97. | CSA | G40.21 | General Requirements for Rolled or Welded Structural Quality Steel |
| --- | --- | --- | --- |

34.  Section 5.10. of Division B of the Regulation is amended by adding the following Subsection:

5.10.3.  Exterior Insulation Finish Systems

5.10.3.1.  Applicable Standards

(1)  Where exterior insulation finish systems are installed, the systems and their components shall conform to,

(a)	Article 5.1.4.1. and Sections 5.3. to 5.6., and

(b)	CAN/ULC-S716.1, “Exterior Insulation and Finish Systems (EIFS) – Materials and Systems”, if the systems are covered in the scope of that standard.

35.  (1)  Clause 6.2.1.1.(1)(b) of Division B of the Regulation is amended by striking out “the CAN/CSA-F280-M” at the beginning and substituting “CSA F280”.

(2)  Clauses 6.2.1.1.(1)(c), (h), (j) and (k) of Division B of the Regulation are amended by striking out “the” at the beginning wherever it appears.

36.  Article 6.2.1.4. of Division B of the Regulation is amended by adding the following Sentence:

(7)  Solid fuel-burning stoves, furnaces and hydronic heating systems designed to burn solid fuels, other than coal, shall conform to the particulate emission limits of,

(a)	CSA B415.1, “Performance Testing of Solid-Fuel-Burning Heating Appliances”, or

(b)	the “Standards of Performance for New Residential Wood Heaters”, set out in Subpart AAA of Part 60 of Title 40 of the Code of Federal Regulations, published by the United States Environmental Protection Agency, as it read on November 1, 2013.

37.  Sentence 6.2.2.1.(3) of Division B of the Regulation is revoked and the following substituted:

(3)  Self-contained mechanical ventilation systems serving only one dwelling unit shall conform to,

(a)	this Part, or

(b)	Subsection 9.32.3.

38.  Sentence 6.2.3.8.(6) of Division B of the Regulation is amended by striking out “ventilated through a storage garage” in the portion before Clause (a) and substituting “ventilated into a storage garage”.

39.  Sentence 7.2.10.6.(1) of Division B of the Regulation is amended,

(a)	by striking out “ASME A112.18.1 / CAN/CSA-B125.1” and substituting “ASME A112.18.1 / CSA B125.1”, and

(b)	by striking out “CAN/CSA-B125.3” and substituting “CSA B125.3”.

40.  Sentence 7.2.10.10.(2) of Division B of the Regulation is amended by striking out “CAN/CSA-B125.3” and substituting “CSA B125.3”.

41.  Sentence 7.4.3.6.(1) of Division B of the Regulation is amended by striking out “Section 2.7.” and substituting “Section 2.2.”.

42.  (1)  Item 10 of Table 7.4.9.3. of Division B of the Regulation is amended by striking out “2” in Column 3 and substituting “½”.

(2)  Item 13 of Table 7.4.9.3. of Division B of the Regulation is amended by striking out “2” in Column 3 and substituting “½”.

43.  Table 7.5.8.3. of Division B of the Regulation is revoked and the following substituted:

Table 7.5.8.3.
Sizing of Branch Vents, Headers, Continuous Vents and Circuit Vents

Forming Part of Article 7.5.8.3.

| Item | Column 1 | Column 2 | Column 3 | Column 4 | Column 5 | Column 6 | Column 7 | Column 8 | Column 9 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Total Hydraulic Load Served by Vent, fixture units | Size of Vent Pipe, in. |  |  |  |  |  |  |  |
|  |  | 1 ¼ | 1 ½ | 2 | 3 | 4 | 5 | 6 | 8 |
|  |  | Maximum Length of Vent Pipe, m(1)(2) |  |  |  |  |  |  |  |
| 1. | 2 | 9 | NL | NL | NL | NL | NL | NL | NL |
| 2. | 8 | 9 | 30 | 61 | NL | NL | NL | NL | NL |
| 3. | 20 | 7.5 | 15 | 46 | NL | NL | NL | NL | NL |
| 4. | 24 | 4.5 | 9 | 30 | NL | NL | NL | NL | NL |
| 5. | 42 | NP | 9 | 30 | NL | NL | NL | NL | NL |
| 6. | 60 | NP | 4.5 | 15 | 120 | NL | NL | NL | NL |
| 7. | 100 | NP | NP | 11 | 79 | 305 | NL | NL | NL |
| 8. | 200 | NP | NP | 9 | 76 | 275 | NL | NL | NL |
| 9. | 500 | NP | NP | 6 | 55 | 215 | NL | NL | NL |
| 10. | 1 100 | NP | NP | NP | 15 | 61 | 215 | NL | NL |
| 11. | 1 900 | NP | NP | NP | 6 | 21 | 61 | 215 | NL |
| 12. | 2 200 | NP | NP | NP | NP | 9 | 27 | 105 | 335 |
| 13. | 3 600 | NP | NP | NP | NP | 7.5 | 18 | 76 | 245 |
| 14. | 5 600 | NP | NP | NP | NP | NP | 7.5 | 18 | 76 |

Notes to Table 7.5.8.3.:

(1) NL means not limited.

(2) NP means not permitted.

44.  Table 7.5.8.4. of Division B of the Regulation is revoked and the following substituted:

Table 7.5.8.4.
Size and Developed Length of Stack Vents and Vent Stacks

Forming Part of Sentence 7.5.8.4.(1)

| Column 1 | Column 2 | Column 3 | Column 4 |  | Column 5 | Column 6 | Column 7 | Column 8 | Column 9 | Column 10 | Column 11 | Column 12 | Column 13 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Size of Soil or Waste Stack, in. | Total Hydraulic Load Being Vented, fixture units | Water OccupiedArea | Size of Stack Vent or Vent Stack, in. |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 1¼ |  | 1 ½ | 2 | 3 | 4 | 5 | 6 | 8 | 10 | 12 |
|  |  |  | Maximum Length of Stack Vent or Vent Stack, m(1)(2) |  |  |  |  |  |  |  |  |  |  |
| 1¼ | 2 | 0.29 | 9 |  | NL | NL | NL | NL | NL | NL | NL | NL | NL |
| 1½ | 8 | 0.25 | 15 |  | 46 | NL | NL | NL | NL | NL | NL | NL | NL |
| 2 | 12 | 0.25 | 9 |  | 23 | 61 | NL | NL | NL | NL | NL | NL | NL |
|  | 24 | .29 | 8 |  | 15 | 46 | NL | NL | NL | NL | NL | NL | NL |
| 3 | 10 | 0.15 | NP |  | 13 | 46 | 317 | NL | NL | NL | NL | NL | NL |
|  | 21 | .20 | NP |  | 10 | 33.5 | 247 | NL | NL | NL | NL | NL | NL |
|  | 53 | .25 | NP |  | 8 | 28.5 | 207 | NL | NL | NL | NL | NL | NL |
|  | 102 | .29 | NP |  | 7.5 | 26 | 189 | NL | NL | NL | NL | NL | NL |
| 4 | 43 | 0.15 | NP | NP |  | 10.5 | 76 | 299 | NL | NL | NL | NL | NL |
|  | 140 | .20 | NP |  | NP | 8 | 61 | 229 | NL | NL | NL | NL | NL |
|  | 320 | .25 | NP |  | NP | 7 | 52 | 195 | NL | NL | NL | NL | NL |
|  | 540 | .29 | NP |  | NP | 6.5 | 46 | 177 | NL | NL | NL | NL | NL |
| 5 | 190 | 0.15 | NP | NP |  | NP | 25 | 97.5 | 302 | NL | NL | NL | NL |
|  | 490 | .20 | NP |  | NP | NP | 19 | 76 | 232 | NL | NL | NL | NL |
|  | 940 | .25 | NP |  | NP | NP | 16 | 64 | 204 | NL | NL | NL | NL |
|  | 1 400 | .29 | NP |  | NP | NP | 15 | 58 | 180 | NL | NL | NL | NL |
| 6 | 500 | 0.15 | NP | NP |  | NP | 10 | 39.5 | 122 | 305 | NL | NL | NL |
|  | 1 100 | .20 | NP |  | NP | NP | 8 | 30.5 | 94.5 | 238 | NL | NL | NL |
|  | 2 000 | .25 | NP |  | NP | NP | 6.5 | 25.5 | 79 | 201 | NL | NL | NL |
|  | 2 900 | .29 | NP |  | NP | NP | 6 | 23.5 | 73 | 183 | NL | NL | NL |
| 8 | 1 800 | 0.15 | NP | NP |  | NP | NP | 9.5 | 29 | 73 | 287 | NL | NL |
|  | 3 400 | .20 | NP |  | NP | NP | NP | 7 | 22 | 58 | 219.5 | NL | NL |
|  | 5 600 | .25 | NP |  | NP | NP | NP | 6 | 19 | 49 | 186 | NL | NL |
|  | 7 600 | .29 | NP |  | NP | NP | NP | 5.5 | 17 | 43 | 170.5 | NL | NL |
| 10 | 4 000 | 0.15 | NP | NP |  | NP | NP | NP | 9.5 | 24 | 94.5 | 292.5 | NL |
|  | 7 200 | .20 | NP |  | NP | NP | NP | NP | 7 | 18 | 73 | 225.5 | NL |
|  | 11 000 | .25 | NP |  | NP | NP | NP | NP | 6 | 15.5 | 61 | 192 | NL |
|  | 15 000 | .29 | NP |  | NP | NP | NP | NP | 5.5 | 14 | 55 | 174 | NL |
| 12 | 7 300 | 0.15 | NP | NP |  | NP | NP | NP | NP | 9.5 | 36.5 | 116 | 287 |
|  | 13 000 | .20 | NP |  | NP | NP | NP | NP | NP | 7 | 28.5 | 91 | 219.5 |
|  | 20 000 | .25 | NP |  | NP | NP | NP | NP | NP | 6 | 24 | 76 | 186 |
|  | 26 000 | .29 | NP |  | NP | NP | NP | NP | NP | 5.5 | 22 | 70 | 152 |
| 15 | 15 000 | 0.15 | NP | NP |  | NP | NP | NP | NP | NP | 12 | 39.5 | 94.5 |
|  | 25 000 | .20 | NP |  | NP | NP | NP | NP | NP | NP | 9.5 | 29 | 73 |
|  | 38 000 | .25 | NP |  | NP | NP | NP | NP | NP | NP | 8 | 24.5 | 62 |
|  | 50 000 | .29 | NP |  | NP | NP | NP | NP | NP | NP | 7 | 22.5 | 55 |

Notes to Table 7.5.8.4.:

(1) NL means not limited.

(2) NP means not permitted.

45.  Sentence 7.5.9.3.(5) of Division B of the Regulation is amended by striking out “Sentence 7.5.6.2.(1)” at the end and substituting “Sentence 7.5.6.5.(1)”.

46.  (1)  Sentence 7.6.5.2.(1) of Division B of the Regulation is amended by striking out “ASME A112.18.1 / CAN/CSA-B125.1” and substituting “CSA B125.1”.

(2)  Sentence 7.6.5.2.(2) of Division B of the Regulation is amended by striking out “CAN/CSA-B125.3” and substituting “CSA B125.3”.

47.  The heading to Column 1 of Table 8.2.1.3.A. of Division B of the Regulation is amended by striking out “Residential Occupancy” and substituting “Residential Occupancy”.

48.  Item 24 of Table 8.2.1.3.B. of Division B of the Regulation is revoked and the following substituted:

| 24. | Theatres |  |
| --- | --- | --- |
|  | a) Indoor, auditoriums per seat, | 20 |
|  | b) Outdoor, drive-ins per space, or | 40 |
|  | c) Movie theatres per seat | 15 |

49.  Clause 9.1.1.9.(1)(a) of Division B of the Regulation is amended by striking out “CAN/CSA-Z240.2.1” at the beginning and substituting “CSA Z240.2.1”.

50.  Sentence 9.7.3.1.(4) of Division B of the Regulation is amended by striking out “Storm doors for sliding doors and their components” at the beginning in the portion before Clause (a) and substituting “Storm doors, sliding doors and their components”.

51.  Table 9.8.7.1. of Division B of the Regulation is revoked and the following substituted:

Table 9.8.7.1.
Handrails for Stairs and Ramps

Forming Part of Sentence 9.8.7.1.(1)

| Item | Column 1 | Column 2 | Column 3 | Column 4 | Column 5 | Column 6 |
| --- | --- | --- | --- | --- | --- | --- |
|  | Location of Stair or Ramp | Handrails Serving Stairs |  |  | Handrails Serving Ramps |  |
|  |  | Stairs < 1 100 mm Wide |  | Stairs 1 100 mm Wide | Ramps < 1 100 mm Wide | Ramps 1 100 mm Wide |
|  |  | Straight | Curved | All | Straight or Curved | All |
|  |  | Number of Sides Required to have a Handrail |  |  |  |  |
| 1. | Within a dwelling unit | 1 | 1 | 1 | 1 | 2 |
| 2. | All other locations | 1 | 2 | 2 | 2 | 2 |

52.  Sentence 9.9.7.1.(1) of Division B of the Regulation is amended by striking out “intended for occupancy” and substituting “intended for occupancy”.

53.  Sentence 9.10.1.2.(1) of Division B of the Regulation is amended by striking out “intended for occupancy” and substituting “intended for occupancy”.

54.  Sentence 9.10.9.7.(2) of Division B of the Regulation is amended by striking out “firestop system” and substituting “fire stop”.

55.  (1)  The heading to Column 1 of Table 9.10.13.1. of Division B of the Regulation is amended by striking out “Fire-Resistance Rating of Fire Separation” and substituting “Fire-Resistance Rating of Fire Separation”.

(2)  The heading to Column 2 of Table 9.10.13.1. of Division B of the Regulation is amended by striking out “Fire-Protection Rating of Closure” and substituting “Fire-Protection Rating of Closure”.

56.  (1)  Clause 9.10.14.5.(2)(a) of Division B of the Regulation is amended by striking out “the exposing building face” at the beginning and substituting “the exposing building face”.

(2)  Clause 9.10.14.5.(7)(d) of Division B of the Regulations is amended by striking out “limiting distance” and substituting “limiting distance”.

57.  Article 9.10.20.4. of Division B of the Regulation is revoked and the following substituted:

9.10.20.4.  Portable Fire Extinguishers

(1)  Portable fire extinguishers shall be installed in all buildings, except within dwelling units, in conformance with the provisions of the Fire Code made under the Fire Protection and Prevention Act, 1997.

58.  (1)  Sentence 9.11.2.1.(1) of Division B of the Regulation is amended by striking out “by a construction providing” and substituting “by an assembly providing”.

(2)  Sentence 9.11.2.1.(2) of Division B of the Regulation is amended by striking out “the separating construction” and substituting “the separating assembly”.

59.  (1)  Sentence 9.12.2.2.(1) of Division B of the Regulation is amended by striking out “Sentences (4) and (5)” and substituting “Sentences (4) to (7)”.

(2)  Subclause 9.12.2.2.(6)(a)(ii) of Division B of the Regulation is amended by striking out “CAN/CSA-Z240.2.1” and substituting “CSA Z240.2.1”.

60.  Sentence 9.15.1.3.(1) of Division B of the Regulation is amended by striking out “CAN/CSA-Z240.2.1” in the portion before Clause (a) and substituting “CSA Z240.2.1”.

61.  Article 9.18.7.1. of Division B of the Regulation is amended by adding the following Sentence:

(4)  Noncombustible material described in Sentence (3) shall,

(a)	extend not less than 300 mm beyond the projection of a register opening, and

(b)	have turned-up edges.

62.  (1)  Item 1 of Table 9.20.3.2.B. of Division B of the Regulation is amended by striking out in Column 6,

3½ - 4½

2¼ - 3

3½ - 4½

and substituting,

3½ to 4½

2¼ to 3

3½ to 4½

(2)  Item 2 of Table 9.20.3.2.B. of Division B of the Regulation is amended by striking out in Column 6,

4½ - 6

2¼ - 3

and substituting,

4½ to 6

2¼ to 3

63.  Article 9.23.3.1. of Division B of the Regulation is revoked and the following substituted:

9.23.3.1.  Standards for Nails and Screws

(1)  Except as provided in Sentence (2) and elsewhere in this Part, nails specified in this Section shall be common steel wire nails or common spiral nails, conforming to,

(a)	ASTM F1667, “Driven Fasteners: Nails, Spikes and Staples”, or

(b)	CSA B111, “Wire Nails, Spikes and Staples”.

(2)  Nails used to comply with Table 9.23.3.4. shall have a diameter not less than that required by Table 9.23.3.1.

Table 9.23.3.1.
Diameter of Nails for Framing

Forming Part of Sentence 9.23.3.1.(2)

| Item | Column 1 Minimum Length of Nails, mm | Column 2 Minimum Diameter of Nails, mm |
| --- | --- | --- |
| 1. | 57 | 2.87 |
| 2. | 62 | 3.25 |
| 3. | 76 | 3.66 |
| 4. | 82 | 3.66 |
| 5. | 101 | 4.88 |

(3)  Wood screws specified in this Section shall conform to ANSI/ASME B18.6.1., “Wood Screws (Inch Series)”.

64.  Sentence 9.23.4.3.(2) of Division B of the Regulation is amended by striking out ““Structural Quality Steel”” at the end and substituting ““General Requirements for Rolled or Welded Structural Quality Steel””.

65.  Sentence 9.23.6.3.(1) of Division B of the Regulation is amended by striking out “CAN/CSA-Z240.10.1, “Site Preparation, Foundation and Anchorage of Mobile Homes”” at the end and substituting “CSA Z240.10.1, “Site Preparation, Foundation and Anchorage of Manufactured Homes””.

66.  Clause 9.23.14.2.(1)(a) of Division B of the Regulation is amended by striking out “CSA O121-M” at the beginning and substituting “CSA O121”.

67.  Clause 9.23.15.2.(1)(a) of Division B of the Regulation is amended by striking out “CSA O121-M” at the beginning and substituting “CSA O121”.

68.  Item 8 of Table 9.23.16.2.A. of Division B of the Regulation is amended by striking out “CSA O121-M” in Column 4 and substituting “CSA O121”.

69.  Sentence 9.26.2.2.(1) of Division B of the Regulation is revoked and the following substituted:

(1)  Nails used for roofing shall be corrosion-resistant roofing or shingle nails conforming to,

(a)	ASTM F1667, “Driven Fasteners: Nails, Spikes and Staples”, or

(b)	CSA B111, “Wire Nails, Spikes and Staples”.

70.  Sentence 9.27.1.1.(5) of Division B of the Regulation is revoked and the following substituted:

(5)  Where an exterior insulation finish system is installed as cladding on wood-frame, masonry, cold-formed steel stud or cast-in-place concrete walls exposed to precipitation, the cladding assembly shall comply with,

(a)	Subsections 9.25.5., 9.27.2. to 9.27.4. and 9.27.13., or

(b)	Part 5.

(6)  Where cladding materials or systems other than those described in Sentences (1) to (5) are installed, or where these are installed on substrates other than those identified in Sentences (1) to (5), the cladding materials or systems and their installation shall comply with Part 5.

71.  Sentence 9.27.3.1.(2) of Division B of the Regulation is revoked and the following substituted:

(2)  The inner boundary of the drainage plane shall comply with,

(a)	Articles 9.27.3.2. to 9.27.3.6., or

(b)	Subsection 9.27.13.

72.  Clause 9.27.8.1.(1)(b) of Division B of the Regulation is amended by striking out “CSA O121-M” at the beginning and substituting “CSA O121”.

73.  Section 9.27. of Division B of the Regulation is amended by adding the following Subsection:

9.27.13.  Exterior Insulation Finish Systems

9.27.13.1.  Application

(1)  Except as provided in Sentence (2), this Subsection applies to exterior insulation finish systems that,

(a)	are covered in the scope of CAN/ULC-S716.1, “Exterior Insulation and Finish Systems (EIFS) – Materials and Systems”, and

(b)	have a geometrically defined drainage cavity with a minimum cavity depth of 6 mm and an open area equal to not less than 13% of the area of a full-size exterior insulation finish systems panel.

(2)  Exterior insulation finish systems not described in Sentence (1) and their components shall comply with Article 5.10.3.1.

9.27.13.2.  Materials

(1)  The materials used in exterior insulation finish systems shall conform to CAN/ULC-S716.1, “Exterior Insulation and Finish Systems (EIFS) – Materials and Systems”.

(2)  The substrate on which an exterior insulation finish system is installed shall,

(a)	be compatible with that particular system, and

(b)	comply with the structural requirements for sheathing materials set out in Section 9.23.

9.27.13.3.  Design and Installation

(1)  The design of an exterior insulation finish system shall comply with CAN/ULC-S716.3, “Exterior Insulation and Finish Systems (EIFS) – Design Application”.

(2)  The installation of an exterior insulation finish system shall comply with CAN/ULC-S716.2, “Exterior Insulation and Finish Systems (EIFS) – Installation of EIFS Components and Water Resistive Barrier”.

74.  Article 9.29.5.6. of Division B of the Regulation is revoked and the following substituted:

9.29.5.6.  Nails

(1)  Nails for fastening gypsum board to wood supports shall conform to,

(a)	ASTM F1667, “Driven Fasteners: Nails, Spikes and Staples”, or

(b)	CSA B111, “Wire Nails, Spikes and Staples”.

75.  Sentence 9.29.6.1.(2) of Division B of the Regulation is amended by striking out “A manufacturing tolerance of – 0.4 mm” at the beginning and substituting “A manufacturing tolerance of -0.4 mm”.

76.  Sentence 9.29.9.2.(2) of Division B of the Regulation is amended by striking out “manufacturing tolerance of – 0.4 mm” at the end and substituting “manufacturing tolerance of -0.4 mm”.

77.  Clause 9.30.2.2.(1)(d) of Division B of the Regulation is amended by striking out “CSA O121-M” at the beginning and substituting “CSA O121”.

78.  Sentence 9.32.1.1.(5) of Division B of the Regulation is amended by striking out “exhaust duct system” and substituting “exhaust duct system”.

79.  Item 8 of Table 9.32.3.3. of Division B of the Regulation is amended by striking out “Basement(3)” in Column 1 and substituting “Basement(3)”.

80.  Sentence 9.32.3.10.(4) of Division B of the Regulation is revoked and the following substituted:

(4)  Where a duct carrying outdoor air that is not tempered or not mixed with indoor air passes through heated space, it shall be insulated to not less than RSI 0.5 except that, where such a duct is exposed in the heated space for more than 3 m of length in the heated space, it shall be,

(a)	insulated to not less than the values listed in Table 9.32.3.10.A., and

(b)	provided with a vapour barrier.

81.  Article 9.33.1.2. of Division B of the Regulation is amended by adding the following Sentence:

(2)  Solid fuel-burning stoves, furnaces and hydronic heating systems designed to burn solid fuels, other than coal, shall conform to the particulate emission limits of,

(a)	CSA B415.1, “Performance Testing of Solid-Fuel-Burning Heating Appliances”, or

(b)	the “Standards of Performance for New Residential Wood Heaters”, set out in Subpart AAA of Part 60 of Title 40 of the Code of Federal Regulations, published by the United States Environmental Protection Agency, as it read on November 1, 2013.

82.  Sentence 9.33.2.2.(3) of Division B of the Regulation is amended by striking out “CAN/CSA-F280-M” and substituting “CSA F280”.

83.  Clause 9.34.1.5.(1)(a) of Division B of the Regulation is amended by striking out “(FT1 rating)” and substituting “(FT1 Rating)”.

84.  Items 7, 8 and 9 of Table 9.34.2.7. of Division B of the Regulation are revoked and the following substituted:

| 7. | Hallways, corridors, stairways and sleeping areas in recreational camps and camps for housing of workers | 100 | 10 |
| --- | --- | --- | --- |
| 8. | Kitchen in recreational camps and camps for housing of workers | 500 | 50 |
| 9. | All other rooms in recreational camps and camps for housing of workers | 250 | 25 |

85.  Item 3 of Table A-2 of Division B of the Regulation is amended by striking out “4 70” in Column 4 opposite “Select Structural” in Column 2 and substituting “4.70”.

86.  Item 1 of Table A-3 of Division B of the Regulation is amended by striking out “3.4” in Column 4 opposite “Select Structural” in Column 2 and substituting “3.41”.

87.  Item 3 of Table A-9 of Division B of the Regulation is amended by striking out “4.71” in Column 9 opposite “Select Structural” in Column 2 and substituting “3.71”.

88.  Note (4) to Table A-11 of Division B of the Regulation is amended by striking out “CAN/CSA-O122-M” and substituting “CAN/CSA-O122”.

89.  Note (1) to Tables A-13, A-14 and A-15 of Division B of the Regulation is amended by striking out “CSA O121-M” wherever it appears and substituting in each case “CSA O121”.

90.  Note (1) to Table A-16 is amended by striking out “CAN/CSA-O122-M” and substituting “CAN/CSA-O122”.

91.  Table A-24 of Division B of the Regulation is amended by striking out “2” in Column 2 opposite “Roof Live Load, kPa” in Column 1 and substituting “2.0”.

92.  Table A-30 of Division B of the Regulation is amended by striking out,

| Item | Column 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Stud Size and Spacing |  |  |  |  |  |  |  |  |  |
|  | Hourly Wind Pressure (1/50), kPa |  | 0.40 |  | 0.45 |  | 0.50 |  | 0.60 |  |
|  | Specified Roof Snow Load, kPa | Stud Length, m | Supported Roof Length, m |  | Supported Roof Length, m |  | Supported Roof Length, m |  | Supported Roof Length, m |  |
|  |  |  | 3.0 | 6.0 | 3.0 | 6.0 | 3.0 | 6.0 | 3.0 | 6.0 |

and substituting,

| Item | Column 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Stud Size and Spacing |  |  |  |  |  |  |  |  |  |
|  | Hourly Wind Pressure (1/50), kPa |  | 0.40 |  | 0.45 |  | 0.50 |  | 0.60 |  |
|  | Specified Roof Snow Load, kPa | Stud Length, m | Supported Roof Length, m |  | Supported Roof Length, m |  | Supported Roof Length, m |  | Supported Roof Length, m |  |
|  |  |  | 3.0 | 6.0 | 3.0 | 6.0 | 3.0 | 6.0 | 3.0 | 6.0 |

93.  Table A-31 of Division B of the Regulation is amended by striking out,

| Item | Column 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Stud Size and Spacing |  |  |  |  |  |  |  |  |  |
|  | Hourly Wind Pressure (1/50), kPa |  | 0.40 |  | 0.45 |  | 0.50 |  | 0.60 |  |
|  | Specified Roof Snow Load, kPa | Stud Length, m | Supported Roof Length, m |  | Supported Roof Length, m |  | Supported Roof Length, m |  | Supported Roof Length, m |  |
|  |  |  | 3.0 | 6.0 | 3.0 | 6.0 | 3.0 | 6.0 | 3.0 | 6.0 |

and substituting,

| Item | Column 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Stud Size and Spacing |  |  |  |  |  |  |  |  |  |
|  | Hourly Wind Pressure (1/50), kPa |  | 0.40 |  | 0.45 |  | 0.50 |  | 0.60 |  |
|  | Specified Roof Snow Load, kPa | Stud Length, m | Supported Roof Length, m |  | Supported Roof Length, m |  | Supported Roof Length, m |  | Supported Roof Length, m |  |
|  |  |  | 3.0 | 6.0 | 3.0 | 6.0 | 3.0 | 6.0 | 3.0 | 6.0 |

94.  Table A-32 of Division B of the Regulation is amended by striking out,

| Item | Column 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Stud Size and Spacing |  |  |  |  |  |  |  |  |  |
|  | Hourly Wind Pressure (1/50), kPa |  | 0.40 |  | 0.45 |  | 0.50 |  | 0.60 |  |
|  | Specified Roof Snow Load, kPa | Stud Length, m | Supported Roof Length, m |  | Supported Roof Length, m |  | Supported Roof Length, m |  | Supported Roof Length, m |  |
|  |  |  | 3.0 | 6.0 | 3.0 | 6.0 | 3.0 | 6.0 | 3.0 | 6.0 |

and substituting,

| Item | Column 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Stud Size and Spacing |  |  |  |  |  |  |  |  |  |
|  | Hourly Wind Pressure (1/50), kPa |  | 0.40 |  | 0.45 |  | 0.50 |  | 0.60 |  |
|  | Specified Roof Snow Load, kPa | Stud Length, m | Supported Roof Length, m |  | Supported Roof Length, m |  | Supported Roof Length, m |  | Supported Roof Length, m |  |
|  |  |  | 3.0 | 6.0 | 3.0 | 6.0 | 3.0 | 6.0 | 3.0 | 6.0 |

95.  Table A-33 of Division B of the Regulation is amended by striking out,

| Item | Column 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Stud Size and Spacing |  |  |  |  |  |  |  |  |  |
|  | Hourly Wind Pressure (1/50), kPa |  | 0.40 |  | 0.45 |  | 0.50 |  | 0.60 |  |
|  | Specified Roof Snow Load, kPa | Stud Length, m | Supported Roof Length, m |  | Supported Roof Length, m |  | Supported Roof Length, m |  | Supported Roof Length, m |  |
|  |  |  | 3.0 | 6.0 | 3.0 | 6.0 | 3.0 | 6.0 | 3.0 | 6.0 |

and substituting,

| Item | Column 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Stud Size and Spacing |  |  |  |  |  |  |  |  |  |
|  | Hourly Wind Pressure (1/50), kPa |  | 0.40 |  | 0.45 |  | 0.50 |  | 0.60 |  |
|  | Specified Roof Snow Load, kPa | Stud Length, m | Supported Roof Length, m |  | Supported Roof Length, m |  | Supported Roof Length, m |  | Supported Roof Length, m |  |
|  |  |  | 3.0 | 6.0 | 3.0 | 6.0 | 3.0 | 6.0 | 3.0 | 6.0 |

96.  Tables A-34 to A-37 of Division B of the Regulation are amended by striking out “Specified Roof Design Snow Load, kPa” wherever it appears and substituting in each case “Specified Roof Snow Load, kPa”.

97.  (1)  Sentence 11.3.2.1.(1) of Division B of the Regulation is amended by striking out “Except as provided in Sentence (2)” at the beginning in the portion before Clause (a).

(2)  Sentence 11.3.2.1.(2) of Division B of the Regulation is revoked.

98.  Subsection 11.3.5. of Division B of the Regulation is amended by adding the following Article:

11.3.5.2.  Vertical Separations and Existing Sewage Systems

(1)  Despite Subsections 11.3.1. to 11.3.3., where an existing sewage system is extended or is subject to material alteration or repair, the requirements respecting the vertical separation to the water table set out in Part 8 apply to the extended, altered or repaired portions of the sewage system as well as to the existing portions of the sewage system.

99.  Table 11.2.1.1.B. of Division B of the Regulation is amended by striking out “Occupancy H.I.(5)” opposite “Group A Division 1” in Column 1 and substituting “Occupancy H.I.(5)”.

100.  Table 11.2.1.1.C. of Division B of the Regulation is amended by striking out “Occupancy H.I.(5)” opposite “Group A Division 2” in Column 1 and substituting “Occupancy H.I.(5)”.

101.  Table 11.2.1.1.D. of Division B of the Regulation is amended by striking out “Occupancy H.I.(5)” opposite “Group A Division 3” in Column 1 and substituting “Occupancy H.I.(5)”.

102.  Table 11.2.1.1.E. of Division B of the Regulation is amended by striking out “Occupancy H.I.(5)” opposite “Group A Division 4” in Column 1 and substituting “Occupancy H.I.(5)”.

103.  (1)  Table 11.2.1.1.F. of Division B of the Regulation is amended by striking out “Occupancy H.I.(3)(5)” opposite “Group B Division 1” in Column 1 and substituting “Occupancy H.I.(3)(5)”.

(2)  Note (4) to Table 11.2.1.1.F. of Division B of the Regulation is amended by striking out “Minimum security - means” at the beginning and substituting “Minimum security means”.

104.  (1)  Table 11.2.1.1.G. of Division B of the Regulation is amended by striking out “Occupancy H.I.(5)(7)” opposite “Group B Division 2” in Column 1 and substituting “Occupancy H.I.(5)(7)”.

(2)  Note (5) to Table 11.2.1.1.G. of Division B of the Regulation is amended by striking out “When the size” at the beginning and substituting “When the size”.

(3)  Note (6) to Table 11.2.1.1.G. of Division B of the Regulation is revoked and the following substituted:

(6) Immobile means patients are attached to life support systems and cannot be moved. Non-Ambulatory means patients are confined to bed and require transportation. Ambulatory means patients may walk on their own.

105.  (1)  Table 11.2.1.1.H. of Division B of the Regulation is amended by striking out “Occupancy H.I.(4)(5)” opposite “Group B Division 3” in Column 1 and substituting “Occupancy H.I.(4)(5)”.

(2)  Note (6) to Table 11.2.1.1.H. of Division B of the Regulation is revoked and the following substituted:

(6) Non-Ambulatory means patients are confined to bed and require transportation. Ambulatory means patients may walk on their own.

106.  Table 11.2.1.1.I. of Division B of the Regulation is amended by striking out “Occupancy H.I.(4)” opposite “Group C” in Column 1 and substituting “Occupancy H.I.(4)”.

107.  Table 11.2.1.1.J. of Division B of the Regulation is amended by striking out “Occupancy H.I.(5)” opposite “Group D” in Column 1 and substituting “Occupancy H.I.(5)”.

108.  Table 11.2.1.1.K. of Division B of the Regulation is amended by striking out “Occupancy H.I.(5)” opposite “Group E” in Column 1 and substituting “Occupancy H.I.(5)”.

109.  Table 11.2.1.1.L. of Division B of the Regulation is amended by striking out “Occupancy H.I.(3)” opposite “Group F Division 1” in Column 1 and substituting “Occupancy H.I.(3)”.

110.  (1)  Table 11.2.1.1.M. of Division B of the Regulation is amended by striking out “Occupancy H.I.(5)” opposite “Group F Division 2” in Column 1 and substituting “Occupancy H.I.(5)”.

(2)  Item 21 of Table 11.2.1.1.M. of Division B of the Regulation is amended by striking out “Plaining Mills” in Column 1 and substituting “Planing Mills”.

111.  Table 11.2.1.1.N. of Division B of the Regulation is amended by striking out “Occupancy H.I.(5)” opposite “Group F Division 3” in Column 1 and substituting “Occupancy H.I.(5)”.

112.  (1)  Item 75 of Table 11.5.1.1.C. of Division B of the Regulation is amended by striking out “Ceiling fire separation need not be fire-resistance rated” in Column 3 at the beginning and substituting “Ceiling fire separation need not have a fire-resistance rating”.

(2)  Item 149 of Table 11.5.1.1.C. of Division B of the Regulation is amended by striking out “Ceiling fire separation need not be fire-resistance rated” in Column 3 at the beginning and substituting “Ceiling fire separation need not have a fire-resistance rating”.

113.  (1)  Item 70 of Table 11.5.1.1.D/E. of Division B of the Regulation is amended by striking out “Ceiling fire separation need not be fire-resistance rated” in Column 3 at the beginning and substituting “Ceiling fire separation need not have a fire-resistance rating”.

(2)  Item 144 of Table 11.5.1.1.D/E. of Division B of the Regulation is amended by striking out “occupancy” in Column 3 at the end and substituting “occupancy”.

114.  Sentence 12.2.1.1.(3) of Division B of the Regulation is amended by striking out “intended for occupancy” in the portion before Clause (a) and substituting “intended for occupancy”.

115.  Sentence 12.2.1.2.(3) of Division B of the Regulation is amended by striking out “intended for occupancy” in the portion before Clause (a) and substituting “intended for occupancy”.

116.  Clause 12.2.2.1.(2)(a) of Division B of the Regulation is amended by striking out “intended for occupancy” and substituting “intended for occupancy”.

117.  Clause 12.2.3.1.(2)(a) of Division B of the Regulation is amended by striking out “intended for occupancy” and substituting “intended for occupancy”.

118.  Sentence 12.3.1.1.(1) of Division B of the Regulation is amended by striking out “intended for occupancy” and substituting “intended for occupancy”.

119.  Sentence 12.3.1.5.(2) of Division B of the Regulation is amended by striking out “equipped with an electronically commutated motor” at the end and substituting “equipped with a brushless direct current motor”.

120.  Clause 1.3.1.1.(1)(a) of Division C of the Regulation is amended by striking out “demolition of a farm building” and substituting “demolition of a building”.

121.  Subclause 1.3.3.4.(4)(f)(i) of Division C of the Regulation is amended by striking out “carbon monoxide detectors” and substituting “carbon monoxide alarms”.

122.  (1)  Sentence 1.4.1.1.(1) of Division C of the Regulation is amended by striking out “Form 1.4.1.A.” at the end and substituting “Form 1.4.1.1.A.”.

(2)  Sentence 1.4.1.1.(2) of Division C of the Regulation is amended by striking out “Form 1.4.1.B.” at the end and substituting “Form 1.4.1.1.B.”.

(3)  Form 1.4.1.A. of Division C of the Regulation is renumbered as Form 1.4.1.1.A.

(4)  Form 1.4.1.B. of Division C of the Regulation is renumbered as Form 1.4.1.1.B.

123.  (1)  Clause 3.1.1.1.(2)(b) of Division C of the Regulation is amended by striking out “CAN/CSA-A277, “Procedure for Certification of Factory-Built Houses”” at the end and substituting “CSA A277, “Procedure for Factory Certification of Buildings””.

(2)  Clause 3.1.1.1.(2)(c) of Division C of the Regulation is amended by striking out “CAN/CSA-Z240 Series, “Mobile Homes”” at the end and substituting “CSA Z240 MH Series, “Manufactured Homes””.

124.  Sentence 3.1.2.1.(2) of Division C of the Regulation is amended by striking out “Ontario Regulation 350/06 (Building Code)” and substituting “Division C of Ontario Regulation 350/06 (Building Code) made under the Act”.

125.  Sentence 3.1.3.1.(2) of Division C of the Regulation is amended by striking out “Ontario Regulation 350/06 (Building Code)” and substituting “Division C of Ontario Regulation 350/06 (Building Code) made under the Act”.

126.  Sentence 3.1.4.1.(2) of Division C of the Regulation is amended by striking out “Ontario Regulation 350/06 (Building Code)” and substituting “Division C of Ontario Regulation 350/06 (Building Code) made under the Act”.

127.  Sentence 3.1.5.1.(3) of Division C of the Regulation is revoked and the following substituted:

(3)  The changes referred to in Sentence (2) are changes made to the Act and Ontario Regulation 350/06 (Building Code) from December 31, 2006 to December 31, 2013 and changes made at the time that regulation is replaced by this Code on January 1, 2014.

128.  (1)  Clause 3.2.4.1.(3)(i) of Division C of the Regulation is amended by striking out “CAN/CSA-A277, “Procedure for Certification of Factory-Built Houses”” at the end and substituting “CSA A277, “Procedure for Factory Certification of Buildings””.

(2)  Clause 3.2.4.1.(3)(j) of Division C of the Regulation is amended by striking out “CAN/CSA-Z240 Series, “Mobile Homes”” at the end and substituting “CSA Z240 MH Series, “Manufactured Homes””.

129.  (1)  Sentence 3.2.4.2.(2) of Division C of the Regulation is amended by striking out “Ontario Regulation 350/06 (Building Code) and complies with the conditions of registration set out in Article 3.2.4.7. of that Regulation” and substituting “Division C of Ontario Regulation 350/06 (Building Code) made under the Act and complies with the conditions of registration set out in Article 3.2.4.7. of Division C of that regulation”.

(2)  Sentence 3.2.4.2.(3) of Division C of the Regulation is amended by striking out “Ontario Regulation 350/06 (Building Code)” and substituting “Division C of Ontario Regulation 350/06”.

130.  Sentence 3.2.4.8.(2) of Division C of the Regulation is revoked and the following substituted:

(2)  The changes referred to in Sentence (1) are changes made to the Act and Ontario Regulation 350/06 (Building Code) from December 31, 2006 to December 31, 2013 and changes made at the time that regulation is replaced by this Code on January 1, 2014.

131.  Sentence 3.2.5.1.(3) of Division C of the Regulation is amended by striking out “Ontario Regulation 350/06 (Building Code)” and substituting “Division C of Ontario Regulation 350/06 (Building Code) made under the Act”.

132.  Sentence 3.2.5.2.(3) of Division C of the Regulation is revoked and the following substituted:

(3)  The changes referred to in Sentence (2) are changes made to the Act and Ontario Regulation 350/06 (Building Code) from December 31, 2006 to December 31, 2013 and changes made at the time that regulation is replaced by this Code on January 1, 2014.

133.  (1)  Sentence 3.3.3.2.(2) of Division C of the Regulation is amended by striking out “Ontario Regulation 350/06 (Building Code) and complies with the conditions of registration set out in Article 3.3.3.7. of that Regulation” and substituting “Division C of Ontario Regulation 350/06 (Building Code) made under the Act and complies with the conditions of registration set out in Article 3.3.3.7. of Division C of that regulation”.

(2)  Sentence 3.3.3.2.(3) of Division C of the Regulation is amended by striking out “Ontario Regulation 350/06 (Building Code)” and substituting “Division C of Ontario Regulation 350/06”.

134.  Sentence 3.3.3.8.(2) of Division C of the Regulation is revoked and the following substituted:

(2)  The changes referred to in Sentence (1) are changes made to the Act and Ontario Regulation 350/06 (Building Code) from December 31, 2006 to December 31, 2013 and changes made at the time that regulation is replaced by this Code on January 1, 2014.

135.  (1)  Sentence 3.4.3.2.(2) of Division C of the Regulation is amended by striking out “Ontario Regulation 350/06 (Building Code) and complies with the conditions of registration set out in Article 3.4.3.7. of that Regulation” and substituting “Division C of Ontario Regulation 350/06 (Building Code) made under the Act and complies with the conditions of registration set out in Article 3.4.3.7. of Division C of that regulation”.

(2)  Clause 3.4.3.2.(3)(a) of Division C of the Regulation is amended by striking out “Ontario Regulation 350/06 (Building Code)” and substituting “Division C of Ontario Regulation 350/06”.

(3)  Clause 3.4.3.2.(3)(b) of Division C of the Regulation is amended by striking out “Ontario Regulation 350/06” and substituting “Division C of Ontario Regulation 350/06”.

(4)  Clause 3.4.3.2.(3)(c) of Division C of the Regulation is amended by striking out “Ontario Regulation 350/06” and substituting “Division C of Ontario Regulation 350/06”.

136.  Sentence 3.4.3.8.(2) of Division C of the Regulation is revoked and the following substituted:

(2)  The changes referred to in Sentence (1) are changes made to the Act and Ontario Regulation 350/06 (Building Code) from December 31, 2006 to December 31, 2013 and changes made at the time that regulation is replaced by this Code on January 1, 2014.

137.  Sentence 4.1.1.1.(1) of Division C of the Regulation is amended by striking out “Ontario Regulation 350/06 (Building Code)” and substituting “Ontario Regulation 350/06 (Building Code) made under the Act”.

138.  (1)  Section 4.1 of Division C of the Regulation is amended by adding the following Subsection:

4.1.2.  Transition, January 2015

4.1.2.1.  Transition Rule

(1)  Subject to Sentence (2), this Regulation, as it read on December 31, 2014, is deemed to continue in force with respect to construction for which a permit has been applied for before January 1, 2015.

(2)  Sentence (1) does not apply unless the construction is commenced within six months after the permit is issued.

(2)  Section 4.1 of Division C of the Regulation is amended by adding the following Subsection:

4.1.3.  Transition, January 2017

4.1.3.1.  Transition Rule

(1)  Subject to Sentence (2), Item 329 of Table 1.3.1.2. and Sentence 8.6.2.2.(5) of Division B of this Regulation, as they read on December 31, 2016, are deemed to continue in force with respect to construction for which a permit has been applied for before January 1, 2017.

(2)  Sentence (1) does not apply unless the construction is commenced within six months after the permit is issued.

139.  Sentence 4.2.1.1.(6) of Division C of the Regulation, which would add Subsection 4.1.2. of Division C, is revoked.

Commencement

140.  (1)  Subject to subsections (2) and (3), this Regulation comes into force on January 1, 2014.

(2)  Subsections 3 (10) and (20), section 34, subsection 35 (1), sections 70, 71, 73 and 82 and subsection 138 (1) come into force on January 1, 2015.

(3)  Subsection 138 (2) comes into force on January 1, 2017.

Back to top